Annexure-1

### INDIAN BANK

Zonal Office, Tirunelveli

1/17, 2nd Floor, G R R Building
 	New Bus Stand-STC Road
 	P K Nagar
 	Perumalpuram

Tirunelveli - 600014

e-mail- zotirunelvelii@indianbank.co.in

### Phone- 0462-2555500

TENDER DOCUMENT

FOR ENGAGEMENT OF AGENCY FOR DOING ELECTRICAL SAFETY AUDIT & ENERGY AUDIT OF BANK’S BRANCHES/OFFICE PREMISES

Corporate Office

254-260, Avvai Shanmugam Salai, Royapettah, Chennai – 600 014

1.         BACKGROUND

Indian  Bank  (the  “Bank”)  is  a body   corporate  constituted  under  the  Banking  Companies (Acquisition  and Transfer  of  Undertaking)  Act,  1970   with  its  head office  at 254-260,Avvai Shanmugam Salai,  Royapettah, Chennai – 600 014.The Bank is desirous of conducting Electrical Safety Audit & Energy Audit of its Branch /Office building located at Tirunelveli Zone. To engage the experienced agencies for conducting  Electrical  Safety  audit  & Energy Audit  , scope of  Work  is  outlined  in  this  Tender document. Any further  addenda/  corrigenda  / extension of dates  / clarifications/ responses  to Tenderers’ queries in respect  of the above tender shall be posted only on the Bank’s website at www.Indianbank.in and no separate notification shall be issued in any newspapers.

2.         DISCLAIMER

The information contained in this Tender document or information provided subsequently to the Tenderers by the Bank on the terms and conditions set out in this Tender document and all other terms and conditions, subject to which such information is provided, is being provided to the Tenderers for the purpose of inviting Tenders and does not constitute nor should be interpreted as an offer. This Tender document is meant to provide information only and the Tenderers acknowledge that it shall be used only for the purpose of preparing and submitting the Tender and for the purpose necessarily associated herewith and for no other purpose whatsoever.  This Tender document has not   been filed, registered or approved in any jurisdiction. Each Tenderer should, at its own costs without any right to claim reimbursement, conduct its own investigations, analysis and should check the accuracy, reliability and completeness of the information in this Tender document and wherever felt necessary to obtain independent advice. The Bank makes no representation or warranty and shall incur no liability whatsoever under any law, statute, rules or regulations as to the accuracy, reliability or completeness of this Tender document. The information contained in this Tender document is selective and is subject to update, expansion, revision and amendment.

The Bank reserves  the right of discretion to  change, modify, add to or  alter any or  all of the provisions  of  this  Tender  document  and/or  the  Tendering  process, without  assigning  any reasons whatsoever. Such change will be intimated or made accessible to all Tenderers or can be accessed on the website of the Bank at www.Indianbank.in.  Any information contained in this Tender document will be superseded by any later written information on the same subject made available/accessible to the Tenderers by the Bank. All information about the Bank and the Scope of Work furnished by the Tenderers to the Bank in the context of the Scope of Work shall be deemed to be “Confidential Information” for purposes of this Tender document. Information  provided  in  this  Tender document is  on  a wide  range of matters, some of which may depend  upon   interpretation  of  law.  The  information  given  is  not   intended  to  be an exhaustive  account of statutory requirements  and should  not  be regarded as a complete  or authoritative statement of law. Further, the Bank does not accept liability of any nature whether resulting  from   negligence  or   otherwise  howsoever  caused  arising  from   reliance  of  any Tenderers upon  the statements contained in this Tender document.

The Bank reserves the right to reject any or all Tenders received in response to this Tender document at any stage without assigning any reason whatsoever and without being liable for any loss/injury that Tenderer might suffer due to such reason. The decision of the Bank shall be final, conclusive and binding on all the Tenderers/parties directly or indirectly connected with the Tendering process.

While this Tender document has  been  prepared  in  good   faith,  neither  the  Bank  nor   its employees, officers, and executives make any representation or  warranty or  shall have any responsibility  or  liability  whatsoever  in  respect of  any statements  or  omissions  here from. Nothing in this Tender document shall be construed as legal, financial or tax advice.  Any liability is accordingly expressly disclaimed by  the Bank, its employees, officers, executives, affiliates, their respective officers, employees and agents even if any loss or damage is caused by any act or omission  on  the part of the Bank, its  officers,  employees,  executives,  affiliates, their respective officers, employees and agents, whether negligent or otherwise.

3.         TIME SCHEDULE OF THE TENDER PROCESS:

| Sl. No. | Particulars | Date and Time |
| --- | --- | --- |
| 1 | Date of commencement of Tender Process | Date- 12th May 2023 |
| 2 | Date and time for receipt of written queries for clarification from Tenderers. | Date- 22nd May 2023 Time- 12:00 PM |
| 3 | Last date and Time for submission of Tender including Technical and Financial Bids and EMD (“Tender Due Date”). | Date- 31st May 2023 Time- 12:00 PM |
| 5. | Date and Time for opening of the Technical Bid. | Date – 31st May 2023 Time – 04:00 PM Venue - Indian Bank, Zonal Office, Tirunelveli |
| 6. | Date and Time for opening of Financial Bids. | Date and time for opening of Financial Bids shall be advised separately after evaluation of Technical Bids. Venue: Indian Bank, Zonal Office, Tirunelveli |

4.       DEFINITIONS

Capitalized terms used in this Tender document, will have the following meanings unless. The context requires otherwise.

4.1   	“Bank” means Indian  Bank, a body   constituted  under the provisions  of  the Banking Companies  (Acquisition  and Transfer  of  Undertaking)  Act,  1969   having  its  Corporate Office at 254-260, Avvai Shanmugam Salai, Royapettah, Chennai – 14.

4.2  	“Contract” means the contract to be signed between the Bank and the selected Tenderer in accordance with a format to be approved / provided by the Bank and all the attached documents and the appendices, thereto.

4.3  	“Agency” means the successful Tenderer who has been awarded the contract as per the Scope of Work outlined in this Tender document by the Bank, pursuant to issuance of the Work Order.

4.4   	“Day” means the Bank’s working day as defined under Negotiable Instrument Act, 1881.

4.5  	“Work Order” means  the letter  of  intent  to  be issued  by  the Bank to  the successful Tenderer in accordance with paragraph 17.1  of this Tender document.

4.6 	“Parties” means, collectively the Bank and the Tenderer/ selected Tenderer/ Agency as the context may require and “Party” means any of them individually.

4.7   	“Personnel / Professional” mean employees, officers, partners, directors, executives, staff and personnel of the Tenderer.

4.8   	“Scope of Work” means the scope of work to be undertaken by the successful Tenderer / Agency, as outlined in this Tender document.

4.9  	“Tender” means the Technical Bid, the Financial Bid and other documents submitted in response to this Tender document submitted by the Tenderer

4.10   	“Tender document” means this “invitation of Tender” prepared by the Bank for the engagement of audit agency including any subsequent   clarification, amendment, modifications issued by the Bank hereto.

4.11  	“Tenderer” means any individual, entity, body corporate or a firm who is submitting its Tender in response to this Tender notice for providing services to the Bank.

5.         OBJECTIVE

5.1    	The  Bank  is   desirous  to  engage  an  agency for  undertaking   the  Scope  of  Work,   in accordance with and in the manner set out in this Tender document and the Contract.

5.2    	Accordingly, interested parties are requested to go through the eligibility criteria, Scope of Work, terms and conditions, etc. as enumerated herein below and submit their Tenders as per programme detailed in this document.

6.         ELIGIBILITY CRITERIA

Tenders may be submitted by an individual, proprietorship firm, limited liability partnership, company which satisfies the eligibility criteria stipulated in this Tender document.

6.1  	The Tenderer must be a citizen of India and competent to contract under Indian Contract Act,  1872   and if  a Institute,  partnership  firm,  limited  liability partnership,  company or entity, it should be duly constituted / registered / incorporated, in accordance with the applicable laws of India.

6.2  	The Tenderer should not have been declared insolvent, bankrupt or unable to pay his debts, by any court of law and shall have no insolvency or similar proceedings pending before any court of law or tribunal.

6.3   	The  Tenderer  should  not   be a  defaulter  to  any  bank  /  financial   institution   or  any non-banking financial company.

6.4  	The Tenderer should not have been penalized for any criminal offence by any court and shall have no criminal action or proceedings pending before any court.

6.5 	The Tenderer must have in  its  name, as a prime  contractor / agency   experience  of having successfully executed assignments similar to the Scope of Work  and must have successfully  completed  at least  one single  job  anywhere in  India  in  the past 3  (three) years.

(a) 	For the purposes of this paragraph, “year” means a continuous period of 365 (three hundred and sixty five) days starting at any date of a year during the period of the last 3 (three) years preceding the last day of the month previous to the one in which this Tender document is issued.

(b) 	For substantiating work experience, Tenderers are required to furnish the following information:

(i)   	Copy of work order and completion certificate from a client of the Tenderer; and

(ii)     Start date and end date of each qualifying experience.

6.6 	Preference would be given to a Tenderer who has qualifying experience with respect to assignments similar to the Scope of Work in relation to immovable properties owned by nationalized banks and financial institutions / Public Sector Undertakings / Centre and/or State Government organisations.

6.7 	The Tenderer should have valid and currently subsisting permissions, licenses, authorisations required under applicable law to undertake its business and as may be required for purposes of the Scope of Work.

6.8	The Tenderer should possess a Permanent Account Number (“PAN”), Tax Deduction Account Number (“TAN”) and GST number issued by the relevant tax department of the Government of India.

7.     	PROCEDURE TO BE ADOPTED FOR SUBMISSION OF TENDER:

7.1      General Instructions

(a) 	Tenderers must review this Tender document as a whole and ensure that their Tenders are as per the terms hereof. The Bank retains the right to modify the terms of this Tender document and/or any of the sections / attachments / formats at any time prior to the Tender Due Date.

(b)  	Tenderers are expected to examine this Tender document, including all instructions, forms, specifications, conditions and other documents and requirements hereof. Failure to furnish any or all of the information required by this Tender document or submission  of a Tender not  responsive  to  this  Tender document in  every respect may  result  in  rejection  of  the  Tender.  Tenderers shall be deemed to   have understood and taken into account all the terms and conditions prescribed in this Tender document.

7.2  	Tenderers must apply to the Bank in the prescribed proforma as provided in this Tender document.

7.3      	The Tender should contain the following:

- The Technical Bid;

- The Financial Bid.

7.4   	The Technical  Bid: Tenderers must submit  the Technical  Bid  in  the format  set  out  in Annexure  A  of  this  Tender document, duly  filled  up,  in  an envelope  super scribing “Technical Bid For Engagement agency for Electrical Safety & Energy Audit”  on the top  of the envelope.  The format  of the Technical  Bid  shall  be typed out  and printed  on the  Tenderer’s  letter  head  and signed  by  the  Tenderer  or  an authorised  signatory tendering  with  authorisation  from   the  Tenderer.  The  content  of  the  Technical  Bid submitted  by  a Tenderer must be same as the format  set  out  herein  and should  not contain any other information. If there is any change in the contents of the Technical Bid submitted by the Tenderer as compared to the format set out herein, then the Tender shall be rejected.  Self-attested copies of the following documents are to be submitted along with the Technical Bid:

7.4.1	In  case,  the Tenderer is  firm,  limited  liability  partnership  or  a body   corporate, details of constitution of firm, limited liability partnership or body  corporate;

7.4.2 	KYC Documents like Aadhaar, PAN, driving license, passport, etc. If the Tenderer is firm, limited liability partnership or body corporate, the person who has been authorized to submit and sign the Tender has to submit his / her KYC Documents;

7.4.3   In case of body corporate, are solution duly signed by the authorized persons of that body corporate authorizing therein a person to submit and sign the Tender.

7.4.4  	An affidavit confirming therein that Tenderer has not been declared insolvent or no insolvency  proceedings  are going  on  in  any court   of  law  nor  he has been a defaulter to any  bank, financial   institution or any non-banking financial company or have been punished for any criminal act by any court;

7.4.5   	Latest income tax return;

7.4.6  	Information on   qualifying criteria as set out   in paragraph 6 above,  	including necessary documents;

7.4.7   	EMD by way of a demand draft for Rs. 2000/- (Rupees Two thousand only) favouring Indian Bank payable at Tirunelveli or Firms with Udyog Aadhar exempted from EMD.

7.4.8 	Audited balance sheet for last 3 (three) financial years and solvency certificate from its bankers.

7.5    	The Financial  Bid: Tenderers  must submit  the Financial  Bid  in  the format  set  out  in Annexure B of this Tender document, duly filled up,  in separate sealed envelopes super scribing  “Financial Bid for Engagement  of agency  for Electrical Safety   & Energy audit” on    top of the envelope. The Financial Bid shall not include any conditions attached to it.  All unit rates and prices in the Financial Bid shall be quoted by the Tenderers in Indian Rupees only. Any such conditional Tenders shall be liable for rejection.

7.6  	These two separate sealed envelopes should be put together in a third envelope duly sealed and super-scribing “Tender for Engagement of agency for Electrical Safety & Energy audit”.

7.7  	No Tenderer shall submit more than one Tender. A Tenderer who submits or participates in submitting more than one Tender shall be liable for rejection of all Tenders in which such Tenderer has participated.

7.8    	The Tender as well as all related correspondence exchanged by the Tenderer with the Bank shall be written in Hindi or English language. The Tender form, complete in all respect, should reach the following addressee through any mode of delivery before the Tender Due Date:-

Deputy Zonal Manager

Indian Bank

Zonal Office Tirunelveli

No. 1/17, GRR Building, 2nd Floor

Perumalpuram

Tirunelveli – 627 007

Tamil Nadu

7.9   	The Bank may at its sole discretion, extend the Tender Due Date by amending the Tender Due Date, in which case all rights and obligations of the Bank and the Tenderers will be subject to the Tender Due Date as extended.

7.10  	The Bank is not responsible for non-receipt of Tender within the Tender Due Date due to any reason including postal delays or holidays.

7.11   	The Financial Bids of the tenders whose Technical Bid is not accompanied with EMD, will not be opened.

7.12   	All   pages of this Tender document should   be sealed   and signed   by the Tenderer (in case of an individual) or the authorized signatory of the Tenderer, in other cases.

8.         SCOPE OF WORK:

The scope of work to be undertaken by the Agency upon   the job being awarded to such Agency by the Bank is as follows (“Scope of Work”):

8.1     	Study of lay out plan/ Electrical drawings wherever, provided by the Bank.

8.2      Detailed visual inspection of the Electrical System.

8.3   	Floor-wise   assessment   of   Luminaries,   AC   System, UPS, and Electrical   Panel   room, Transformer, Elevator, Pump, Earthing System & Lightning Protection System-where- ever applicable.

8.4      Load Calculation.

8.5      Insulation Me                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                            gger of all electrical items.

8.6      Electrical Safety Aspect

8.7      Making single line diagram of total Electrical system.

8.8  	Any other necessary test considered necessary after visual inspection of the building.

8.9  	Preparation  of  comprehensive  report (as  per  applicable  reporting  format)  rectifying deficiencies  shown  in  test  reports  conducted to  assess  the Electrical  Safety  of  the Electrical Installation System. The above reports are to be submitted in two sets in hard copy as well as in soft copy along with necessary postcard size coloured photographs on glossy paper.

9.      	CONFLICT OF INTEREST

9.1  	The selected Tenderer/ Agency shall provide professional, objective and impartial advice, and at all times hold the Bank’s interest as paramount, strictly avoid conflict with other assignment/ job(s) or their own corporate interests, and act without any expectation / consideration for award of any future assignment(s) from the Bank.

9.2  	Without limitation on the generality of the foregoing, the selected Tenderer/ Agency, and any of their affiliates and member firms, shall be considered to have a conflict of interest (and shall not be engaged under any of the circumstances) asset forth below:

9.2.1  	Conflicting assignment / job: The Tenderer (including  its personnel) or any of its affiliates and member firms shall not  be hired for any assignment / job / task that, by  its  nature, may be in  conflict  with  another assignment  /  job  /task of consultancy to be executed for the same and/or for another employer.

9.2.2   	Conflicting relationships:   The Tenderer (including   its   personnel)   having a business or family relationship with a member of the Bank’s staff who  is directly or indirectly involved in any part of    (i) the preparation of the terms of reference of the Scope of Work,  (ii)  the selection process for  the Scope of Work,  or  (iii) supervision  of the Contract, may not  be awarded a contract, unless the conflict stemming from such a relationship has been resolved in a manner acceptable to the Bank throughout the selection process and the execution of the Contract.

10.    	SELECTION PROCESS

10.1	The Tenderers fulfilling eligibility criteria shall be eligible for opening of financial bids.

10.2 	Selection criteria for the Financial Bid shall be that the Tenderer must quote the lowest fee being the professional charges and other ancillary charges for the Scope of Work to be undertaken.

10.3  	In case of tie between two or more Tenders, Bank will go for the inter-se Tendering amongst the Tenderers involved in tie.

11.    	VALIDITY PERIOD OF THE TENDER:

The Tender shall remain valid for a period of 90 (Ninety) days from the Tender Due Date. In exceptional circumstances, prior to expiry of the original validity period, the Bank may extend the period of validity. In such an event, the period of withholding the EMD shall be extended proportionately.

12.       CHANGE IN CONSTITUTION OF THE TENDERER

12.1 	Prior written approval of the Bank shall be obtained by the Tenderer (if the Tenderer is not an  individual)  prior  to  change  in  its  constitution  subsequent  to  the  submission  of  the Tender. Any  violation  of  this  provision  shall  be deemed to  be a breach of  this Tender document  and  shall  lead  to  rejection  of  the  Tender  submitted  by  such  Tenderer. No changes to the constitution of any Tenderer shall be permitted after the Tender Due Date.

12.2   	Canvassing by any Tenderer in connection with the Tender or the tendering process is strictly prohibited.  In the event any Tenderer resorts to canvassing in any form or manner, the Tender submitted by such Tenderer shall be liable for rejection.

13.       TIME OF COMPLETION OF THE WORK:

13.1    The Bank intends to complete the process of completing Electrical audit and submission of report within 90 days from placing order with the agency.

14.    	PAYMENT TERMS:

14.1 	The fee quoted by the successful Tenderer / Agency shall be the fee payable by the Bank to the Agency for performance of the Scope of Work (such fee hereinafter referred to as the “Agreed Fee”).

14.2 	Payment  of  total  Agreed  Fee  will  be  made  by   the  Bank  in  full  after  satisfactory completion of Electrical audit work and submission of reports.

15.       CONTRACT:

15.1	Prior to expiry of the Tender validity period, the Bank will notify the successful Tenderer that  its Tender has  been  accepted  by  way  of  issuance  of  the  Work   Order  to  the successful  Tenderer through registered  post/speed post (a scanned copy  of the Work Order will  be simultaneously  sent to  the successful  Tenderer by  way of  email).  The notification of award will constitute the formation of the Contract.  The successful Tenderer is required to sign and return a duplicate copy of the Work Order within a period of 2 (two) days from the date of issuance of the Work Order.

15.2  	The Tender will be the basis of the Contract to be signed between the Bank and the selected Agency. The Contract, which will incorporate all the understanding between the Bank and the Agency shall be finalized and executed within 7 (seven) days of issuance of the Work Order by the Bank.

15.3	Until the Contract is executed, this Tender document together with the Bank’s written acceptance of the Agency’s Tender shall constitute a binding contract with the successful Tenderer.

15.4 	The original copy of the Contract shall remain with the Bank at all times and an attested counterpart shall be provided to the Agency.

16.       LIQUIDATED DAMAGES:

16.1  	Should the Scope of Work not be completed to the Bank’s satisfaction within the stipulated time period, the Agency shall be bound to pay to the Bank a sum of 0.50% of the Contract fee per week of delay by way of liquidated damages, provided that the Bank is fully satisfied that the delay is not attributable to the Agency or arose from an event or circumstance beyond the control of the Agency.

17.       OTHER TERMS AND CONDITIONS

17.1  	The Tenderers shall be responsible for all costs associated with the preparation of their Tenders and their participation in the tendering process including subsequent negotiations, visits to the Bank, etc. The Bank will not be responsible or in any way liable for such costs, regardless of the conduct or outcome of the selection process.

17.2   	The Financial Bid should clearly indicate the total fee quoted by the Tenderer for the Scope of Work, both in figures and words, in Indian Rupees. In the event of any difference between figures and words, the amount indicated in words shall prevail. In the event of a difference between the arithmetic total and the total shown in the Financial Bid, the lower of the two shall prevail.

17.3 	The Bank does not bind itself to accept the lowest price Tender and reserves the right to reject  any  or  all  of  the  Tenders  without  assigning  any reasons  whatsoever without incurring any liability to the Tenderers.

17.4   	The selected Agency will remain associated with the Bank till the completion of the Scope of Work to the satisfaction of the Bank, in accordance with this Tender document and the Contract.

17.5  	The Agency shall be responsible for and obliged to all its obligations related to the Scope of Work  in  accordance with  the Contract using  best practices  and industry  standards, state of the art methods and economic  principles  and exercising  all  means available  to the Agency to achieve the performance of the Scope of Work specified in the Contract.

17.6  	Tenders not conforming to the requirements of the Tender document shall not be considered by the Bank. However, the Bank reserves the right, at any time to seek more information/ clarification on  Tenders or  to  waive any of the requirements of the Tender document, if in the sole discretion of the Bank; the best interests of Bank would be served by such actions.

17.7  	The Bank shall have the right to cancel the Tender process at any time prior to award of the Contract, without thereby incurring any liabilities to the affected Tenderers.

17.8 	The Bank reserves the right to verify the validity / correctness of Tender information and to  reject any Tender where the contents appear  / found  to  be incorrect, inaccurate or inappropriate  at  any time  during  the  process  of  Tendering  or  even  after  award  of Contract.

17.9  	The Bank may elect   to take an undertaking   from employees / associates of the Tenderer to maintain confidentiality of the Bank’s information / documents, etc. In this regard,  the  Bank may seek  details/  confirmation  on  background verification  of  t h e T e n d e r e r ’ s  Personnel.  The Agency shall promptly furnish all such information and documents sought by the Bank.

17.10 If Chief Technical Examiner of the Central Vigilance Commission, Government of India, examines the work performed by the Agency pursuant to the Scope of Work and points out any defects or irregularities therein, the Agency shall take necessary steps to get those rectified promptly at no additional cost to the Bank, shall also assist the Bank in providing responses/ representations to the observations made by the Chief Technical Examiner.

17.11 	Tenders shall be deemed to be under consideration immediately after the Tender Due Date and until such time the Bank makes official intimation of award/rejection to the Tenderers. While the Tenders are under consideration, Tenderers and/or their representatives or other interested parties are advised to refrain, save and except as required/permitted under this Tender document, from contacting by any means, the Bank and/or its officers, employees, representatives, advisers on   matters related to the Tenders under consideration.

17.12 	The Bank reserves the right to abandon, defer stop execution of any activity included in Scope of work related to any property any time even after execution of contract, giving due written notice to the Agency.

18.    	AGENCY’S OBLIGATION AND USE OF BANK’S DOCUMENTS, DATA     AND INFORMATION:

18.1  	The Agency shall be responsible for managing and supervising the activities of its Personnel and shall ensure that the Personnel undertake the tasks relating to the Scope of Work in accordance with the stipulated timelines and the terms of the Contract. the Agency shall at all times be responsible for all acts and omissions of its Personnel, and shall indemnify and hold harmless the Bank, its officers, employees and executives from and against  any and all  losses,  damages, costs and expenses, suits  and proceedings and penalties  arising  from  or  in  connection  with  any act or  omission,  negligence  or misconduct of its Personnel.

18.2 	The Agency shall not, without the Bank’s prior written consent, disclose the Contract or any provision thereof or any specification, plan, drawing, pattern or information furnished by or on behalf of the Bank in connection therewith, to any person other than a person employed by the Agency for purposes of the performance of the Contract. Disclosure to any such employed person shall be made in confidence and shall extend only as far as may be necessary for purposes of such performance.

18.3 	Any document, other than the Contract itself, shall remain the property of the Bank and shall be returned (in all copies) to the Bank on completion of the Agency’s performance under the Contract if so required by the Bank.

19.     	CANCELLATION OF TENDER PROCESS

The Bank reserves its right to accept or reject any or all Tenders or cancel tender process without assigning reason for doing so. Any decision of the Bank in this regard shall be final, conclusive and binding upon the Tenderers. The Bank reserves the right  to accept or reject any Tender in part or in full, and to cancel the tendering process and reject all Tenders at any time  prior  to  contract award, without  thereby incurring  any liability  to  the affected Tenderer(s) or any obligation to inform the affected Tenderer(s) of the grounds for the Bank’s action.  During the evaluation process at any stage, if it is found that a Tenderer does not meet the eligibility criteria or has submitted false / incorrect information, the Tender will be rejected summarily by the Bank. Any effort by a Tenderer to influence the Bank in the Tender evaluation, or Contract award decision, may result in the rejection of the Tender.

20.   	INDEMNITY:

The  Agency shall  always  keep  the  Bank indemnified  and  hold  the  Bank, its  employees, personnel, officers, directors, representatives harmless from  and against any and all losses, liabilities, claims, actions, costs and expenses (including attorneys’ fees) relating to,  resulting directly  from  or  in  any way arising  out  of any claim,  suit  or  proceeding  brought against  the Bank as a result of:

(a) 	Breach of any of the term of this Tender document or breach of any representation or false representation or inaccurate statement or assurance or covenant or warranty of the Tenderer under this Tender document and/or a Tender;

(b)    	and/ or  breach of  confidentiality obligations  of  the Tenderer contained  in this Tender document;

(c)   	and/ or  willful negligence  or  gross misconduct  solely  attributable  to  the Tenderer or  its Personnel;

(d)  	Non-compliance by the Tenderer and/or its Personnel with applicable laws;

(e)    	Loss of data due to any of the reasons mentioned above; The Tenderer’s   indemnity   obligations   under this   paragraph 20   shall   survive   expiry   or termination of the Contract.

21.       GOVERNING LAW AND JURISDICTION

This Tender document shall be governed by the laws of India. Subject to clause 20 above, any dispute or difference arising out of this Tender document, the Tenders and the subsequent Contract awarded based on this Tender document shall be subject to the exclusive jurisdiction of the courts in Tamilnadu.

Annexure - A

Technical Bid

Self-Attested Photograph of the Signatory

Deputy Zonal Manager

Indian Bank

Zonal Office Tirunelveli

No. 1/17, GRR Building, 2nd Floor

Perumalpuram

Tirunelveli – 627 007

Tamil Nadu

Sub: Engagement of Agency for Electrical Safety & Energy Audit of Bank’s branches/ Office Building at Tirunelveli Zone

Dear Sir,

With reference to your Tender Document dated -----------, I/we, having examined all relevant documents and understood their contents, hereby submit our Technical Bid for selection as agency for Electrical Safety & Energy audit of Bank‘s Branches/ Offices  in  different  places  / locations.  The Tender is unconditional and unqualified.

- We agree to undertake the project, if allotted by the Bank, as per the Scope of Work as outlined in the Tender document.

- We agree and undertake to abide by all the terms and conditions of the Tender document. We submit this tender under and in accordance with the terms of the Tender document.

- The undersigned is duly authorized and competent to sign the documents on behalf of the Tenderer.

- We agree to keep this offer valid for 90 (Ninety) days from the last date of submitting the proposal as specified in the Tender.

- I/We certify that there has been no  conviction by a court  of law or  indictment/ adverse order in any jurisdiction by  any regulatory authority or  body  for  any offence or  wrong   doing against us or any associate / affiliate / or the CEO/  Directors / Managers / Partners/ Employees of our concern or that of our  associate  / affiliate. It  is  further  certified  that there  is  no  investigation  pending  or  threatened against us or our associate / affiliate or the CEO/  Directors / Managers / Partners / Employees of our concern or that of our associate / affiliate / in any jurisdiction. I/We certify that working for the Bank in relation to the proposed assignment does not and will not conflict with the other assignments that I/we have or may have now or in future. I/We further certify that we will not share Confidential Information with  other  assignment  teams working  for  other  clients  or  any other  staff  member  who   may  be conflicted.

Yours faithfully,

Signature, Name & Designation of authorised 						signatory / seal of the firm / company)

Place:

Date:

Technical / Experience Details

| 1. | Name of the Tenderer with constitution i.e., individual / Proprietor / Partnership firm / Limited liability partnership / Company |  |
| --- | --- | --- |
| 2. | Date of Establishment / Incorporation. (Documents related to Establishment / Incorporation to be enclosed) |  |
| 3. | Complete Address of Tenderer |  |
| 4. | Name and Contact Number, E-mail address of the Authorised Person for discussions |  |
| 5. | Copy of License / Permission issued by relevant governmental authorities for Carrying out business as involved in Scope of Work of the Tender document. |  |
| 6. | Details of Persons / Associates proposed to be deployed on the bank’s job i.e. Name, Designation, qualification, experience etc. |  |
| 7. | Name, address and Account details of the Tenderer |  |
| 8. | PAN of the Tenderer |  |
| 9. | GST registration number of the Tenderer |  |
| 10. | Presence in how many towns/cities in India (Name & Office Address) |  |
| 11. | Experience Details in Carrying out jobs as involved in the scope of work as well as required in Eligibility Criteria |  |
| 12. | Any other Information considered relevant by the Tenderer firm / Company |  |
| 13 | EMD details like Number, date and amount of DD/ IOI, name of issuing Bank & branch |  |

(Signature, Name and Designation of the Authorised signatory /seal of Firm / com pan y)

List of enclosures-

1.

2.

3.

4.

5.

6.

Annexure–B

Financial Bid

Deputy Zonal Manager

Indian Bank

Zonal Office Tirunelveli

No. 1/17, GRR Building, 2nd Floor

Perumalpuram

Tirunelveli – 627 007

Tamil Nadu

Engagement of Agency for Electrical Safety & Energy Audit of Bank’s branches/ Off-Site ATM/ Office Building at Tirunelveli Zone

With  reference  to  your  Tender Document dated -------------,  I/we, having  examined all relevant documents and understood their contents, hereby submit  our  Financial  Bid for preparation  of Tender for Electrical Safety & Energy audit of Bank’s branches/offices at different places / locations.

1.     Our  professional fee for the services performed in terms of the Scope of Work  as set out  in the Tender document will be Rs_____________ (Rupees_________) for Bank’s Branches /Offices and Rs. _______(Rupees _____________) for Off-site ATM  at Tirunelveli Zone (For more than one sites,  separate sheet showing  branch/office wise  break-up  may be enclosed).

2.     The taxes as applicable including GST will be extra.

3.     All the out of pocket expenses will be borne by me/ us and I / we will not charge any amount from Bank other than above quoted fee.

4.     We agree to receive the fee in the stages as detailed in the Tender document.

5.    Capitalised terms used herein but not defined will have the meanings assigned to such terms in the Tender document.

Place-

Date-

(Signature, Name and Designation of the Authorised signatory)

ELECTRICAL AUDIT / INSPECTION FORM FOR

BRANCHES (INCLUDING ONSITE ATM), OFF SITE ATM &

ADMINISTRATIVE OFFICES

NAME OF BRANCH / OFFICE: 					DATE OF VISIT:

Total Branch Load :

KW Per Phase Load:

| Phase I (KW) | Phase II (KW) | Phase III (KW) |
| --- | --- | --- |

Whether Load is balance or unbalanced 		:		YES/NO

If Load is unbalanced Rectification to be done	:_____________________________

___________________________________________________________________

_________________________________________________________________________

_________________________________________________________________________

Total Load of the Branch

| Rooms | Tube Light | Fan | Cooler | Water Cooler | PC | Printer | Cash Counting Machine | AC | UPS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Banking Hall |  |  |  |  |  |  |  |  |  |
| Customer’s Hall |  |  |  |  |  |  |  |  |  |
| Strong Room |  |  |  |  |  |  |  |  |  |
| Manager’s Cabin |  |  |  |  |  |  |  |  |  |
| Server Room |  |  |  |  |  |  |  |  |  |
| Staff Room |  |  |  |  |  |  |  |  |  |
| Canteen |  |  |  |  |  |  |  |  |  |
| Stationery Room |  |  |  |  |  |  |  |  |  |
| Toilets |  |  |  |  |  |  |  |  |  |
| Any Other Room 1 |  |  |  |  |  |  |  |  |  |
| Any Other Room 1 |  |  |  |  |  |  |  |  |  |
| Any Other Room 2 |  |  |  |  |  |  |  |  |  |
| Total Load |  |  |  |  |  |  |  |  |  |

Audit /Inspection Observations

| Sl. No. | Description | Observation |
| --- | --- | --- |
| 1 | Condition of Main Distribution Board / Sub Distribution Board. |  |
| 2 | Cables & wires used in the installation to be checked for required insulation and current carrying capacity. Condition of wiring with specific remark Note : Bunching of wires to be avoided & Proper clamping of conduits with wires to be done in the wall.. |  |
| 3 | Loose connection & hanging wires. |  |
| 4 | Heavy Duty contact points to be checked for the firm connection to avoid overheating and minimize power loss. |  |
| 5 | Condition of the fuses / main switches. Note:If Branches are provided with old switches and boards it can be replaced with MCB’s and Distribution Boards of suitable capacity. |  |
| 6 | Whether any single plug point used for various power applications by means of any extension board. Note: For avoiding overloading of Circuits. |  |
| 7 | Non provision of MCB / Circuit Breakers of adequate capacity. Note : Incoming and individual outgoing MCB’s / switches to be rated with proper capacity |  |
| 8. | Condition of neutral wire / earthing Note: Check for any loose connection |  |
| 9 | Details of Connected Load |  |
| 10 | Sanctioned Load (By State Electricity Board) (in KW) Present Load (in KW) If the available Load is more than the sanctioned load then the additional equipments which are connected are to be ensured that the wiring / switches / MCBs provided is capable of withstanding additional load. This is the root cause of fire accidents. |  |
| 11 | Power Consumption in excess of the sanctioned load. |  |
| 12 | Check for availability of measuring instruments in the Control Panel viz. Voltmeter, Ammeter, Frequency Meter, Power Factor Meter, Energy Meter for its calibration to measure electricity. |  |
| 13 | Earthing: (a) UPS Earthing- Value in ohms. (b) Raw power Earthing- Value in ohms. (c) No: of earth pits Note: UPS and Raw Power should have separate Earthing. |  |
| 14 | Total UPS Load:- (a) Total no of UPS with capacity (b) UPS panel wiring (c) Whether alternate Nodes are connected to one UPS. (d) Is UPS under AMC with OEM or not? (e) Is whether UPS load balanced? Mention Current in all the three phases. Note: If UPS load is imbalanced, the loads to be balanced in all the three phases. |  |
| 15 | UPS Batteries:- (a) No of Batteries (b) Periodicity of servicing (c) Proper ventilation / Exhaust fan provided |  |
| 16 | Air-conditioner:- (a) No of Airconditioners working round the clock with Tonnage. (b) Whether separate stabilizer provided for each AC unit (c) Any timer fixed to the AC units for alternate functioning. (d) Check whether supply for ACs is drawn through power points. (e) Date of last servicing carried out. (f) Eligible life span of ACs. (g) Whether Outdoor units are earthed? (h) Whether Ac’s are covered in AMCs? If Yes, what is the frequency of Preventive Maintenance in a year? Note : Periodic cleaning of AC filters is mandatory. |  |
| 17 | Any Generator provided (a) Location (b) Capacity (in KVA) (c) Periodical maintenance (Whether AMC with OEM or not?) (d) Change over switch manual or automatic. |  |

SAFETY QUESTIONER

| S.NO. |  | DESCRIPTION | DETAILS | REMARKS |
| --- | --- | --- | --- | --- |
| 1 |  | WHETHER TPN ISOLATORS / MCCBs / ELCBs / ARE PROVIDED TO CATER THE LOAD | YES / NO |  |
| 2 |  | WHETHER LIGHTS AND EMERGENCY LIGHTS ARE PROVIDED IN ELECTRICAL ROOM / OPERATING AREAS FOR EASY OPERATION & MAINTENANCE WORKS | YES / NO |  |
| 3 |  | WHETHER PUMP ROOM, DG SET ROOM, UPS ROOM, AC PLANT ROOM, ELECTRICAL PANEL ROOM ARE MAINTAINED IN DRY AND IN GOOD CONDITION AND OBSOLETE / HAZARDOUS / OLD ITEMS ARE NOT DUMPED THERE. | YES / NO |  |
| 4 |  | WHETHER WATER SEEPAGE IS OBSERVED NEAR ANY OF THE ELECTRICAL PANEL, DISTRIBUTION BOARD, ELECTRICAL EQIPMENT, ETC | YES / NO |  |
| 5 |  | WHETHER EARTHING PITS ARE PROVIDED AND CONNECTED TO EQUIPMENT AND THE BODY OF EQUIPMENT | YES / NO |  |
| 6 |  | WHETHER EARTHING PITS ARE MAINTAINED PROPERLY | YES / NO |  |
| 7 |  | WHETHER EXHAUST FANS FOR VENTILATION OF PANEL ROOM / ELECTRICAL ROOM / UPS ROOM / DG SET ROOM IS PROVIDED AND NO PAPER, OLD MATERIAL OR ANY OTHER SCRAP IS KEPT NEAR DB / PANELS / UPS / BATTERIES ETC. | YES / NO |  |
| 8 |  | WHETHER PENALTY IS BEING IMPOSED IN ELECTRICITY BILL ON ACCOUNT OF HIGHER LOAD / POOR POWER FACTOR / POOR LOAD FACTOR ETC (ACERTAINED FROM THE ELECRICITY BILLS OF APRIL/MAY/JUNE/JULY) ADDITIONAL ELECTRICAL LOAD REQUIRED (IF ANY) | YES / NO |  |
| 9 |  | WHETHER LOAD IS DISTRIBUTED IN ALL THREE PHASES TO AVOID ANY UNBALANCING OF PHASE LOAD AND NO LOOSE ELECTRICAL CONNECTIONS / HAPHAZRAD WIRINGS OBSERVED IN THE BUILDING / OFFICE PREMISES. | YES / NO |  |
| 10 |  | WHETHER ISOLATING SWITCHES ARE PROVIDED FOR SWITCHING OFF OF THE NON ESSENTIAL LOADS IN PREMISES DURING NIGHT AND MAIN SWITCH TO SWITCH OFF THE POWER SUPPLY TO THE BUILDING / FLOOR IN CASE OF FIRE / EMERGENCY. | YES / NO |  |
| 11 |  | WHETHER PROPER PREVENTIVE MAINTENANCE AFTER OPENING OF THE ELECTRIACL BOARDS AND DISTRIBUTION BOARDS ARE CARRIED OUT BY THE LICENSE HOLDER ELECTRICIAN OR SKILLED TECHNICIANS OF EQUIPMENT MANUFACTURER / SERVICE PROVIDERS. | YES / NO |  |
| 12 |  | WHETHER APPROPRIATE TIMERS USED IN THE CHANGEOVER OF AIR CONDITIONERS FOR SERVER ROOM ACs AND FOR SIGNAGE BOARDS TO MAKE AUTO ON / OFF (FOR SCHEDULE TIMINGS). THE THERMOSTAT OF THE ACs AT SERVER ROOM SHOULD BE SET TO SAY 26 C, SO THAT IT WILL RUN ONLY WHEN THE TEMPRATURE IS TOO HIGH (TO MINIMIZE CHANCES OF FIRE DUE TO IDLE RUNNING OF THE ACs DURING NIGHT) | YES / NO |  |
| 13 |  | WHETHER PREVENTIVE MAINTENANCE OF THE ELECTRIC INSTALLTION AND EQUIPMENT IS CARRIED OUT BY SKILLED LICENSE HOLDER ELECTRICIANS / SKILLED TECHNICIANS | YES / NO |  |
| 14 |  | GENERAL CONDITION OF ELECTRICAL CONTROL PANELS, MAIN SWITCH, ELECTRIC METER BOARD, CHANGE OVER SWITCH, AC, WATER COOLERS, WATER FILTERS, WIRING CABLES ETC ARE IN GOOD CONDITIONS AND DBs, PANELS, SWITCH BOARDS ARE PROPERLY COVERED | YES / NO |  |
| 15 |  | WHETHER ELECTRICASAFETY L EQUIPMENTS OF PANTRY ETC ARE PROPERLY CONNECTED TO INDUSTRIAL SOCKET BOX WITH MCBs. MCBs OR LATEST TYPE SWITCHES ARE PROVIDED TO SWTICH ON / OFF THE ACs TO PROTECT THEM FROM OVERLOAD. | YES / NO |  |
| 16 |  | WHETHER THE CONTACT NUMBER OF PERSONS, ELETRICIANS, POWER DISTRIBUTION COMPANY. GENERTOR SERVICE PROVIDER, UPS VENDORS, ACs ETC ARE AVAILABLE WITH SECURITY GAURDS AND OTHER STAFF ARE DISPLAYED IN ELCTRIC / UPS/ SERVER ROOM. | YES / NO |  |
| 17 |  | WHETHER POWER FACTOR CORRECTION PANEL OF APPROPRIATE RATING IS INSTALLED. | YES / NO |  |
| 18 |  | WHETHER ALL THE CONNECTING POINT AT VARIOUS DBs AND PANELS ARE PROPERLY INSULATED AND PROPER INDICATIVE MARKING ARE DONE ARE THE RESPECTIVE PANEL /DB | YES / NO |  |
| 19. |  | WHETHER THE INTERNAL INSULATION OF THE WIRE HAVE BEEN ACCOUNTED FOR CHECKING THE DURABILITY OF ELECTRICAL CONNECTION | YES / NO |  |
| 20 |  | ALL OLD DISPOSABLE RECORDS, BROKEN FURNITURE ETC ACCUMULATED IN THE PREMISES HAVE BEEN CLEARED. | YES / NO |  |
| 21 |  | COMBUSTIBLE LEAF LITTER / WASTE PAPERS ETC IN AND AROUND THE BRANCH ARE REMOVED / CLEANED PERIODICALLY | YES / NO |  |
| 22 |  | NO STATIONARY / RECORDS / OLD OBSOLETE ITEMS ARE STORED / KEPT IN THE SERVER / UPS / ELECTRIC ROOM | YES / NO |  |
| 23 |  | STORAGE RACKS IN STATIONARY / RECORD ROOM KEPT AT A SAFE DISTANCE OF AT LEAST 2M FROM ELECTRICAL POINTS / SWITCH / JUNCTION BOXES | YES / NO |  |
| 24 |  | WHETHER IN THE PANTRY / CANTEEN, LPG IS USED | YES / NO |  |
| 25 |  | ARE THE FIRE EXTINGUISHERS AVAILABLE IN THE FOLLOWING WORK AREA AND CLEARLY MARKED AND ACCESSIBLE: 1. SERVER / UPS ROOM: CO2 TYPE X 2 2. INDIVIDUAL DEPARTMENT OF THE PREMISES: CO2 TYPE X 1 3. STATIONARY ROOM: CO2 TYPE X 1 4. ELECTRIC ROOM / AC PLANT ROOM: CO2 TYPE X 2 5. DG SET/GENERATOR : 6KG ABC CAPACITY X 2 | YES / NO |  |
| 26 | WHETHER SERVER ROOM HAVE DUAL AC UNITS WITH TIMER CIRCUIT DEVICE ON INDEPENDENT CIRCUITS | YES / NO |  |
| 27 | WHETHER EXHAUST FANS ARE INSTALLED IN UPS ROOM | YES / NO |  |
| 28 | WHETHER PROPER INSULATION AT THE BATTERIES HAVE BEEN PROVIDED | YES / NO |  |

Details of rectification required

| HIGH RISK: |  |
| --- | --- |
| MEDIUM RISK |  |
| LOW RISK |  |
| Approximate cost for carrying out rectification work. (Individual cost of items to be mentioned) |  |
| SIGNATURE OF QUALIFIED ELECTRICIAN / AGENCY WITH ADDRESS | SIGNATURE OF BRANCH MANAGER |

FORMAT  FOR  ELETRICAL SAFTY  AUDIT

FOR  PREMISES HAVING MULTIPLE FLOORS / OFFICES

1.      Assessment of luminaries / light fittings

| Type of luminaries / light fittings | No of luminaries / light fittings | Lux level of luminaries / light fittings | Total electrical load consumption |  | Remarks (Condition of light fixtures acceptable or Not | Suggestions for improvement, if any |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Watt | Amp |  |  |

2. Floor wise assessment of Air conditioning system

| Type of Air Conditioning units | No of Air conditioners | Capacity of Air Conditioner (TR) | Total electrical load consumption | Condition of air conditioning system | Remarks (Condition of machine acceptable or Not | Suggestions on improvement, if any |
| --- | --- | --- | --- | --- | --- | --- |

3. Floor wise assessment of UPS

|  | No. of UPS | Capacity (KVA) | P-P Voltage of each UPS |  |  | P-N Voltage each UPS |  |  | Phase Currents |  |  | Total electrical load consumption |  | Neutral Earthing & its adequacy | Protective earthing & its adequacy | Remarks (Condition of machine acceptable or Not | Suggestions on improvement, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |

4. Floor wise assessment of electric circuit

| Sl.No | Heads | Result | Remarks (acceptable or Not) | Suggestions on improvement, if any |
| --- | --- | --- | --- | --- |
| 1 | Presence of Main switch interlocking if two different supplies are coming to Distribution panel |  |  |  |
| 2 | Availability of correct identification of circuit details and protective devices |  |  |  |
| 3 | Presence of nonstandard (mixed) cable color warning notice at or near consumer unit / Distribution board |  |  |  |
| 4 | Cables correctly supported throughout their run or not |  |  |  |
| 5 | Condition of insulation of live parts |  |  |  |
| 6 | Adequacy of wiring for current carrying capacity with regard to the type and nature of the installation |  |  |  |
| 7 | Adequacy of protective devices, type and rated current for fault protection |  |  |  |
| 8 | Presence and adequacy of circuit protective conductors |  |  |  |
| 9 | Whether Low voltage cables segregated from Medium voltage cables |  |  |  |
| 10 | Whether Cables separated / segregated from non-electrical services |  |  |  |

| 11 | Whether proper termination of cables at enclosures |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 12 | Connections soundly made and under no undue strain | Insulation of conductor visible outside enclosure |  |  |  |
|  |  | Connections of live conductors adequately enclosed |  |  |  |
|  |  | Adequately connected at point of entry to enclosure (glands, bushes etc.,) |  |  |  |
|  |  | Condition of accessories including socket outlets, switches & joint boxes |  |  |  |
| 13 | Other special observations, if any record the results of particular inspections applied Separately |  |  |  |  |

| Sl.No | Heads |  | Result | Remarks acceptable or Not) | Suggestions on improvement, if any |
| --- | --- | --- | --- | --- | --- |
| 1 | Presence of Main switch interlocking if two different supplies are coming to Distribution panel |  |  |  |  |
| 2 | Availability of correct identification of circuit details and protective devices |  |  |  |  |
| 3 | Presence of nonstandard (mixed) cable colour warning notice at or near consumer unit / Distribution board |  |  |  |  |
| 4 | Cables correctly supported throughout their run or not |  |  |  |  |
| 5 | Condition of insulation of live parts |  |  |  |  |
| 6 | Adequacy of wiring for current carrying capacity with regard to the type and nature of the installation |  |  |  |  |
| 7 | Adequacy of protective devices, type and rated current for fault protection |  |  |  |  |
| 8 | Presence and adequacy of circuit protective conductors |  |  |  |  |
| 9 | Whether Low voltage cables segregated from Medium voltage cables |  |  |  |  |
| 10 | Whether Cables separated / segregated from non electrical services |  |  |  |  |
| 11 | Adequacy of protective earthing conductor |  |  |  |  |
| 12 | Adequacy of Neutral earthing conductor |  |  |  |  |
| 13 | Whether proper termination of cables at enclosures |  |  |  |  |
| 14 | Connections soundly made and under no undue strain | insulation of conductor visible outside enclosure |  |  |  |
|  |  | Connections of live conductors adequately enclosed |  |  |  |
|  |  | Adequately connected at point of entry to enclosure (glands, bushes etc.,) |  |  |  |
|  |  | Condition of accessories including socket outlets, switches & joint boxes |  |  |  |

5. Floor wise assessment of electrical Panel room

| 15 | Details switch gear panels | No of Panels |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Rating of panels |  |  |  |  |
|  |  | Measurement of P-P & P-N voltage of Panels |  |  |  |  |
|  |  | Measurement of P-P & P-N current of Panels |  |  |  |  |
|  |  | Condition of Panels |  |  |  |  |
|  |  | Any other observations |  |  |  |  |
| 16 | Whether method of Cables laid inside the Electrical room is acceptable |  |  |  |  |  |
| 17 | Total Electrical Load of the Floor |  | Air conditioning load |  |  |  |
|  |  |  | Light & power load |  |  |  |
| 18 | Whether electrical load balancing is acceptable (give details of phase wise load ) |  |  |  |  |  |
| 19 | Other special observations, if any record the results of particular inspections applied separately |  |  |  |  |  |

6.Assessment of Transformer

| No. of Trans forme rs | Capacity of each Transformer s 1. Rating 2. make 3. type | P-P Voltage of each Transfo rmers |  |  | P-N Voltage each Transfo rmers |  |  | Phase Current s |  |  | Total electric al load consum ption |  | Neutral Earthing & its adequacy | Prot ectiv e earth ing & its adeq uacy | Condition of insulation | Whether transform ers loaded/u nder loaded and extant thereof in % | Remark s (Conditi on of machine accepta ble or Not | Sugge st-ions on improv ement, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |  |  |

| No | Capacity of each elevator s 1. Rating 2.make 3.type | P-P Voltage |  |  | P-N Voltage |  |  | Phase Currents |  |  | Total electrical load consumpti on |  | Parameters of the motors |  |  |  |  | Neutral Earthing & its adequac y | Prote ctive earth ing & its adeq uacy | Condi tion of insula tions | Remark s (Conditi on of machin e accepta ble or Not | Sugge stions on improv ement, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | No | Capa c-ity (KW) | Volt -age | Curr ent | Conditi on of motors |  |  |  |  |  |
|  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |  |  |  |  |  |  |

7.  Assessment of Elevator

8.  Assessment of Pump

| N o of P u m p | Capacit y of. each pump 1. Rating 2.make 3.type | P-P Voltage |  |  | P-N Voltage |  |  | Phase Currents |  |  | Total electrical load consumpt ion |  | Parameters of the pump motors |  |  |  |  | Neutral Earthing & its adequac y | Protec tive earthin g & its adequ acy | Condit ion of insulat ions | Remar ks (Condi tion of machi ne accept able or Not | Sugge stions on improv - ement, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | No | Ca pa cit y (K W) | Volt age | Curr ent | Conditio n of motors |  |  |  |  |  |
|  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |  |  |  |  |  |  |

9.  Assessment of earthing system

Earthing Continuity Testing:  This  Test is  conducted to  find  out  any equipment  that has  not  been earthed properly and in compliance with Indian Electricity Act 1956, IS-1200 part I and as per IS-3043 of 1966. It is to be checked with the help of Continuity Testing Meter and Earth Resistance Meter

| Sl. No | Heads | Result | Remarks (acceptable or Not) | Suggestions with new technologically energy efficient, environment friendly, cost benefited air conditioning system |
| --- | --- | --- | --- | --- |
| 1 | No of earth pit |  |  |  |
| 2 | Type |  |  |  |
| 3 | Earthing test report |  |  |  |
| 4 | Continuity test report |  |  |  |
| 5 | Condition of total earthing system for the building. (Give detail report) |  |  |  |
| 6 | Neutral Earthing & its adequacy |  |  |  |
| 7 | Protective Earthing & its adequacy |  |  |  |
| 8 | Other special observations, if any record the results of particular inspections applied separately |  |  |  |

| Sl. No | Heads | Result | Remarks (acceptable or Not | Suggestions with new technologically energy efficient, environment friendly, cost benefited air conditioning system |
| --- | --- | --- | --- | --- |
| 1 | Number of terminals |  |  |  |
| 2 | Number of down conductors |  |  |  |
| 3 | Continuity of conductor |  |  |  |
| 4 | Condition of the lightning conductor |  |  |  |
| 5 | Joints condition |  |  |  |
| 6 | Testing point on down conductor |  |  |  |
| 7 | Earth conductor condition |  |  |  |
| 8 | Earth resistance |  |  |  |
| 9 | Other special observations, if any record the results of particular inspections applied separately |  |  |  |

10.   Assessment of lighting protection system

11.  Assessment of Diesel Generating Set:

| No of Diesel Gener ator Set | Capacity of each Diesel Generator Set 1. Rating 2.make 3.type | P-P Voltage of each Diesel Generat or Set |  |  | P-N Voltage each Diesel Generat or Set |  |  | Phase Currents |  |  | Total electrical load consumpti on |  | Neutral Earthing & its adequac y | Protective earthing & its adequacy | Conditio n of insulatio ns | Whether Diesel Generator Set over loaded/unde r loaded and extant thereof in % | Remarks (Conditio n of machine acceptabl e or Not) | Suggesti ons on improve ment, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |  |  |

SIGNATURE WITH SEAL

(CONSULTANT / CONTRACTOR)                                             (OFFICER OF BRANCH / OFFICE)

NAME OF THE ELECTRICAL  ENGINEER / CONSULTANT / CONTRACTOR:

SUPERVIOR’S VALID LICENSE NO:

DATE:

PLACE:

The particulars furnished in the application are true to the best of my/our knowledge & belief.

I/we understand that if any of the particulars is found incorrect, even at a later stage, my/our contract will be cancelled.

SIGNATURE WITH SEAL

(CONSULTANT/CONTRACTOR)

DATE:

PLACE:

FORMAT FOR ELETRICAL ENERGY AUDIT FOR   BRANCHES

| BRANCH CODE & NAME |  |
| --- | --- |
| ADDRESS |  |
| SANCTIONED LOAD |  |
| CONNECTED LOAD |  |
| MONTHLY ELECTRICITY BILL (APPX) |  |
| TOTAL TONNAGE OF AIR CONDITIONER LOAD |  |
| AREA OF THE BRANCH |  |

| S.No. | DESCRIPTION | Wattage | Recommendation |
| --- | --- | --- | --- |
| 1. | Type of Electrical Fittings installed and its Lux level and Wattage |  |  |
| 2. | No of Ceiling Fan installed and its power consumption. |  |  |
| 3. | No. of Wall Fan installed and its power consumption |  |  |
| 4. | No of Air-conditioners and its capacity and power consumption of each. |  |  |
| 5. | No of computer installed and its power consumption. |  |  |
| 6. | UPS installed and its capacity |  |  |
| 7. | Any other gadgets installed and its power consumption. |  |  |
| 8. | Verification of electricity Bill for last 12 months and observation if any |  |  |
| 9 | Leakage if any in the wiring system |  |  |

ELECTRICAL ENERGY AUDIT:

The particulars furnished in the application are true to the best of my/our knowledge & belief. I 0/we understand that if any of the particulars is found incorrect, even at a later stage, my/our contract will be cancelled.

SIGNATURE & SEAL OF AUDITOR

DATE:

PLACE: