ONLYEMPANELLED CONTRACTORS OF INDIANBANKAT LUCKNOW ZO CAN APPLY

# INDIANBANK

TENDER DOCUMENT FOR

INTERIOR FURNISHING

&

ELECTRICAL WORKS

OF INDIANBANK AT

VIKALP KHAND

LUCKNOW

# OFFICE OF THE    ZONALMANAGER

INDIAN BANK, ZONAL OFFICE,

2nd floor New Building ,Lucknow

ARCHITECTS:

# Mohit& Associates

L-2/554 ,Vineet Khand Gomti Nagar,Lucknow

MOBILE:9582218092,7428217659

## DETAILSOFTENDER

TENDER FOR THE FURNISHING & ELECTRICALWORKS IN INDIAN BANK

AT VIKALP KHAND BRANCH & ATM

- Details of work to be done	:	Interior/Furnishing &Allied

Electrical works for the furnishing of Indian Bank Vikalp Khand Branch

- Form of Contract	:	Item wise rate

- Earnest Money	:	Rs.55,000/-(Fifty five thousand only)

Inform of Demand draft in favour of Indian Bank, payable at LUCKNOW.

- Period of contract /	:	2Weeks time of Completion

- Last Date & time for receiving:	on or before 10.11.2025 at5.00p.m. of sealed tender.

- Liquidated damages for non-:	10%of the contract value per week completion of work in time	subject of the contract value.

- Defect Liability Period	:	12months(Twelve months)from the

date of virtual completion as certified by Architect / employer.

- Retentionamountfor12months:	8% of the total bill.

- Period of submitting of	:	15 days from the date of completion. Final bill.

- Mobilization Advance /	:	No. Mobilization Advance / secured Secured Advance		Advance will be given to the

Contractor.

- Place and date of opening	:	12.11.2025 at 05:00p.m.inthe

Of tender	Office of the ZM,IndianBank Z.O. Lucknow

Zonal Manager,Indian Bank, ZonalOffice,2nd floor new building Hazratganj ,Lucknow.

TENDER FOR THE FURNISHING & ELECTRICALWORKS IN INDIANBANK

AT VIKALP KHAND,GOMTI NAGAR  BRANCH & ATM LUCKNOW

GENERALCONDITIONS

  - The Contractor shall sign each page of this tender.

  - Payment to the Contractor Agency shall be made as per actual work done at site.

  - Quantity of work may increase or decrease at site as per requirement, which shall not affect the rates quoted by the contractor.

  - Furnishing works including electrical works etc. shall be done to the complete satisfaction of Bank and Architect-in-charge.

  - All teak/ Cedar wood/ rubber wood to be used should be knotless which is to be polished with all background surface preparation coarses maintaining the visibility of wood grains.

  - The rates to be quoted shall include the cost of material, labour charges, carriage, sales tax, or any / all other taxes any required hardware etc.

  - The contractor agency shall keep particular vigil on his workers/carpenters/painters etc. to maintain very good workmanship of all items, failing which no payment shall be made and no claim of material / labour used shall be made to him in any case, and the same work shall be executed by him again without charging any extra cost.

  - All rates shall be quoted in words & figures & any cutting over writing shall be signed.

  - All items to be executed as per drawings, if any change is required, the same shall be brought to the notice of Architect-in-Charge.

  - Any tender/quotation containing clerical or arithmetical mistakes shall be rejected.

  - Any addition, alteration or correction shall be signed and stamped properly.

  - Contractor agencies are advised (before quoting the rates) to inspect the site of the proposed work. He must go through all drawings and specifications and documents.

  - The Bank reserves the right to accept/reject any tender/quotation without assigning any reason.

  - The Contractor agency should have already executed works of furnishing interiors & exterior, civil worksofvery goodworkmanship.

  - Quality of material and workmanship rejected by the Architect / Concerned Authorities shall be removed immediately by the contractor and rectified / replaced.

  - No advance payment shall be made to the Contractor on supply of any material supplied at site for execution. Payment shall only be made on execution of any concerned / particularitem.

  - The rates shall include the cost of coat of anti-termite treatment on all wooden frame work and all commercial ply / board used for partitions and paneling, furniture etc. The contractor/shall have to dismantle & dispose(which is/are of no use)the existing counters,

Tables, partitions, false ceiling and electrical items with in the quoted cost of the total furnishing works.

  - Rates for partitions, paneling, wall cladding and false ceiling shall include cutting and making good of necessary cut-outs/chiseling to be made for electrical conduits, switch boards etc.

  - Bank shall not be responsible for any lose or damage to the contractor/labour due to any natural calamity during the course of construction. Contractor is liable to make good all the damages if any, till the work is completed and handed over to the Bank authorities.

  - Any payment to the contractor on account of execution of work, whether it is running payment or final, shall be verified by the Architect-in-Charge.

  - Unless, otherwise mentionedallmaterialstobeusedshallbeI.S.I.marked.Failuretodoso, the work may be rejected and in that case contractor shall have to remove the defective materials and replace / re-dothe work for which no claim shall be entertained.

  - The total work shall be supervised by the Architect-in-Charge and he/she shall be kept fully informed by the contractor regarding the progress of work.

  - Bank may award the work in part or whole to a single party or any other party.

  - It may please be noted that theBank is not bound to allot the work to the lowest party. And as such, the allotment of work shall be based on workability of rates quoted by the contractor on account of quality work.

  - The bank reserves the right to reject any or all the tenders without assigning any reason whatsoever.

  - The earnest money deposited shall not carry any interest and will be refunded to the unsuccessful Bidders.

  - Earnest money paid by the contractor shall be forfeited by the Bank if contractor fails to undertake the job if he is communicated about acceptance his rates/tender.

  - The contractor shall take all the necessary precautions while working and to safe guard adjacent property, Bank’s property, Bank’s Employees, and traffic persons.

  - All the rates quoted are inclusive of removal of existing counters, partitions, wiring, rubbish/ debris collected during the progress of work, rejected materials etc.

  - The contractor shall not directly or indirectly sublet the work to other party with out written permission of the Bank.

  - The quantities mentioned in schedule are provisional and likely  to increase/decrease to any extent or may be omitted thus altering the aggregate value of the contract. No claim for loss of profit / business shall be entertained on this account.

  - The Bank reserves the right to distribute the work for which quotations have been called, among more than one parties, if found necessary. No claim in this respect shall be considered and the contractor agrees to cooperate with other agencies appointed by the Bank.

  - All the workers of the contractor must be properly covered by an insurance policy under “Workman’s Compensation act” and “Fatal Accidents Act”. The contractor at his own expenses arrange to effect and maintain until the virtual completion of the contract, insurance policy in the joint name of Bank and the contractor against this risk to be retained

by the Bank until the virtual completion of the work, and indemnify the Bank from all the liabilities arising out of such events. In case of delay, contractor shall arrange to extend insurance policy till work is completed.

  - All the work should be completed within the specified period in the tender. If the work is delayed due to the reasons beyond the control of the contractor, he should keep intimating the Bank explaining, there in the reasons for such delays, immediately and if in the opinion Bank’s authorities the delay is justified, the contractor shall be granted extension in time limit.

  - The contractor shall furnish well in time before work commence at his own cost, color samples, samples of materials or workmanship that may be called by Bank’s Architect / Engineer for approval. Rates quoted shall cover for such preliminary work.

  - All the glass panes, door handles/hinges, electric fittings,fans,furniture, records, floors etc. are to be thoroughly cleaned after the work is completed.

  - The rates quoted by the contractor shall be firm throughout the duration of contract (including extension of time if any granted) and will not be subject to any fluctuation due to variation in cost of material and labour.

  - Conditional tenders are liable to be rejected.

  - The successful bidder is bound to carry out any item  of work necessary for the completion of the job even those such items are not included in schedule of quantities.

  - If in any case of work required to be abandoned, the contractor shall not be entitled for any claims and he will be paid as per the actual work done till that period, if deemed fit.

  - Decision of the Bank shall be final and binding on any matter connected with the work. The matter of any dispute shall be decided after mutual discussions based on the terms and conditionsof this contract.However,if the matter cannot be resolved then the same shall be referred tothe respected qualified person in agreed to both the partiesandhis opinion shall be binding on both the parties. However, this is precourse to any legal action in this regard.

  - If at any stage during the progress of work, it is observed that the contractor is not progressing the work with due diligence, care of lagging much behind the schedule or fails to gear up the work despite instructions from Bank’sArchitect, the Employer(Bank)reserves the right to terminate the contractwith7days’notice.Insuchcasethecontractorshallbe liable to pay the Employer any extra cost involved for the completion of the said work and will not obstruct any way in completing the work through other agency. After completion of entire work the contractor shall be paid for the actual work executed by him at the quoted rates after deducting any claims, damages. In case of such termination the security deposit held by the Bank will be forfeited.

  - Contractor shall follow all rules / regulations in force and should possess the license for employing labour and also follow all safety measures, labour bye laws and shall be responsible for any lapse.

  - At any stage i.e. during the execution of work, any kind of change reqd. whether it is in design or specification, the same has to be in-corporated by the contractor.

CONTRACTOR	INDIANBANK

# AGREEMENT

This agreement made at 	day of 	,betweenthe IndianBank, ZonalOfficeLucknow,having itsregisteredofficeat 2nd floor New building Hazratganj Lucknow (herein aftercalled the Employer which expression shall include their heirs, executors , administrators and assignees) of the one part and M/S

(herein after called the 'Contractor' ) of the other part. Whereas the employerisdesirousthatworkshouldbeexecutedasperdrawingsandspecificationsdescribing the work to be done, to be prepared by their approved Architects and WHEREAS the said drawings, the specificationsandthe price scheduleofquantitieshave signed byoron behalfof thepartiesheretoandWHEREASthecontractor hasagreedtoexecuteuponandsubjecttothe conditionsset forth herein andthe said priced schedule of quantities at therespectiverates mentioned in the priced schedule of quantities , which as part of the tenderdocument.

AndWHEREASthecontractorhasdepositedRs	/-astheEarnestMoneywiththe

Employer, which shall become partofsecuritydeposittobeuntiltheexpiryoftheDefect liability period for the due observance of the contract .

NOWTHISAGREEMENTWITNESSETHASFOLLOWS:

- In consideration of the said contract, payments to be made to the said conditions execute and complete the worksshown upon the said Drawings and such Further detaileddrawingsasmaybefurnishedtohimbythesaidArchitectsanddescribedinthe specifications and the said priced schedule of quantities.

- Theemployershallpaythecontractorsuchsumsasshallbecomepayablehereunderat the times and in the manner specified in the said conditions.

- Thesaidcontractcomprisedthebuildingabovementionedandallsubsidiaryworks connecttherewithinthesamesiteasmaybeorderedtobedonefromtimetotimeby the said Architects even , through such works maynot be shown on the Drawings or described in the said specification or the priced schedule of quantities .

- TheEmployerthroughArchitectreservestohimselftherightoalteringthedrawingand nature of the work and adding to or omitting any items of works , check of

Measurement, paymentcertificate,variationarisinginviewofchangeofscopeofwork andapprovalofratesofextrasubstituteditems. The decisionofthe Employer shallbe final and binding in this regard .

- TheEmployerinconsultationwiththeArchitectreservestherighttoexercisecontrolon qualityofwork , check ofmeasurement , payment certificate , variationarising , in view

ofchangeofscopeofworkandapprovalofratesofextrasubmitteditems.Thedecision of the Employer shall be final and binding this regard balance retention moneybeing deducted from my /our bills in accordance with the conditions of contract.

- Thefollowingdocumentsshallbedeemedtoformandconstructedaspartofthis agreement along with the amendments , negotiated and confirmed in various subsequent latter exchanged as mentioned hereinafter and parties hereto will respectivelyabidebyandsubmitthemselvestotheconditionsandstipulationsand perform the agreement on their parts respectively in such conditions contained .

  - InvitationtoTender.

  - InstructiontoTenderers.

  - GeneralConditionsofthecontract.

  - ScheduleofQuantities.

  - Employer letter date 	/	/	tothe contractors awarding the contract .

  - Contractors letter date 	/	/	to the Employer in acceptance of the award of contract .

- Alldisputesarisingoutoforinanywayconnectedwiththeagreementshallbedeemed to have arisen at New Delhi only, the court inNew Delhi shall have jurisdiction to

determinethesame.

- The several parts of thiscontract have been read to us and fullyunderstood by us. Witness our hand this………………………… day of	2008

SIGNED BY THE SAID ……………………………………………………………(EMPLOYED)

IN THE PRESENCE OF ……………………………………………………………ADDRESS ……………………………………………………………

……………………………………………………………

SIGNED BY THE SAID ……………………………………………………………(CONTRACTOR)

IN THE PRESENCE OF ……………………………………………………………ADDRESS ……………………………………………………………

……………………………………………………………

TENDERFORTHEFURNISHING&ELECTRICALWORKSININDIANBANK

ATLUDHIANA(RAPC,MAPC, RAC)

SPECIFICATIONS / BRANDS / MAKE OF ITEMSFORFURNISHINGWORKTOBEUSED.

- Board/Ply	:	Archid/Century/Greenply

- Laminate	:	Aica,Sunmica,Merino,Century,Greenlam:1mmth.

- DoorCloser/Floorspring	:	Everite,Doorking, Sandhu,Nitco.

- Drawer &Keyboard,Slide	:	EarlBihari,Ebco(Telescopic)

Rails

- Glueforfixingcommercial	:	Fevicol(Pidilite)

Board/Laminate

- Glass	:	Triveni,ModiFloat,SaintGobain,Asahi.

- MorticeLatch&Lock	:	Godrej,Harrison.

- VerticalBlinds	:	VistaLevelor/Mac/Neha.

- Tapestry/leatherfoam	:	Harmony,Vimal,Bhororasapproved

- Aluminium Sections	:	Jindal/Mahavir/Hindalco

- FalseCeiling	:	IndiaGypsum& Armstrong

- SyntheticEnamel	:	Asian,Nerolac,ICI,Berger

- EmulsionPaint/PlasticPaint	:	Asian,Nerolac,ICI,Berger

SPECIFICATIONS / BRANDS / MAKE OF ITEMSFORELECTRICALWORKTOBEUSED.

- SFU/MCCB/Changeoverswitch/DB	:	L&T/MDS/Legrand/Havells/Legrand.

- Voltmeter/Amperemeter	:	AE/L&T.

- ArmoredunarmoredCable	:	Gloster/CCI/Polycab.

- PVCInsulatedWires	:	Polycab/Finolex/Havells/RRCables.

- Telephonecable	:	Finolex/Delton/Havells.

- Datacables&I.O’s	:	Lucent/D-link/Cat-VI.

- Modularswitch/socket/callBell	:	Havells/Legrand/Anchor/Penta

- Lightfittings&Lamps	:	Philips/Crompton/Wipro/Havells.

- Ceilingfan/Wallbracketfan/Exhaust	:	Crompton/Orient/Khaitan/Bajaj.

CONTRACTOR	INDIANBANK

## TENDERFORTHEFURNISHING&ELECTRICALWORKSININDIANBANKAT

VIKALP KHAND-LUCKNOW

|  |  | Mohit& Associates. Architects,Interiors .Estimators L-2/554-, VineetKhand, GomtiNagar,Lucknow. Phone.742821765,9582218092 E-Mail: mohitg.gupta2783@gmail.com |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.O.Q OF INTERIOR FURNISHING WORK FOR INDIAN BANK BRANCH & ATM AT VIKALP KHAND -LUCKNOW |  |  |  |  |  |  |  |  |  |  |
| A | SCHEDULE - 'A' (FURNISHING WORK) |  |  |  |  |  |  |  |  |  |
| S.N | DESCRIPTION |  |  | UNIT |  | QTY. |  | RATE |  | AMT |
| 1 | SUSPENDED FALSE CEILING |  |  |  |  |  |  |  |  |  |
| 1.1 | FALSE CEILING ( GYPSUM BAORD) |  |  |  |  |  |  |  |  |  |
|  | Providing and fixing Gypsum false ceiling as per drawing including of providing and fixing G.I. Frame work shall comprise of G.I. perimeter channel (MF-6A) of size 0.50mm thick having one flange of 19.6mm and another flange shall be of size 29.6mm and a web of 26.6mm along with perimeter of ceiling, screw fixed to the beam to the required curvature with nylon sleeves and screws at not exceeding 610mm centers. Then suspending G.I. intermediate channel (MF-7) of size 45mm, 0.9mm thick with two flanges of 15mm each bent to the required curvature by cutting both its flanges. Suitable bracing to be provided where ever the flanges are cut with 0.9mm G.I. Flat and nuts and bolts at specific positions and thereafter at1220mm centers with ceiling angle of width 25mm x 10mm x 0.50mm thick fixed to soffit with G.I. cleats and steel expansion fasteners as per specification of India gypsum at a distance of 2'0" c/c both ways complete with 12.5mm board and all necessary perimeter channels etc. |  |  | Sq.Ft. |  | 440.00 |  |  |  |  |
|  | The joints to be properly mended with paper tapes and gypsum compound all complete. The boards are to be jointed and finished which includes filling and finishing the tapered and square edges of the boards with jointing compound and fiber tape suitable for Gypsum board. A layer up to of 3.00mm thickness of Veneer Plaster is applied followed by two coats of topcoat (primer) at the face of board to give smooth seamless finish. 2 or more coats of plastic emulsion paint (roller finish) of approved shade and make shall be applied.The rate should include the full completion of the ceiling. At the time of handing over the site all necessary repairing work to be considered if required. The work to be completed as per specification , approval of the bank. No Drop or design(if any )will be considered as extra measurement it will be considered flat ceiling. (Only plan area to be measured for payment) .No extra payment will be made for the cutting of light points , stain glass,cove lighting etc. The measurement will be taken in one level , rate should include the drops also, no extra amount will be paid for the drops. |  |  |  |  |  |  |  |  |  |
| 1.2 | FALSE CEILING (ARMSTRONG CEILINGS – FINE FISSURED MICROLOOK EDGE WITH SILHOUETTE GRID (BLACK REVEAL) |  |  |  |  |  |  |  |  |  |
|  | Providing and fixing false ceiling system manufactured by M/s. Armstrong World Industries using hot dipped galvanized steel section, rotary stitched main tee of size 15mm x 42 mm web height, having 0.36 mm gauge at every 600 mm centre to centre maximum and rotary stitched cross tee of size 15 mm x 42 mm, having 0.33 mm gauge at every 600 mm. c/c. and wall angle of size 19 x 19 mm., having 0.35 mm gauge fixed to the periphery of the wall. The above grid is suspended at every 600mm c/c. in both directions using 2.0 mm. thick pre-straightened GI wire laying FINE FISSURED MICROLOOK WITH SILHOUETTE GRID(BLACK REVEAL) ceiling tiles manufactured by M/s. Armstrong World Industries, of size 600mmx600mmx15mm having NRC 0.55, Light reflectance of >84% (WT), thermal conductivity k = 0.052-0.057 W/m0K, Humidity Resistance of 99% , having Fire Performance CLASS O / CLASS 1 (BS 476), surface having 3 coats of white paint with Fine Fissured, back of the tile duly sanded and finished with a coat of protective paint over the formed grid complete.(Branch & ATM) . |  |  | Sq.Ft. |  | 484.00 |  |  |  |  |
| 1.3 | Repairing & painting of existing flase ceiling as per above specification |  |  | Sq.Ft. |  | 100.00 |  |  |  |  |
|  | TOTAL OF SUSPENDED FALSE CEILING |  |  |  |  |  |  |  |  |  |
| 2 | PARTITIONS WORK |  |  |  |  |  |  |  |  |  |
| 2.1 | FULL / LOW HEIGHT SOLID /Part Glazed PARTITION |  |  | Sq.Ft. |  | 490.00 |  |  |  |  |
|  | Full ht. Solid Partition including flush door & strong room partition up to 7' only WITH LOUVRE :- Providing and fixing solid partition , the framing shall made out of aluminium hollow section of 65mm x 37mm size 1.5mm thick of JINDAL / INDAL as internal frame structure placed horizontally & vertically at max distance of 2’-0” x 2'-0" center to center. Fixing 6 mm thick commercial ply on both sides with 1.0mm thick laminate on top of approved shade with groove pattern as per instructions of Architect. The rate shall include the cost of providing skirting of 100mm wide lined with 1mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1mm thk laminate complete. Laminate Should be considered up to two or three color combination. The edge beadings with steam beach wood should be finished with melamine polish if required, frame work above false ceiling done shall not be measured but contractor may factor it while quoting there rates as measurment up to false ceiling lvl.. |  |  |  |  |  |  |  |  |  |
|  | The rate inclusive of providing & fixing of required flush door of 37mm thick approx. with 1.0mm th.laminate both side with steem beech wood chowkhat of size 75mm x 65mm approx and Item includes Heavy-duty SS ball bearing butt hinges 100 x 5.5 mm (4 Nos. per shutter) with screws etc.The shade of laminate finish to be got approved from Bank. . All as per the design and instructions Bank. |  |  |  |  |  |  |  |  |  |
|  | Note :- For the purpose of payment partition shall be measured including the area of door/door frames up to false ceiling heaight. |  |  |  |  |  |  |  |  |  |
|  | Framework shall be regidly secured to floor, bottom of slab &exisitng walls at 2'-0" c/c with dash fasteners. |  |  |  |  |  |  |  |  |  |
| 2.2 | Single skin partition |  |  | Sq.Ft. |  | 20.00 |  |  |  |  |
|  | As of the above but Providing and fixing single skin partition above false ceiling(where false ceiling is provided only on one side) for a height of up to 600mm or near about soffit of roof using aluminium frame as specified above along with 6mm thick Commercial ply wood lined on only one side and lining with 1mm thk laminate of approved shade and amke along with grooves. |  |  |  |  |  |  |  |  |  |
| 2.3 | Full height Glazed partition manager cabin |  |  | Sq.Ft. |  | 170.00 |  |  |  |  |
|  | Same as of Solid ht. partition , providing 8mm thick Modi/saint Gobin float glass above 1'-0" / 3'-0" & up to 7'-0" fixed with steam beech wood beading of finished size 1 1/2" X 1" all along the edge. All edge-to-edge glass joint to be machine cut and polished and sealed with silicon sealant. joint shall be located strictly as shown in the drawing. All exposed woodwork to be mealamine polished. Item includes frosted/striped/designer glass film of 3m, Avery Dennison or equivalent ( basic rate of FlimRs. 50/ Sq.ft. ) on existing glass as per manufacturer's specifications. All as per the design and instruction Bank. |  |  |  |  |  |  |  |  |  |
| 2.4 | Single window Partitions cash cabin |  |  | Sq.Ft. |  | 50.00 |  |  |  |  |
|  | Providing and fixing in position Double skin partition 7'-0'' height.The framing shall made out of aluminium hollow section of 65mm x 37mm size 1.5mm thick of JINDAL / INDAL as internal frame structure placed horizontally & vertically at max distance of 2’-0” x 2'-0" center to center. Fixing 6 mm thick commercial ply on both sides with 1 mm thick laminate of approved colour and shade as per approval of the Architect. The partition to include 8 mm. thick Modi Float glass with etching on the sides and back including a door 3'-0" wide as per the approval with all necessary hardware, night latches etc. All exposed edges to be covered with steam beech wood Beading,4mm grooves in places as per design duly melamine polished inclusive of all materials,hardware, night latches, labour, T&P, taxes, levies, etc. completed to the satisfaction of the bank & drawing. |  |  |  |  |  |  |  |  |  |
| 2.5 | Low. Height Semi Glazed Partition |  |  | Sq.Ft. |  | 85.00 |  |  |  |  |
|  | Same as above but of Low height as per design including 10mm Toughened glass with edges polished to be used. All other specs are same as of above, Edges of the partition to be covered with 3" X 1.5" Steam beech wood duly melmine polished moulding. 38mm thick flush door: wicket gate also shall be included for a measurement. All as per the design and insturction bank. |  |  |  |  |  |  |  |  |  |
| 2.6 | Front Glazeing In head cash cabin & SWO |  |  | Sq.Ft. |  | 20.00 |  |  |  |  |
|  | Providing & fixing 10mm thick toughened clear float glass to shape for front side of the cash counters including cutting the holes and providing & fixing TW beading polished and tinted to approved shade. ( including SWO/Chief Cashier front Glass). |  |  |  |  |  |  |  |  |  |
| 2.7 | Aluminium grill on the ceiling of Cash cabin |  |  | Sq.Ft. |  | 0.00 |  |  |  |  |
|  | TOTAL OF PARTITIONS WORK |  |  |  |  |  |  |  |  |  |
| 3 | DOOR & ACCESSORIES |  |  |  |  |  |  |  |  |  |
| 3.1 | Main Entrance Door PT Door |  |  | Sq.Ft. |  | 50.00 |  |  |  |  |
|  | Providing and fixing toughend glass door shutters of 12mm thickness in opening of glazed partitions with stainless steel patch fittings of approved make ( DORMA / OZONE / HETTICH/GEZE/DLINE or approved equivalent) including heavy duty double action floor-spring with steel cover plate of approved make, pull handle SS brussed finishes 24" long thick 25mm on both sides of door shutters, locking arrangement of Dorma / D Line or equivalent or better quality as approved by Engineer-in-charge. Exposed edges of glass shall be machine cut & polished. Cost includes cutting and making good the floor, walls, ceiling etc. for fixing floor spring and patch fittings. All complete as per approval of the Architect. |  |  |  |  |  |  |  |  |  |
| 3.2 | Main Entrance Fixed PT Glazing |  |  | Sq.Ft. |  | 60.00 |  |  |  |  |
|  | Providing and fixing toughend glass partition of 12mm thickness with stainless steel patch fittings of approved make ( DORMA/ OZONE / HETTICH /DLINE / GEZE or approved equvalant as approved by Engineer-in-charge. Exposed edges of glass shall be machine cut & polished. Cost includes cutting and making good the floor, walls, ceiling etc. for fixing patch fittings. All complete as per approval of the Architect. |  |  |  |  |  |  |  |  |  |
| 3.3 | Supplying and fixing of Dorma/GEZE Dline / Hardwyn/Godrej or approved equivalent Door Closer for wooden door for Branch manager, Banking hall, Chief Cashier , Dinning ,UPS,Toilet |  |  | Nos |  | 4.00 |  |  |  |  |
| 3.4 | Supplying and fixing of mortice door lock of hardwyn make HML-480 Lock Body 304 Stainless Stell. (in BM Cabin , Store room 0. Cash cabin shall be Godrej Night latch.(atm 1 No.) |  |  | Nos |  | 4.00 |  |  |  |  |
| 3.5 | Supplying and fixing of door stopper SS Grade 304, HESSF-2C hardwyn make. |  |  | Nos |  | 5.00 |  |  |  |  |
|  | TOTAL OF DOOR & ACCESSORIES |  |  |  |  |  |  |  |  |  |
| 4 | WORKING COUNTER |  |  |  |  |  |  |  |  |  |
| 4.1 | CASH COUNTERS |  |  | Rft. |  | 5.00 |  |  |  |  |
|  | Providing and fixing Chief Cash Counter in split-levels @ 2’-6” (height 750mm) & 18” (1140mm) with 2’-6” & 15” wide each respectively . Upper levels having 12mm thick frosted toughened glass (i/c taxes and transportation). Edges of 18” wide counter shall be 12mm thick frosted toughened glass. Lower tier shall be made of 19 mm thick ply wood finished in 1.5mm thick laminate. Exposed edge having steam beech wood edging of size 1 ½” x 1”. Vertical face shall have 12mm thick frosted toughened glass as per requirement of design. All exposed surfaces shall be finished with 1.0mm thick laminate of approved shade and colour. |  |  |  |  |  |  |  |  |  |
|  | 1 no. prefabricated metal computer key board tray including drawer slides 12.5” x 22” tray with 14” telescopic slides including L – brackets for securing to the table top. Chest of drawers (size 1’-4” x 2’-0” x 2’- 5”) made of 19mm thick commercial ply wood having three drawers finished with 1.0mm thick Laminate on all sides. Each drawer shall have locking system and 6” long S.S. brushed finished handle, drawer slides etc. of approved make. All exposed edges of ply wood sealed with Steam beech wood beading of size ¼” x ¾”. All beading and exposed wood shall be melamine polished and the Internal surfaces shall be .75 mm thick laminate.Item includes readymade metal powder coated CPU trolley, grommet, footrest for each seat. All complete as per approval and instructions of the Architect / employer.The rate also include providing and fixing painting a foot rest using hard wood 100 x 25mm size 1st class seasoned country frame. |  |  |  |  |  |  |  |  |  |
|  | Payment will be made only on the centerline measurement. The rate shall include the cost of providing skirting of 100mm wide lined with 1.0mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1.0mm thk laminate comlpete. the Internal surfaces shall be .75 mm thick laminate. |  |  |  |  |  |  |  |  |  |
| 4.2 | RUNNING COUNTER |  |  | Rft. |  | 18.00 |  |  |  |  |
|  | Providing and fixing staff counter/SWO in split-levels @ 2’-6” (750 mm) & 3'1" with 2’-6” (750 mm) & 9" wide each respectively . Upper levels having 1 mm thick laminate with 19 mm thick commercial ply top. Lower tier shall be made of 19mm thick ply wood and finished in 1 mm thick laminate. Working top having steam beech wood edging of size 1 ½” x 1”. Vertical face shall have 19 mm thick commercial ply over pine wood framework as per requirement of design. All exposed edges of ply wood sealed with Steam beech wood beading of size ¼” x ¾”. All exposed surfaces shall be finished with 1.0mm thick laminate of approved shade. |  |  |  |  |  |  |  |  |  |
|  | The item includes Chest of drawers (size 1’-4” x 2’-0” x 2’- 5”) made of 19mm thick commercial ply wood having One drawers at top and a storage cabinet below having shutters of 19mm thick ply wood finished with 1.0mm thick Laminate on all sides. 1 no. prefabricated metal computer key board tray including drawer slides 12.5” x 22” tray with 14” telescopic slides including L – brackets for securing to the table top for each seat. All beading and exposed wood shall be melamine polished and the Internal surfaces shall be .75 mm thick laminate. Item includes 1’-3” high 12mm thick toughned glass above upper tier and readymade metal powder coated CPU trolley, grommet, foot rest for each seat. All complete as per approval and instructions of the Architect / employer.The rate also include providing and fixing painting a foot rest using hard wood 100 x 25mm size 1st class seasoned country frame. Payment will be made only on the centerline measurement. |  |  |  |  |  |  |  |  |  |
|  | The rate shall include the cost of providing skirting of 100mm wide lined with 1.0mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1.0mm thk laminate comlpete. |  |  |  |  |  |  |  |  |  |
|  | TOTAL OF WORKING COUNTER |  |  |  |  |  |  |  |  |  |
| 5 | TABLE & FURNITURE |  |  |  |  |  |  |  |  |  |
|  | Providing and fixing tables made out of 19 mm thick commercial ply over hard wood frame work finished with 1 mm thick laminate of approved shade. Top having steam beech wood edging of size 2” x 1 ¾”. s. All the exposed edges to be covered with wooden steam beech lippings and mouldings duly malamine polish. The drawers to be made out of 19mm thk ply wood with 1.0 mm laminate finish in the front , and bottom to be made out of 6mm plywood and it should play in drawer sliding telescopic channels. The inside of the drawer shall be .75 mm thick laminate. & Table back side wil be 1mm laminate. A leg rest to be provided duly polished made out of 3"x2" Wooden Section.The rate inclusive of providing &fixing wooden cabinet to suit the DVR for size 2'X6"X1'9" or as per the requirements) |  |  |  |  |  |  |  |  |  |
|  | A shutter to be made by 19mm ply wood cladded with1.0mm laminate .The necessary locks handles to be provided in each drawers and shutters. 3" x 1/2" wooden skiritng to be provided in all visible areas duly polished. The necessary wire managers(SS) to be provided on the tables and provision for lights to be kept if required in the front of the table. All the exposed areas to be duly malamine polished The work to be completed as per design and approval of the Bank. The table should have key board tray and CPU Trolly to be Modular. All as per the design and instructions Bank the Internal surfaces shall be .75 mm thick laminate. The rate including providing and fixing Side Unit 400 mm depth and 3'0/3'6" length made out of 19mm ply wood finished with 1.0mm laminate in all exposed areas and top shall be 1 mm thick . The shutters to be made out of 19mm commercial ply wood with cabinet hinges ( EBCO /Hitich Slow motion ) with 2 Shelves . The necessary locks , handles, etc to be provided . 3" x1/2 wooden skirting to be provided duly polished as per matching tone all along the visible areas . Inside of the unit shall be .75 mm thick laminate. in matching tone . All the exposed edges of the boards/ply woods to be coverd with wodenlippings/mouldings duly polished all complete. The work to be completed as per approval and specification of the Architect. |  |  |  |  |  |  |  |  |  |
| 5.1 | MANAGER TABLE ( Size:- 5'-0" x 2'-6") ht. 2'-6" |  |  | Nos |  | 1.00 |  |  |  |  |
|  | of the above with (10mm thick clear float glass with beveled edges shall be provided on the finished to 19mm thkComm.ply wood of approved make cladded with 1mm thk. laminate( color with vertical grain) as per design in all visible area |  |  |  |  |  |  |  |  |  |
| 5.2 | Officer TABLE ( Size:- 4'6"-0" x 2'-6") ht. 2'-6" as per above specification without glass |  |  | Nos |  | 0.00 |  |  |  |  |
|  | TOTAL OF TABLE & FURNITURE |  |  |  |  |  |  |  |  |  |
| 6 | STORAGE & SIDE UNIT |  |  |  |  |  |  |  |  |  |
| 6.1 | Low HT cabinet |  |  | Sq.Ft. |  | 80.00 |  |  |  |  |
|  | Providing and fixing Full /Low height Cabiner400mm deep made out of 19mm thk plywood finished with 1.0mm laminate in all exposed areas . The Shutter to be made out of 19mm ply wood in the front cladded with 1.0mm laminate( color, vertical grain) . and bottom made out of 6mm plywood duly painted in matching tone and shelves 19mm thkcomm ply wood to fixed inside storage. The shutters to be made out of 19mm ply wood . The necessary locks , handles, etc to be provided . 3" x1/2 wooden skiritng to be provided duly polished as per matching tone all along the visible areas . Inside of the unit shall be .75 mm thick laminate finish . All the exposed edeges of the boards/plywoods to be coverd with wooden lippings/mouldings duly polished all complete.All as per the design and instructions Bank. |  |  |  |  |  |  |  |  |  |
| 6.2 | Main Electrical Panel Cabinet |  |  | Sq.Ft. |  | 35.00 |  |  |  |  |
|  | Providing and fixing of DB Shuttering formed of 12mm thk plywood wood on 12mm thick Gypsum board (fire Proof) with finsih as per Item no 1 for inside and out side shutters finished with laminate on outer surface with SS (4Nos) louvre perforation and necessary hardware,hingesetc complete as per details. All as per the design and instructions Bank.Only front face used for measurement only |  |  |  |  |  |  |  |  |  |
|  | TOTAL OF STORAGE & SIDE UNIT |  |  |  |  |  |  |  |  |  |
| 7 | Panelling & Rolling shutter |  |  |  |  |  |  |  |  |  |
| 7.1 | BOXING FOR ROLLING SHUTTER |  |  |  |  |  |  |  |  |  |
|  | WITH ACP FINISH (BRANCH &ATM) |  |  |  |  |  |  |  |  |  |
|  | Providing and fixing boxing for the rolling shutters.l. Framing shall consist of Aluminium Sections of 50 mm x 25 mm @ 600mm C/C. Both ways horizontally and vertically on the wall / with Aluminium Sections of 2"x1" as directed by Bank / Architect. This framing would be covered by with 2mm thick "Aluminium Composite Panel". The rate shall inclusive of necessary fixtures and fittings, sealant etc. complete. |  |  | Sq.Ft. |  | 90.00 |  |  |  |  |
| 7.2 | WOODEN COLUMN/WALL PANELLING (Additional Qtry to be approved by bank) |  |  | Sq.Ft. |  | 180.00 |  |  |  |  |
|  | Fabricating and fixing wall/column paneling, the framing shall made out of aluminium hollow section of 65mm x 37mm size 1.5mm thick of JINDAL / INDAL at spacing not exceeding 600mm bothways (horizontal and vertical). Paneling framework to be secured to wall surface/column surface.Paneling framework to be clad on one side with 9mm thick ply finished with 1.0mm thk laminate including skirting of 100mm high & 12mm x 12mm groove at skirting level. All as per the design and instructions Bank. (Note:AdditionalQtry to be approved by ZO ) |  |  |  |  |  |  |  |  |  |
| 7.3 | ACP WALL PANELLING (ATM ) |  |  | Sq. ft. |  | 225.00 |  |  |  |  |
|  | Providing & fixing in position ACP (Aluminium Composite Panel) with framing of Aluminium Tube sections of min 1.5"x 1" and 20 gauge 2'-0" C/C both ways. ACP to be in 2' wide panels or distributed equally. Panels to be fixed to the frame with 3M or equi-valent adhesive. Joints to be finished with Silicon based sealant. Minimum ACP thickness-3 mm. Aluminum foil thickness to be min 0.25 mm on both sides. Alubond, Eurobond, Fujibond, Alcobond or equivalent ISO certified or approved brands to be used. White (IVORY) & Blue to be as per bank's approval. Additional Sections to be provided to fix the Indoor AC units. Both AC units to be installed near the machine area at the highest position. The rate shall be included for providing proper access panel for ATM power point and shall have proper locking arrangement for plug point by provding additional framing. The quantity is inclusive of ACP shutter Boxing and external clading. ( The measurement shall be made up to falseceiling&Oly ATM LOBBY). |  |  |  |  |  |  |  |  |  |
| 4 | BACK ROOM (ATM) - Providing and fixing partition made up on Aluminium box section with 2"x2" and 20 gauge with 2'0" C/c Both ways ,and to be ffixed on inside 3 mm thick Aluminum Composite panel and rear side (only where backroom/storage is available) with 8 mm thick plywood finished with 2 -coat colour enamel paint.The rate inclusive of providing and fixing of suitable shelve for fixatation CCTVs instrument & UPS extra (1Nos.) & Access Door with teak wood louvers, and necessary accessories including handle & locking arrangement and necessary hardware complete as per details. All as per the design and instructions Bank. The item shall incluse suitable cutting & provision for installation of ATM facility. |  |  | Sq.Ft. |  | 65 |  |  |  |  |
|  | Total Amount for Panelling & Shutter box |  |  |  |  |  |  |  |  |  |
| 8 | OTHER MISCELLANEOUS ITEMS |  |  |  |  |  |  |  |  |  |
| 8.1 | PIN UP / NOTICE BOARD |  |  |  |  |  |  |  |  |  |
|  | Providing and fixing soft board with necessary framework with 12mm BWR plywood on top 12 jolly board to be fixed finished with fabric @Rs80 , with necessary mouldings duly polished along the periferi. All as per the design and instructions Bank. |  |  | Sq.Ft. |  | 24.00 |  |  |  |  |
| 8.2 | WRITING LEDGER |  |  | NO |  | 1.00 |  |  |  |  |
|  | Providing and fixing writing ledge as per design minium 5 ft length made out 19mm comm. board with necessary grove patterns with 1.0mm laminate. 10mm thk machine polished glass to be provided on top of the writing ledge. Small boxes to be made out of 12mm comm. ply to be made on top of the writing ledge finished with 1.0 mm laminate, inside surfaces shall be .75 mm thick laminate. and rate should be included |  |  |  |  |  |  |  |  |  |
| 8.3 | Cheque box &Sugeestion Box |  |  | NO |  | 1.00 |  |  |  |  |
|  | providing fixing of sugestion box & Cheque deposit box as per approval of bank .The work to be completed as per design and approval of the architect. |  |  |  |  |  |  |  |  |  |
| 8.40 | Customer Table - (4'-0" X 2'-6" ) |  |  | No |  | 1 |  |  |  |  |
|  | Providing and making a table of over all size of top as mentioned above. It shall consist of ¾” thk. Comm. Ply top as per design (double edge on outer edge with 1 1/2" thkhalf moulding on the edges) supported on ¾” thk. Comm. Ply verticals.supported on wooden base (as designed by the architect). Suitable wooden moulding as architect design with mellamine shall be provided to the edge of the top. All external surfaces to be finished in 1 mm laminate. & the Internal surfaces shall be .75 mm thick laminate. |  |  |  |  |  |  |  |  |  |
|  | TOTAL OF OTHER MISCELLANEOUS ITEMS |  |  |  |  |  |  |  |  |  |
|  | GRAND TOTAL FOR FURNISHING (A) |  |  |  |  |  |  |  |  |  |

| BLANK B.O.Q OF ELECTRICAL WORK FOR INDIAN BANK BRANCH & ATM AT VIKALP KHAND -LUCKNOW |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| B | SCHEDULE - 'B' (ELECTRICAL WORK) |  |  |  |  |
| SL No | PARTICULARS | UNIT | QTY | RATE | AMT |
|  | The work shall also include for cutting chase for conduits and moulded boxes, if required, in the wall/ floor (Without damaging the building/wall) along with clamping the conduit at every 750mm interval & finally finishing the surface & matching the same with the existing surface. |  |  |  |  |
|  | The rate should include the cost of all materials, modular switch complete with MS box & cover plate, labour, T&P, taxes & levies, scaffolding, shifting of furniture, carting away the debris and cleaning the floor etc |  |  |  |  |
| A | CABLING |  |  |  |  |
| 1 | DG SET SUPPLY |  |  |  |  |
|  | Removing Refixing of Exisitng Cable of 3.5c 25sq.mm XLPE insulated armouredAluminium Conductor cable c/w 1*6sq.mm stranded copper wire for earthing from proposed DG set to Changeover switch including its connections at both ends with lugs to be laid in 25mm dia rigid PVC /flexible conduit | m | 0 |  |  |
| 2 | MAIN PANEL SUPPLY |  |  |  |  |
|  | S/ laying of XLPE insulated armouredAluminium Conductor cables including cost of lugs, cable glands etc. The cable should be laid on surface with proper clamps @750mm or laid & concealed in wall/ floor/ PVC Conduit/ false ceiling complete in all respect. The work also includes cutting chases for conduits in the wall/ floor (Without damaging the building) along with clamping the cable. All connection shall be done thru proper size of lugs |  |  |  |  |
|  | 3.5c 35sq.mm for Pole & fuse Kit Kats | Metre | 12 |  |  |
| 3 | S/ laying of XLPE insulated armoured Copper Conductor cables including cost of lugs, cable glands etc. The cable should be laid on surface with proper clamps @750mm or laid & concealed in wall/ floor/ PVC Conduit/ false ceiling complete in all respect. The work also includes cutting chases for conduits in the wall/ floor (Without damaging the building) along with clamping the cable. All connection shall be done thru proper size of lugs |  |  |  |  |
|  | 4c x 10sq.mm for TPN Db's | Metre | 5 |  |  |
| 4 | Incoming supply to UPS room: S/laying of 4C X 6sq.mm XLPE insulated armoured Copper conductor cable from main Panel to 4way SPN Db/ 4way TPN Db in the UPS room to be laid in medium duty 20mm PVC conduit/ pipe & run on surface or concealed in wall/ floor/ flase ceiling including connections at both ends with lugs. | mtr | 15 |  |  |
| 5 | Supply & Laying of 4 runs of 6.0 Sqmm and 2 runs of 2.5 sqmm, PVC insulated, single core, multistranded copper conductor cable in suitable rigid / flexible metal conduit from MainUPS DB to auto phase shifter. | mtr | 5 |  |  |
| 6 | Supply & Laying of 2 runs of 6.0 Sqmm and 1 run of 2.5 sqmm, PVC insulated, single core, multistranded copper conductor cable in suitable rigid PVC conduit from automatch phase shifter to UPS unit | mtr | 10 |  |  |
| 7 | Wiring with 2*4.0sq.mm +1X2.5 Sqm FRLSH stranded Cu. wires laid in 20mm OD PVC/ flexible pipe heavy duty laid on floor & concealed in wall/ floor as per requirement to various voltage stabilizers. The job includes making connections at both ends with proper size of lugs to the entire satisfaction of the Bank. | mtr | 15 |  |  |
| B | MAIN ELECTRICAL DISTRIBUTION |  |  |  |  |
| 1 | Supply, fabricating,assembling,internal- connection, testing &connceting with incomming, out going power cables & lines as required to complete the job of cubical type electrical panal made from 14SWG CRC. M.S. sheet with proper earthing terminal(Nut- bolt &washer) 02 No.outside of panal, same nut- bolt to tighten with internal earth busbar of panal situated inside loose wire box(on top portion of panel) On top side of panel cable entry arragement to be done for incomming&out going of lines. Painting powder coating electrical grey/ seimensgrey to be done.one 6"x4" enamal type 440Volt Danger board to fix up on main panal bus-bar cover, components are as follows :-All switches are front handle operated & all MCB knob should be visual, all component to provide in separate compartment only DBs in one compartment. | Each | 1 |  |  |
|  | Incomer - 100A 4P MCCB 25Ka with adjustable thermal & Magnetic trip unit -1 Nos |  |  |  |  |
|  | OUTGOINGS - |  |  |  |  |
|  | 63 Amps 4 pole MCB. = 04 Nos.(AC & Power DB,ATM ,UPS,spare) Amps Meter 0-100 Amps with 3 Nos. CT & selector switch 96x96mm 01 Set (Changeover should be ON-LOAD type.) |  |  |  |  |
|  | 100Amps 4pole Cu. Bus Bar. 01 Set. 100Amps 4 pole Change over switch. 01 No. 100 Amps FP MCCB 25KA as Gen - Set main incoming 01 NO. |  |  |  |  |
|  | Volt meter 0-500volt A.C. 50 Hz.96x96mm with selector switch. AE make.n 01 Set |  |  |  |  |
|  | 20mmdia LED indicator lamp 03 Nos. |  |  |  |  |
|  | 02 Amps Sliding Fuse. 06 Set. |  |  |  |  |
|  | 150x100mm enamalDanger board 440 volt. |  |  |  |  |
|  | (to set on bus bar cover). 01 No. |  |  |  |  |
|  | Cable entry from top & bottom - removable gland plates (bottom at 2 points) c/w powder coated Grey paint (two coats) with name labels for all incoming & outgoing feeders. The panel shall be complete in all respects including all accessories such as earthing bus, Air ventilators, lifting hooks etc. |  |  |  |  |
| 2 | POWER &AC DB . Make standard/Legrand/ABB ,Double door | Set | 1 |  |  |
|  | 6 way TPN MCB DB with TP MCB as incoming |  |  |  |  |
|  | 63 TP&N MCB as main |  |  |  |  |
|  | 16Amps SP MCB - 4 Nos (RAW power ) + 32AMPS DP - 2no. -LED Sign board (branch+ATM) + 32 AMPS DB MCB 1No: For Strong room 32Amps DP MCB - 3 Nos ( branch Ac :4 Nos ) + 16AMPS SP X2 NOS. ( ATM AC 2 Nos) |  |  |  |  |
|  | including Neutral Bar. |  |  |  |  |
| 3 | LIGHTING DB Make standard/Legrand/ABB | Set | 1 |  |  |
|  | 4 way TPN MCB DB with TP MCB as incoming |  |  |  |  |
|  | 40A TP&N MCB as main |  |  |  |  |
|  | 16 Amps SP MCB - 03 Nos.+ (BM +Toilet) each 1No + 1No spare |  |  |  |  |
|  | 12 Amps SP MCB - 9 Nos. (Hall - 4Nos + Store room 1 No +Exteranl Lighting 1No.:+ wall Fan 2 Nos + 1 ATM Lights) |  |  |  |  |
|  | Including Neutral Bar. 01 Set |  |  |  |  |
| 4 | UPS SYSTEM (Branch) |  |  |  |  |
| 4.1 | UPS Main DB Supply, erection, testing and commissioning of three phase 4 WAY, TPN MCB DB double door type with "C" Curve MCBs, IP 42 powder coated for UPS with 63A 4P MCBs – 1No as INCOMER 40A TP MCBs – 3 Nos. as OUTGOING ( Branch UPS :2Nos ATM-1no) Including all interconnections & accessories etc Make standard/Legrand/ABB | Nos | 1 |  |  |
| 4.2 | Supply & Fixing of 32A DP MCB in 2way SPN Db IP 20 metallic directly on wall Raw power Incoming &OutGoing supply for UPS (Branch :2 Nos& ATM 1No.) | Each | 3 |  |  |
| 4.3 | UPS Output Db 1 |  |  |  |  |
|  | S/F of 6way SPN Db c/w 32A DP MCB as incomer 2*16A 2P MCB's for FDAS & CCTV + 1*10A 1P MCB for digital signage + 1*10A spare, including proper connections thru lugs. The job shall be complete & to the entire satisfaction of the Bank. All DB's to be properly earthed. | Each | 1 |  |  |
| 4.4 | UPS Output Db - 2 |  |  |  |  |
|  | S/F of 12way SPN Db for branch computer points with 32A 2P MCB as incomer and 3*10A SP MCB for 1 BM & 2 for 4 officers (2 on LHS counters o/s BM & 2 besides cash) + 2*6A SP for 2 cash cabins + 2*10A 1P MCB for router + 3*10A spare complete in all respect and as required & to the satisfaction of the bank. All DB's to be properly earthed. | Set | 1 |  |  |
|  | SPN Db should be earthed properly thru lugs. |  |  |  |  |
| 4.5 | UPS Output DB-3 (ATM) | Each | 1 |  |  |
|  | S/F of 6way SPN Db for branch computer points with 32A 2P MCB as incomer and 3*10A SP ATM & Passbook Kiosk + 1*10A spare complete in all respect and as required & to the satisfaction of the bank. All DB's to be properly earthed. |  |  |  |  |
| 4.6 | S/I of independant 16A multi pin socket at walls along with 16A modular type switches board housed in painted MS box for UPS input | No | 3 |  |  |
| 4.7 | Supply, installation, testing and commissioning of 40A rated 3 phase to single phase auto phase shifter for 3.0 KVA UPS (SLHD of Swift make) (BRANCH + ATM) | Nos | 3 |  |  |
| C | ELECTRICAL WIRING & EARTHING |  |  |  |  |
| 1.1 | Supply,laying,connection& testing of light,fan point, wiring by 2x1.5mmsq(2x3/.029) +1x1mmsq PVC insulated, multistrand single core copper conductor FRLS wire maintating the colour code as per direction in PVC conduite of 20mm with ISI mark 1.5mm thickness to conceal in wall partition mending good the damage, complete with PVC circular box, bend to be done as per drawaing including 3 point ceiling rows wherever required GI saddle to be used for fixing,metalflexiable/PVC flexiable pipe may use if requied in partition wall. All PVC pipes should be with ISI mark. No joints will be allowed inside pipe,light, fan & plug point complete with modular type switch plate & MS box . rate Including the main circuite line 2x2.5mmsq+1x1.5mmsq earth PVc insulated Cu. Wire from DB to switch board ,maintaining the colour code. Circuite line for lighting switch board & 6Amps plug board are to be drawn from lighting DB to Lighting board & plug point board (independent ), 6/16 Amps plug point line are to be draw from power DB.as per DBschedule /SLD |  |  |  |  |
| a) | 1 light by 1 switch | Nos. | 29 |  |  |
| b) | 2 light by 1 switch | Nos. | 13 |  |  |
| e) | Ceiling fan point with step type electronic regulator | No | 3 |  |  |
| f) | Same as above, but for exhaust fan excluding regulator. | No | 2 |  |  |
| g) | Same as above 5A Point in the switchboard itself. (for branch 4 No & ATM 1 No) | No | 8 |  |  |
| h) | same as above Wiring for call-bell point including buzzer | No | 1 |  |  |
| i) | Wiring (2x2.5mmsq+1x1.5mmsq from power DBs) for independant 6A multi pin socket at walls along with 6A modular type switches board housed in painted MS box (upto 3 independent plug points can be taken in one circuit). For wall Fan | No | 7 |  |  |
| 1.2 | Supply and installation of modular type 2 nos 6A & multi pin sockets with 2 nos 6 Amp one way switch housed in MS box to be fixed in partitions or concealed in wall. The box shall be painted with 2 coats of enamel paint over a coat of red oxide primer including wiring for Raw power socket outlet using 2 R runs of 2.50Sqmm and single run of 1.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 20mm PVC conduit to be laid in floor, partitions, etc. complete with all accessories (looping 2 sets of 2x6A socket outlet in one circuit- from DB) (Raw power). for counter ( Each counter 1 Nos +BM :2 Nos, ATM 1No:,Pantry 1No.:) | No | 6 |  |  |
| 1.3 | Supply and installation modular type 16A, 5-pin socket with 16A one way switch housed in MS box to be fixed in partitions or concealed in wall. The box shall be painted with 2 coats of enamel paint over a coat of red oxide primer , the rate shall include wiring fusing 2R 4.0 sqmm& single run of 2.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 25mm PVC conduit to be laid in floor, partitions, etc complete with all accessories (for line printer : or optional).(upto 2 independent plug points can be taken in one circuit) BM.;1 No.: Alternative counter 2No + Banking Hall 1 No+ Pantry 1No ,ATM :1No) | Nos. | 9 |  |  |
| 1.4 | Supply & Installation of point wiring for UPS power plug points on workstations / table for computers using 3*1.5 Sq.mm copper conductor multi stranded FRLSH wire pulled through floor raceways/conduit and taken upto table top using PVC rigid or flexible conduits run within wooden/metal partitions. Each point consisting of 3 nos of 6A , 2/3 pin sockets & 1 No., 16A Switch wired together forming one point. The earth wire of green color only. | Each | 12 |  |  |
| 1.5 | Supply and installation of power supply disconnection arrangement for strong room consisting of 1 no 10A DP MCB housed in manufacturer's powder coated MS box to be fixed inside the strong room and connected with 1 no 3-pin metal clad plug with 2 metre long 3 core 2.5 sqmm PVC insulated flexible copper conductor cable. | Set | 1.00 |  |  |
| 1.6 | Acs electrification :- |  |  |  |  |
| (a) | Supply and fixing 25 Amps 3-pin modular socket with 25 Amp one way switch with indicator (near AC indoor unit) housed in manufacturers MS powder coated box to be concealed in wall includding Wiring using 2R4.0 sqmm& single run of 2.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 25mm PVC conduit to be laid in floor, partitions, etc complete with all accessories. (for split AC units) -(from Stabilzer to IDU)Supply. (2 Nos for ATM), Stablizer to be installed in the panel room. | Nos | 4 |  |  |
| (b) | Supply and fixing 25 Amp - 3 pin metal clad socket with plug controlled by a 25 Amp SP MCB (for Ac wall mounted stabilizers) housed in manufacturers MS powder coated box to be concealed in wall including Wiring using 2R 4.0 sqmm& single run of 2.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 25mm PVC conduit to be laid in floor, partitions, etc complete with all accessories. (for split AC units) from AC DB to Stablizer (2 Nos for ATM) | Nos | 4 |  |  |
| (C) | Supply and fixing 20A 3-pin modular socket with 20A one way switch with indicator (near AC indoor unit) housed in manufacturers MS powder coated box to be concealed in wall includding Wiring using 2R 2.5 sqmm& single run of 2.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 25mm PVC conduit to be laid in floor, partitions, etc complete with all accessories. (for split AC units) -(from Stabilzer to IDU)Supply.Stablizer to be installed in the panel room. | Nos | 2.00 |  |  |
| (d) | Supply and fixing 20A - 3 pin metal clad socket with plug controlled by a 20A SP MCB (for Ac wall mounted stabilizers) housed in manufacturers MS powder coated box to be concealed in wall including Wiring using 2R 2.5 sqmm& single run of 2.5 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 25mm PVC conduit to be laid in floor, partitions, etc complete with all accessories. (for split AC units) from AC DB to Stablizer | Nos | 2.00 |  |  |
| 1.7 | Out door type glow sign board wiring :- |  |  |  |  |
| i | Supply laying of main line with 2x2.5 +1x1.5 mmsq through MS conduite from main panal to glow sign board. | Mts | 10 |  |  |
| ii | Supply installation of 16 amps DP MCB at main entrance Glow sign board & With Electronic timer as required. | Set | 1 |  |  |
| 1.8 | EARTHING STATION : |  |  |  |  |
| (i) | Earthing installation as per I.E. rule conforming | Set | 3 |  |  |
|  | Supply, Installation, Testing and Commissioning of Maintenance Free Earthing system made up of copperbonded rod of 10 feet length,23 mm dia. (Minimum copper bonding shall be 0.25mm) along with Rod-toConductor connectors, Earth enhancement material, Pit Cover and other accessories as required and as per specification and other applicable codes (include chamber for earthing, Earthing certificate to be submitted along with the bill). |  |  |  |  |
| (ii) | Supply laying 2x8SWG copper bear wire from earth spike to main panal.(Electrolite wire) |  |  |  |  |
|  |  | Mts | 20 |  |  |
|  | sub total I |  |  |  |  |
| D | ELECTRICAL FITTINGS (S/I/T/C |  |  |  |  |
| 1.1 | Supply and Installation Recess mounted 2'-0"X2'-0" watt ,38 W LED FULL GLOW Philips MAKE . Light should be fixed through SS threaded bolt tighted the upper end on ceiling using anchor bolt and lower end on Light fitting with nut and bolt (RC380B G2 LED35S-6500/4000 PSU OD WH)PHILIPS/WIPRO MAKE | Nos. | 15 |  |  |
| 1.2 | SQUARE SHAPE DOWNLIGHTER - INTEGRA 15W, 3000K, LHEBGTP5Z1W015, PHILIPS Razor/WIPRO MAKE | Nos. | 26 |  |  |
| 1.3 | TUBELIGHT - TITANIA SLEEK NEW LED TUBELIGHT 20 W, PHILIPS/WIPRO MAKE. | Nos | 8 |  |  |
| 1.4 | BULB HOLDER WITH LED | NOS. | 6 |  |  |
| 1.5 | 150 mm dia Heavy Duty Exhust fan 230 voltA.C.( Havells / Crompton make).(UPS & Toilet ) | Nos | 3 |  |  |
| 1.6 | Metal body Wall mountaing fan 450 mm dia 230 volt A.C. PHILIPS/WIPRO MAKE | Nos. | 7 |  |  |
| 1.7 | Supply of Ceiling fan with 1200mm sweep, double ball bearing motor, capacitor, three MS blades die cast Al housing in stove enameled white with, suspension rod including all accessories of approved make.(5 star rated) (ORIENT/KHAITAN).(UPS,Strong room & Store room) | Nos. | 3 |  |  |
|  | SUB TOTAL |  |  |  |  |
|  | TOTAL FOR ELECTRICAL WORK |  |  |  |  |
| E | DATA SYSTEM - CONDUITING & CABLING |  |  |  |  |
| 1.1 | Wiring for computer networking from I/O hub to computer workstation with UTP Cat-6 computer cable including providing ferrules at both ends and termination at both ends including providing & fixing frame for with shutter, RJ 45 outlet, faceplate and mounting box complete of modular type, This work includes providing PVC conduits ( 1/2", 3/4" size or as required0 in chases from the I/O hub to the point. The cost includes testing, commisioningetc complete. Note : Do not run more than 3 wire in single pipe & should be concealed. ( Server,BM,CC& ATM each 2Nos and counter 5Nos) | Nos. | 10 |  |  |
| 1.2 | Supply of Cat - 6 D-Link patch cord 7' 0" (ATM 1No) | Nos. | 10 |  |  |
| 1.3 | Supply of Cat - 6 D-Link patch cord 3' 0"(ATM 2No) | Nos. | 10 |  |  |
| 1.4 | Removing &reinstalation of Exisitng Port Jack Panel &Swicth Make:-D-Link including tensting&commsioning | Nos. | 1 |  |  |
| 1.5 | 19" Rack 9U with Glass Door , Locking system Make: APW | Nos. | 1 |  |  |
| 1.6 | 24PORT 10/100Mbps Switch | Nos. | 0 |  |  |
|  | GRAND TOTAL FOR LAN & TELEPHONE (C) |  |  |  |  |

| ESTIMATE FOR AIR-CONDITIONING WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FOR INDIAN BANK BRANCH & ATM AT VIKALP KHAND -LUCKNOW |  |  |  |  |  |
| Note; 1. Each vendor to specify the Make of A.C. they propose to supply. 2. Common drain pipes of Cassette / Split A.C.'s be terminated in any toilet Nahni traps OR else be terminated from external wall up to ground. AC's with COPPER Condenser & Evaporator coils only to be suppled. 3. Pl. enclose Technical Brocher of quoted A.C.'s. 4. As built layout drawing of Refrigerant & Drain Piping has to be attached with Final Bill. |  |  |  |  |  |
| Daikin, Hitachi, . AC's with COPPER Condenser & Evaporator coils should only be supplied. Only one of these Makes to be quoted. Pl. enclose Tech. Brocher of the quoted Cassette/ Split A.C. |  |  |  |  |  |
| S.N. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |
| 1 | SITC Of wall mounted split Inverter type AC 0.8tr /1 Tr Ton 5 star.(AC MAKE of -VOLTAS DAIKIN,HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5 year warranty on compressor and ecofriendly green gas. ATM -2 NO. including Stand | No | 2.00 |  |  |
| 2 | High Wall Split Inverter AC 1.5 Ton 5 star rating | No | 4.00 |  |  |
|  | SITC Of wall mounted split Inverter type AC 1.5 Ton 5 star.(AC MAKE of -VOLTAS DAIKIN,HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5 year warranty on compressor and ecofriendly green gas including Stand |  |  |  |  |
| 3 | Rate for Extra Piping (Rate above 12 Feet pipe which will be free with unit)Ref.Piping(Only single distance will be measured between Indoor & Outdoor Units) |  |  |  |  |
| a | Copper Piping Refrigerant along with insulator Piping for Hi Wall 1.5 ton ,1 ton and 2 ton Ac 1/2 and 1/4 Soft Copper Refrigerant piping with complete fitting, elbows bends supporting arrangements Nissan, Merchant, MET tube, Totaline tube, pressure tested tube . | Rm | 10.00 |  |  |
| 4 | S.I.T.C. of 2X1.5sqmm core Copper conductor flexible cable between Indoor & Outdoor Unit through holes made as above | Rm | 30.00 |  |  |
| 5 | Drain Water Piping Constructed out of PVC Hard Pipes, fitting, accessories, bends, elbows, tees, hanger, support, anchors, ISI approved Finolex/Prince Make (32mm) | RMT | 25.00 |  |  |
| 6 | Frame Work Supply, Fabrication and installation Of MS base Frame for outdoor unit complete with epoxy painting vibration isolation pads, supports, hangers, railing brackets etc. with cage and lockningarrangment. (Thickness of bar - 10mm and min 30kg load capacity) | No | 6.00 |  |  |
| 7 | Providing & Installation of 4KVA voltage Stabilizers with range of 130 - 280V of standard make as per the approval of the Architect of (Inmag, Servel,Stambh) | No | 6.00 |  |  |
| 8 | timer for 2no. Ac in ATM with MCB breakers and wiring included | No. | 1.00 |  |  |
|  | Total |  |  |  |  |

|  | SUMMARYOFCOSTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A. | FURNISHINGWORKS |  |  |  |  |
| B. | FURNITURE&FIXTURE |  |  |  |  |
| C. | MISCELLANEOUSWORKS |  |  |  |  |
| D. | ELECTWIRING |  |  |  |  |
| E. | ELECTRICALFITTINGS&FIXTURES |  |  |  |  |
| F. | DATA-CABLINGWORKS |  |  |  |  |
| G. | AC WORKS |  |  |  |  |
|  | TOTAL |  |  |  |  |

| QuoteDiscount, NET TOTAL | ifany | = = | (-) | RS Rs |
| --- | --- | --- | --- | --- |
| ADD18%GST |  | = |  | Rs |
| TOTALWITHGST (Rupees |  | = |  | Rs. ) |

CONTRACTOR	INDIANBANK