ZONAL Office, Lucknow, 2nd Floor,

New Building, Hazaratganj,

Lucnow-226001

TENDER DOCUMENT AIR CONDITIONING SYSTEM ALONG WITH ASSOCIATED ACCESSORIESS FOR INDIAN BANK PREMISES AT IN EXISTING PREMISES OF INDIAN BANK–VRINDAVAN YOJANA SECTOR-16, DISTRICT–LUCKNOW

PART-II FINANCIAL BID

Ref. No:

Date	:

Name of   the contractor:

…………………………………………

…………………………………………

………………………………………….

| Last date of submission of tenders | 27.02.2026 up to 15.00Hrs. at Indian Bank, ZONAL Office, Lucknow, 2nd Floor, New Building, Hazaratganj, Lucknow-226001 |
| --- | --- |
| Date of opening Tender | 27.02.2026 up to 15.30 Hrs. at Indian Bank, ZONAL Office, Lucknow, 2nd Floor, New Building, Hazaratganj, Lucknow-226001 |
| Cost Of Tender | Free Of Cost. |

This part of the tender should be submitted in a separate envelope and financial bid shall be quoted only in this form and no other form will be accepted.

DETAILED SPECIFICATION FOR BILL OF QUANTITIES OF AIR-CONDITIONING WORK FOR

INDIAN BANK VRINDAVAN YOJANA BRANCH .

| ESTIMATE FOR AIR-CONDITIONING WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FOR INDIAN BANK, AT AT VRINDAVAN -LUCKNOW, BRANCH & ATM |  |  |  |  |  |
| Note; 1. Each vendor to specify the Make of A.C. they propose to supply. 2. Common drain pipes of Cassette / Split A.C.'s be terminated in any toilet Nahni traps OR else be terminated from external wall up to ground. AC's with COPPER Condenser & Evaporator coils only to be suppled. 3. Pl. enclose Technical Brocher of quoted A.C.'s. 4. As built layout drawing of Refrigerant & Drain Piping has to be attached with Final Bill. |  |  |  |  |  |
| Daikin, Hitachi, . AC's with COPPER Condenser & Evaporator coils should only be supplied. Only one of these Makes to be quoted. Pl. enclose Tech. Brocher of the quoted Cassette/ Split A.C. |  |  |  |  |  |
| S.N. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |
| 1 | SITC Of wall mounted split Inverter type AC 0.8tr /1 Ton 5 star. (AC MAKE of -VOLTAS DAIKIN, HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5-year warranty on compressor and ecofriendly green gas. ATM -2 NO. including Stand | No | 2.00 |  |  |
| 2 | High Wall Split Inverter AC 1.5 Ton 5 star rating | No | 4.00 |  |  |
|  | SITC Of wall mounted split Inverter type AC 1.5 Ton 5 star.(AC MAKE of -VOLTAS DAIKIN,HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5 year warranty on compressor and eco-friendly green gas including Stand |  |  |  |  |
| 3 | Rate for Extra Piping (Rate above 12 Feet pipe which will be free with unit)Ref.Piping(Only single distance will be measured between Indoor & Outdoor Units) |  |  |  |  |
| a | Copper Piping Refrigerant along with insulator Piping for Hi Wall 1.5 ton ,1 ton and 2 ton Ac 1/2 and 1/4 Soft Copper Refrigerant piping with complete fitting, elbows bends supporting arrangements Nissan, Merchant, MET tube, Totaline tube, pressure tested tube . | Rm | 80.00 |  |  |
| 4 | S.I.T.C. of 2X1.5sqmm core Copper conductor flexible cable between Indoor & Outdoor Unit through holes made as above | Rm | 80.00 |  |  |
| 5 | Drain Water Piping Constructed out of PVC Hard Pipes, fitting, accessories, bends, elbows, tees, hanger, support, anchors, ISI approved Finolex/Prince Make (32mm) | RMT | 50.00 |  |  |
| 6 | Frame Work Supply, Fabrication and installation Of MS base Frame for outdoor unit complete with epoxy painting vibration isolation pads, supports, hangers, railing brackets etc. with cage and lockning arrangement. (Thickness of bar - 10mm and min 30kg load capacity) | No | 6.00 |  |  |
| 7 | Providing & Installation of 4KVA voltage Stabilizers with range of 130 - 280V of standard make as per the approval of the Architect of (Inmag, Servel,Stambh) | No | 5.00 |  |  |
| 8 | timer for 2no. Ac in ATM with MCB breakers and wiring included | No. | 1.00 |  |  |
|  | Total |  |  |  | - |

GST Will be charged extra.