ZONAL Office, Lucknow, 2nd Floor,

New Building, Hazaratganj,

Lucnow-226001

TENDER DOCUMENT AIR CONDITIONING SYSTEM ALONGWITH ASSOCIATED ACCESSORIESS FOR INDIAN BANK PREMISES AT IN EXISTING PREMISES OF INDIAN BANK–MILKIPUR, DISTRICT–AYODHYA

PART-II FINANCIAL BID

Ref. No:  ZO/FUR/MILKIPUR

Date	:  04/12/2025

Name of   the contractor:

…………………………………………

…………………………………………

………………………………………….

| Last date of submission of tenders | 27.02.2026 up to 15.00Hrs. at Indian Bank, ZONAL Office, Lucknow, 2nd Floor, New Building, Hazaratganj, Lucknow-226001 |
| --- | --- |
| Date of opening Tender | 27.02.2026 upto 15.30 Hrs. at Indian Bank, ZONAL Office, Lucknow, 2nd Floor, New Building, Hazaratganj, Lucknow-226001 |
| Cost Of Tender | Free Of Cost. |

This part of the tender should be submitted in a separate envelope and financial bid shall be quoted only in this form and no other form will be accepted.

| DETAILED ESTIMATE / SPECIFICATION FOR BILL OF QUANTITIES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OF AC WORK FOR INDIAN BANK BRANCH MILKIPUR |  |  |  |  |  |
| S. No. | DESCRIPTION | QUNTITY. | UNIT | RATE | AMOUNT |
| 1 | S.I.T.C. of 5 Star 1.5 Ton capacity High wall mounted Split A.C. comprising Indoor & Out-door units. Indoor unit comprising Multi Row DX cooling coil, expansion valve, drier, motor driven air-blower with metallic frame etc. Out-door unit will have rotory/scroll compressor, condenser coil, & fan, Cordless remote control unit etc. including refrigerant gas charging. (inclusive of 3mtr copper & electrcial line) | 4 | no. |  |  |
| 2 | S.I.T.C. of 5 Star AC as per specifications given in item no 1 above But For 1.0T Split A.C.'s | 1 | No. |  |  |
| 3 | SITC of interconnecting refrigerant pipe work with closed cell elastomeric nitrile rubber tublar in sulation between each set of indoor & outdoor units as per specification, all piping inside the room shall be peoperly supported with MS hanger & clamps including cabling from indoor to outdoor unit. |  |  |  |  |
| (ii) | Split 1.5/1.0 TONE - INVERTER | 25.00 | Rmt |  |  |
| 4 | Providing & fixing, testing and commissioning of wall mounted copper wound voltage stabilizer suitable for split all accessories. Input Voltage range : 140-280 V, Output : 230 V (Make:- LIVEGAURD/ Blue- Birds & Reputed Firm .) |  |  |  |  |
| (i) | CAPACITY: 5 KVA | 0.00 | Nos |  |  |
| (ii) | CAPACITY: 4 KVA | 5.00 | Nos |  |  |
| 5 | SITC of rigid CPVC piping complete with fittings supports as per specification tions & duly insulated with 6mm thick closed cell nitrile rubber insulation. |  |  |  |  |
| (i) | Drain Pipe for 2.0 Tone AC (Cassette) | 0.00 | Rmt |  |  |
| (ii) | Drain Pipe for Split 2.0/1.5 TR (Split) | 25.00 | Rmt |  |  |
| 6 | M.S. stand with monkey cage - [ In door & out door units | 5.00 | No |  |  |
| Total |  |  |  |  | 0.00 |
| Note : GST will be extra. |  |  |  |  |  |

GST Will be charged extra.