Tender for renovation of Guest House at Nugget CHS for INDIAN BANK


INDIAN BANK

ZONAL OFFICE MUMBAI WEST

1st floor, B wing, 101 Neo Vikram CHSL, Sahakar Nagar, New Link Road, Andheri west, Mumbai - 400053
RENOVATION OF GUEST HOUSE AT NUGGET CHS
TENDER DOCUMENTS

NAME OF THE CONTRACTOR
:

ADDRESS 


: 

DATE OF SUBMISSION

: On or Before May 11, 2026 upto 3.00 p.m.

ARCHITECT

SANKALPA ASSOCIATES

ARCHITECTS & INTERIOR DESIGNERS

1001, ELEVEN HEIGHTS, SANT GORA KUMBHAR MARG, KUMBHARWADA, DHARAVI, MUMBAI 400017

INDIAN BANK

ZONAL OFFICE MUMBAI WEST

1st floor, B wing, 101 Neo Vikram CHSL, Sahakar Nagar, New Link Road, Andheri west, Mumbai - 400053

Ref . No.                                      







Date:

To,

Dear Sir,

TENDER NOTICE

Sub. :- Renovation of Guest House at Nugget CHS.

We hereby invite you to submit your quotation for above- mentioned work. The specifications, special conditions of contract and schedule of work to be carried out is enclosed herewith. You are requested to inspect the site and the nature of work prior to submitting the tenders. You are requested to submit your most competitive offer complete in all respect to reach THE DY. GENERAL MANAGER, INDIAN BANK, ZONAL OFFICE MUMBAI WEST, 1st floor, B wing, 101 Neo Vikram CHSL, Sahakar Nagar, New Link Road, Andheri west, Mumbai - 400053 by 3.00 p.m. on May 11, 2026 in a sealed cover with the name & address of your firm on the left-hand bottom corner.

The envelope should be accompanied by an Earnest money Deposit of 1% of the tender value by Crossed Order A/C. Payee Demand Draft, in favor of INDIAN BANK. A tender not accompanied by such Demand Draft as Earnest Money Deposit will not be considered. The Earnest Money Deposit of the unsuccessful tenderer will be returned without any interest within fifteen days from the date when the decision for award of work is taken by Bank.

This Earnest Money Deposit shall not bear any interest and shall be forfeited in the event of evasion, refusal or delay on the part of the tenderer to sign & execute the contract on acceptance of his tender. The EMD without any interest have be returned to the tenderer if his tender is not accepted.

The rates quoted will include and cover all cost, expenses, liabilities of very description and all risk of every kind to be taken in execution and handing over the work to the Bank. Rates quoted by contractor are inclusive of all taxes applicable and prevailing from time to time, which are leviable or any other levy imposed by Central Government or State Government or any Local Authorities, other than GST. Each page of the tender shall bear the signature of the bidder over his name stamp.

Bank reserves the right to accept or reject lowest or any other bid in full or in part and/ or accept any bid other than the lowest in full or in part without assigning any reason, whatsoever. No correspondence will be accepted / entered in this connection and Bank’s decision shall be final, conclusive and binding on all.

The following document forming a part of tender, are enclosed herewith.

1. Tender Notice

2. Introduction.

3. Special Instructions & conditions.

4. Letter of Offer.

5. Articles of agreement

6. Preamble to B.O.Q.

7. Mode of Measurement.

8. List of Approved Manufacturers for materials.

9. Bill of quantities.

10. Drawings

This tender notice shall form part of the contract and non- submission of tender in the above manner will render your offer liable for rejection.

Thanking you, 

Yours faithfully,

The Dy. General Manager

I N T R O D U C T I O N
1. NAME OF THE CLIENT


INDIAN BANK

OFFERING CONTRACT

2. ARCHITECT



SANKALPA ASSOCIATES

3. SITE ADDRESS



Renovation of Guest House at Nugget CHS
4. SCOPE OF WORK



RENOVATION WORK

5. a.  
Issue of tenders


throuh mail 

b. 
Submission of tenders

ON OR BEFORE May 11, 2026 UP TO 3.00 p.m.

AT INDIAN BANK

c.
date of Opening of
TENDERS
ON May 11, 2026 AT 3.30 p.m. OR DAY & TIME 







CONVINEINT TO BANK

6. TIME LIMIT FOR EXECUTION

30 DAYS

7. EARNEST MONEY DEPOSIT

1% of TENDER VALUE

8. INITIAL SECURITY DEPOSIT

2% OF ACCEPTED VALUE OF TENDER LESS EMD.

9. RETENTION MONEY 


8% OF EACH INTERIM BILL VALUE.

10. TOTAL S.D. INCLUDING I.S.D

10% OF COST OF WORK

       AND RETENTION MONEY 

11. DEFECT LIABILITY PERIOD

12 MONTHS FROM DATE OF COMPLETION OF WORK

12. INSURANCE



100% OF CONTRACT VALUE

13. PENALTY OF DELAY


1% OF THE CONTRACT SUM PER WEEK MAXIMUM 

AMOUNT OF LIQUIDATED DAMAGE WILL BE 10% OF COST OF WORK.

14. PAYMENT OF R.A. BILLS


VALUE OF 1ST RUNNING BILL SHALL NOT BE LESS THAN 

40% OF TOTAL CONTRACT AND REMAINING BILLS NOT LESS THAN 30% EACH

To,

THE DY. GENERAL MANAGER,

INDIAN BANK,

ZONAL OFFICE MUMBAI WEST,

1st floor, B wing, 101 Neo Vikram CHSL, 

Sahakar Nagar, New Link Road, 

Andheri west, Mumbai - 400053
Dear Sir,

LETTER OF OFFER

Sub.: - Renovation of Guest House at Nugget CHS.

With reference to the tenders regarding the above work invited by you, we have to state as under.

We declare that before quoting the rates, we have visited the site and our rates are as per present site condition, further we herewith deposit EMD (1% of Tender value) as Earnest Money for due execution of the works at my / our tendered rates as per the Terms of Contract. In the event of this tender being accepted, I / We agree to enter into and execute the necessary contract documents as required by you. 

D.D. No.:


Drawn on:

Dated:



Amount:

As required by you, I / We are returning herewith the documents (in single) duly signed by us at each page in token of our acceptance of the provisions in the documents.

We hereby after to execute and complete the whole of the works strictly in accordance with the said conditions of contract, special conditions of contracts, specifications and drawings at the rates set out against each of the items of work in the schedule of quantities. The total cost included in the above is Rs. 

(Rupees






only)

We have carefully read and clearly understood the conditions of contracts, special conditions of contract, and specifications. We agree to complete the work at the rate \ rates quoted by me \ us in the schedule of quantities and within the specified time from the date of work order awarding the work to us.

We understand the work is to be completed within scheduled time period.

Our rates are firm and include and cover all cost, expenses, liabilities of very description and all risk of every kind to be taken in execution and handing over the work to the Bank. Rates quoted are inclusive of all taxes applicable and prevailing from time to time, which are leviable or any other levy imposed by Central Government or State Government or any Local Authorities, other than GST.

Thanking you,

Yours faithfully, 

NAME

: _____________________________________

ADDRESS
: _____________________________________

  _____________________________________

  _____________________________________

  _____________________________________

TELE. NO.
: _____________________________________

FAX. NO.
: _____________________________________

MOBILE NO.
: _____________________________________

FORM OF AGREEMENT

THIS AGREEMENT made this    day of               , 2026 between INDIAN BANK (hereinafter called “The Bank”) of one part and 


of 


having registered office at 

(Hereinafter called “the Contractor”) of the other part.

WHEREAS the Bank is desirous of carrying out Renovation of Guest House at Nugget CHS (Hereinafter called “the Work”) and has caused drawings and Bills of Quantities showing and describing the work to be done to be prepared by or under the direction of Architect Shri S. P. Kshetramade of M/s. Sankalpa Associates AND WHEREAS the Contractor supplied the Bank with a fully priced copy of the said Bills of Quantities  (which copy hereinafter referred to as “the Contract Bills”)  AND WHEREAS the said drawings (hereinafter referred to at “the Contract Drawings”) and the Contract Bills have been signed by on or behalf of the parties hereto: AND WHEREAS the contractor has deposited the sum of Rupees 




Only with the Bank for due performance of this Agreement.

NOW IT IS HEREBY AGREED AS FOLLOWS

1. For the consideration hereinafter mentioned the contractor will upon and subject to the conditions annexed carry out and complete the work shown upon the contract Drawings and described by or referred to in the Contract Bill and in said conditions.

2. The Bank will pay the Contractor the sum of Rupees 


(hereinafter referred to as “the Contract Sum”) of such other sum as shall become payable hereunder at the times and in the manner specified in the said conditions.

3. The term “the Architect” in the said conditions shall mean M/s. Sankalpa Associates or in the event of his death or ceasing to be the Architect for the purpose of this contract or such other person as the Bank shall nominate for that purpose, not being a person to whom the contractor shall object for reasons considered to be sufficient by, mentioned in the said conditions. Provided always that no person subsequently appointed to be the Architect under this Contract shall be entitled to disregard or overrule and certificate or opinion or decision or approval or instruction given or expressed by the Architect for the time being.

4. Tender documents containing Notice to the Contractors, Conditions of Contract, Appendix thereto, Special Conditions of contract, Specifications, Schedule of Quantities with the rates entered therein shall be read and studied as forming part of this agreement, and the parties hereto shall respectively abide by and submit themselves to the conditions, stipulations and perform the agreements on their parts respectively in such conditions contained.

5. Time shall be considered as of the essence of this Agreement and the Contractor hereby agrees to commence the work soon after the site is handed over to him as provided for in the said conditions and to complete the entire work within 30 Days from date of commencement of work, nevertheless to the provisions of extension of time.

6. This agreement and Contract shall be deemed to  have been made in and any question or dispute arising out of or in any way connected with this agreement and contract shall be deemed to have arisen in and only the courts in Bombay shall have jurisdiction on to determine the same.

AS WITNESS the hands of the said parties.

Signed by the said

In the presence of








BANK   

Witness

Name:

Address:

Signed by the said

In the presence of 







CONTRACTOR                 

Witness

Name:

Address:

TENDER FORM

The general Terms and Conditions that are more particularly set out herein below for the purpose of appointing contractors for the purpose of carrying out Renovation of Guest House at Nugget CHS of INDIAN BANK and other ancillary activities which is herein after referred to as “the said work”. The definition and interpretation of the certain classes are more particularly set out hereunder.

DEFINITIONS:-

1. “THE SAID WORK” includes all items of Renovation of Guest House at Nugget CHS of INDIAN BANK with bill of quantities, general terms & conditions / special conditions / technical conditions.

2. The “BANK” shall mean the “INDIAN BANK” having its registered address at ZONAL OFFICE MUMBAI WEST, 1st floor, B wing, 101 Neo Vikram CHSL, Sahakar Nagar, New Link Road, Andheri west, Mumbai - 400053 and authorized representative(s) of the BANK to discharge all or any of its function.

3. The “CONTRACTOR” shall mean the individual or firm or Company, whether incorporated or not who is assigned the subject work, and shall include the personnel representative/ (s) of such individual person, firm or company of such individuals or firm or Company, successors and permitted assigns. The work contractor shall include “Sub-Contractor” if expressly permitted by the Bank in writing.
4. The “ARCHITECT / CONSULTANT” means the authorized person or persons nominated by the BANK for the purpose of the contract, who shall inspect, direct, Supervise, measure and issue certificates in respect of the said work and be in charge of the work for the purpose of this contract. It also includes any person claiming through or under them.
5. The “CONTRACT” means instructions to Contractor, Tender, the written acceptance thereof, a form agreement between ‘BANK’ and ‘CONTRACTOR’ (where completed) to execute the works as per conditions and specifications set in this document including Bill of Quantities.
6. The “SPECIFICATION” means specification referred to includes General, Special and Technical specifications (with drawings if any) and any modification thereof or addition thereof as many from time be furnished or approved in writing by the Consultant / Bank.
7. The “CONTRACT PRICE” means the sum named in the tender subject to additions or deductions there from as the case may be.
8. The “PLANT & EQUIPMENT” of the contractor shall mean all plants, machinery, equipment, pipe work services and all other things to be provided, erected, commissioned and maintained in accordance with Contract.
ELIGIBILITY FOR TENDERING & GENERAL CONDITIONS OF CONTRACT

1. The tender must be submitted in a sealed cover superscribed with the tender number, the name of the work as given above and the tenderers name & address on the bottom left side of the envelope and handed over to the BANK. Tenders will be received upto 3.00 p.m. on May 11, 2026.

2. The tenderer should visit the site and acquaint himself with the site conditions and should study all the tender documents carefully and understand the tender contract conditions, specifications etc. before quoting. If there are any doubts they should get clarification in writing.

3. Late tenders i.e. tenders submitted / received after 3.00 p.m. on May 11, 2026 will not be considered.

4. The tender documents are non-transferable.

5. All the entries in the tender documents must be made in English and all entries must be by hand and written ink. If any of the documents is missing or unsigned, the tender may be considered invalid by the BANK in its discretion.

6. The tenderer should quote the rate and amount for the assessed quantities (area) of each item. The rates for each item should be written both in figures as well as in words. Erasures, alteration, and overwriting must be avoided. Wrong figures and words, if any, should be scored out and the correct figures and words neatly written authenticated by the signature of the tenderer. No advice of any change in rates or conditions after opening the tender will be entertained.

7. In the event of any discrepancy in the rates quoted in words and figures, the former shall be prevail. Mathematical computation error, if any, in the amount shall however be rectified.  

8. The Bank has assumed that Contractor is fully aware of all items of work. Some items of work will be done simultaneously and some items will be done in sequence and different operations in different times. 

9. The Contractor is responsible for the due and proper execution of all the works, terms and conditions stipulated under this contract. Before offering his tender, Contractors should visit the site of works to ascertain the nature of work and to collect all relevant information such as general, local, physical & climatic conditions of the site, availability, handling and storage of materials, water, electricity, availability of labour, roads, the configuration of the ground. Any failure on the part of the Contractor in this regard shall not absolve him from any responsibilities or obligations under this contract and no claim whatsoever on account of these shall be entertained.

10. On receipt of intimation from the BANK for the acceptance of his/ their Tender, the successful Tenderer shall be bound to implement the Contract and within ten days thereof, the successful Tenderer shall sign an agreement if called upon to do so, but the written acceptance by BANK of a Tender will constitute a binding contract between BANK and the person so tendering, whether such formal agreement is or is not subsequently executed.

11. The tenderer should note that unless otherwise stated, the Tender is strictly on item rate basis and his attention is drawn to the fact that rates for such a every item should be correct, workable and self –supporting. The quantities in the Schedule of Quantities approximately indicated the total extent of work, but may vary and even be omitted thus altering the aggregate value of the Contract. No claim for any compensation shall be entertained in this regard.

12.  The tenderer must obtain all the information which may be necessary for the purpose of tendering for himself, on his own responsibility and at his own expenses and for entering into a Contract must inspect the Site of the work and all matters pertaining thereto, regarding supplying, fabricating and erecting at Site without any damage to the existing property of the Client’s or their neighbors, if any.

13. INDIAN BANK does not bind itself to accept the lowest or any tender and reserves to itself the right to accept or reject any or all the tenders either in whole or in part, without assigning any reasons for doing so. INDIAN BANK also reserves the right to divide the work between two or more tenderers and the successful tenderers shall have to carry out even part orders for various items at quoted rates. No variation in rates shall be allowed on this account under any circumstances, whatsoever no correspondence will be accepted / entertained in this connection and Bank decision shall be final conclusive and binding on all.

14. The rates shall be firm and shall not be subject to exchange variations, labour conditions, fluctuations in Railway Freights or any conditions whatsoever. 

15. The rates quoted by the tenderer in the schedule of quantities will be deemed to be for the finished work and shall include all charges for:

i. Design, Fabrication, supply and installation at Site, Labour, maintenance, fixing, arranging, cleaning, making good, hauling etc.

ii. Plant, double, scaffolding, frame work, ladders, ropes, nails, spikes, tools, materials, workmen, protection from weather, temporary support, platform, and maintenance of the Same. Insurance for labour materials and third party.

iii. All taxes applicable and prevailing from time to time, which are leviable or any other levy imposed by Central Government or State Government or any Local Authorities, other than GST.

iv. Packing, transportation, loading and unloading, freight charges, transit

v. Covering for the walling and other works during inclement weather or strikes or whenever Directed, as necessary.

vi. All temporary canvas, lights, tarpaulin, barricade, water shoots etc.

vii. All measures required to be taken for protection of existing works.

viii. All such temporary weather-proof sheds at such places and in a manner approved by the Architect for the storage and protection of materials against the effects of sun and rain.

ix. Testing of materials.

x. No tools and plants shall be issued by the Bank under the Contract. 

16. All the payments of bills for the work shall be done only from Fort Branch after sanction from ZONAL OFFICE MUMBAI WEST, INDIAN BANK.

17. For any clarification in  any  item  of  work,  The  contractor  should  get  the   same  from  the  interior  designer  before  carrying  the  work  and  all  items  of  work  should  be  carried  out  with  the  approval  of  the  Bank.

EARNEST MONEY DEPOSIT/ SECURITY DEPOSIT/ MOBILIZATION ADVANCE

1. The tenderer is required to deposit towards Earnest money in the form of a Demand Draft drawn in favour of “INDIAN BANK” and submit the Demand Draft along with the tender. Tenders unaccompanied by the requisite Earnest Money Deposit will be summarily rejected.

2. EMD of the selected contractor / Tenderer will be retained as part of the Security Deposit required for due and satisfactory fulfillment of the contract in terms of the conditions of contract but shall be forfeited, if the Contractor / tenderer fails to execute the agreement or start the work within 15 days of receipt of acceptance letter or if he withdraws his bid within the period of validity of the bid (90 days). EMD of the unsuccessful tenderers shall be returned.

3. The Contractor shall pay Security Deposit @ 10% for the Contracted amount towards the security deposit after adjusting the EMD shall be recovered in full from the first “on account “ bill.

4. 50 % of the retention amount shall be refunded to the contractor on virtual completion subject to the following:

i. Issue of Virtual completion Certificate by the Premises Department.

ii. Contractor’s removal of his surplus materials, equipment, labour force, temporary sheds /stores etc. from the site. (excepting for a small presence required  if  any  for  rectification  during  defect  liability  period and approved by the BANK).

5. The remaining 50% of the amount may be refunded 14 (fourteen) days after the end of defects liability period provided he has satisfactorily carried out all the works and rectified all defects in accordance with the condition of the contract, including site clearance.

6. Defects liability period: Defects pointed out during the defects liability period of 12 (Twelve) months from the date of virtual completion of work, will be satisfactorily rectified by the contractor at no extra cost to the Bank with end satisfaction.

7. No interest shall be payable on the EMD/SD amount.

8. No payment will be made towards mobilization Advance.

VALIDITY OF TENDER BID

1. The tender rates shall remain valid for a period of 90 days from the date for receipt of tender.

2. The tendered Rates shall remain firm during the contract period and no price escalation shall be  permitted,

BANK’S RIGHT OF ACCEPTANCE OF BIDS

The BANK does not bind itself to accept the lowest or any tender and reserves to itself the right to accept or reject any or all the tenders either in whole or in part, without assigning any reasons for doing so. BANK also reserves the right to divide the work between two or more tenderers and the successful tenderers shall have to carry out even part orders for various items at quoted rates. No variation in rates shall be allowed on this account under any circumstances, whatsoever no correspondence will be accepted / entertained in this connection and BANK’s decision shall be final conclusive and binding on all.

BID, QUANTITIES / MEASUREMENTS

1. Price bid shall be quoted for all the items described in the schedule of quantities. Price quotation for part items of the schedule shall not be accepted and such tender shall be summarily rejected.

2. No payment shall be made for the personal visit for assessing the quantities/ measurements for the preparation of the tender bid.

3. Quantities / measurements for which the bid for various item is submitted shall be given precisely in the schedule of Quantities, These quantities and measurements shall be based on the basic of personal assessment and physical verification at site.

4. The Contractor shall calculate realistic quantities after receipt of drawings and after submitting first interim bill but before submitting the second interim bill to Bank.

5. Any work done at factory will not be counted in the running accounts bill until the material is brought on site.

6. Excess quantity shall not be executed without written permission from Bank. In case of upward or downward revision in quantities of items, the rate quoted by the Contractor shall remain firm at all the times.

7. The contractor  shall  take  joint  measurements  with  the  Architect/Bank  representative  before  covering  up  or  otherwise  placing  beyond  the  reach  of  measurement  any  item  of  work  should  the  contractor  neglect  to  do  so,  the  same  shall  be  uncovered  at  contractor’s  expense  or  in  default  thereof,  no  payment  or  allowance  shall  be  made  for  such  work  or  the  materials  with  which  the  same,  was  executed.

8. In case of  any  class  of  work  over  which  there  is  no  specification  mentioned,  the  same  shall  be  carried  out  in  accordance  with  the  latest  Indian  Standard  Specifications  subject  to  the  approval  of  the  Architect / Bank.

DIMENSIONS:

1. Figured dimension are to be followed in all cases, Large scale details take precedence over small scale drawings, In general the drawings shall indicate the dimensions positions and type of construction, the specification shall indicate the qualities and methods, and the bill of quantities shall indicate the quantum and rate for each item of work.

2. Any work indicated in the drawings and not mentioned in the specifications or vice-versa shall be furnished as though fully set forth in both. Any ambiguity, conflict of interpretation, errors or inconsistencies discovered in the drawings / documents  shall  be  promptly  brought  to  the  provisions  giving  more  rigorous  interpretation  shall  prevail  but  in  the  event  of  disagreement  between  the  contractors  and  the  supervisors,  decision  of  interior  Designer  shall  be  final  Incase  of  any  discrepancy,  the  contractor  is  to  ask  for  an  explanation  before  proceeding  with  the  work.  However specifications will prevail over the drawings.

OBSERVANCE/ COMPLIANCE OF LABOR LAWS AND OTHER STATUTORY PROVISIONS FOR THE CONTRACT

1. The contractor shall, in the execution of the contract, be responsible to comply with all the labor laws  & statutory provision governing the work, such as, but not limited to, the following Laws or any other act or enactment relating thereto and rules as amended up to date.

a. Contract labor (Regulation & Abolition) Act. 1970. The Contractor shall submit a copy of the license obtained under this act along with the bid.

b. Employees State Insurance Act for Security and Insurance of staff/ workers.

c. Payment of Wages Act.

d. Minimum wages Act, 1948.

e. Workmen’s Compensation Act.

f. Industrial Disputes Act.

g. Bank’s Liability Act

The Contractor shall abide by and adhere to all labour laws, PF, ESIC, etc. The Contractor shall work only on and during hours of working day unless he obtains prior approval of the Architect / Bank. The Contractor will observe and abide by the rules and regulations of the public Authorities regarding overtime, night working and any particular rule regarding nuisance to the residence that may result there from.

2. The works to be carried out under the contract shall, except as otherwise provided in theses conditions, include all labor, supervision, materials, tools, tackles, plants, equipment, transport, lead/ lift of materials etc. as may be required for execution and completion of the works.

3. The materials used for the work shall be of prescribed quality / standard and the work executed according to the prescribed specification. Materials and mix not being of the specified standard / specification shall be rejected at the cost of the contractor.

4. After completion of work all accumulate debris, dirt etc shall be removed and disposed away from the BANK premises by the contractor at his expense and no payment shall be done / made for that.

5. Doors, Windows, Staircases and passages shall be cleaned / washed by the contractor as part of the contract work without any additional payment.

6. The debris shall be removed from the site every three days.

7. The contractor shall clean the site everyday before the closure of work.

8. No additional work is to be carried out by the contractor unless instructed by the BANK through Architect. The contractor will have to carry out the item of work with prior permission from BANK and as per instruction from Architect which may not have been specified in tender but necessary for completion of job. 

9. Any extra item of work carried out other than specified in tender will be paid by the BANK as per the actual expenses and 15% for overheads and profit certified by Architect.

INCOME TAX

1. The bidder shall indicate his Income Tax PAN/GIR Number.

2. Income Tax at applicable rates of the amount of each payment shall be deducted and deposited with the Government as per Current Statutory provision if applicable. On completion of the work, a certificate for the Income Tax deducted at source given to the contractor.

DOCUMENTS TO BE COMPLEMENTARY
All sections of contract document and working drawings shall be complementary to each other.  In case of ambiguities, discrepancies or contradictions between any two sections.  Bank / Architect’s decision shall be final and binding on the contractor for interpretation of same.

COMPLETION PERIOD 

Time is the essence of the contract and the contractor is required to complete the entire work to the satisfaction of the Bank in 30 days from the date of commencement of work.

Program work and progress reports

The successful contractor will have to submit a detailed bar-Chart indicating the schedule of various activities from the date of commencement till completion and get the same approved by Architect. Contractor shall strictly adhere to the same. This program shall form part of contract and shall be binding on the contractor. However, the BANK reserves the right to alter the Program, if necessary, from time to time, No claim whatsoever of any nature by the Contractor on this account shall be entertained by BANK. They shall also have to write their requirements about co-ordination from other agencies working at site.

WATER & ELECTRICITY REQUIREMENT

1. The Contractor will be permitted to draw and use water from BANK’s U/W Tank and O/W Tank. He will not claim any compensation for late, intermittent and no supply of water. At the time of shortfall, the Contractor will arrange water without any extra cost. The Contractor has to arrange ‘Sintex’ tanks of adequate capacity to store water and pumps and pipes for distribution of water from tanks to work place free of charge. The site for storage and distribution of water will be decided by the Bank / Bank. 

2. The Contractor will be provided Electricity at one point by the BANK free of cost, only most convenient to the Bank. He will also ensure that all safety measures are adhered to at his costs. The Contractor will not make any wastage of this facility nor will claim any compensation for late or intermittent supply for electricity. Cost of power shall be born by the BANK. Any accidents, mishaps, etc. due to fault and negligence of Contractor’s workmen, the Contractor will be responsible and indemnifies and keep indemnified the members of the managing and repair committee and the BANK.

DELAY IN COMPLETION OF WORK

1. Liquidated damages per week will be 1% of the contract value inclusive of non-completion of work in time including Sundays and holidays per week, subject to maximum of 10% of contract value. The Bank may without prejudice to any other mode of recovery deduct the amount of such damages from any moneys in his hands due or which may become due to the Contractor. The payment or deduction of such damages shall not relieve the Contractor of his obligations and liabilities of this contract.

2. If in the opinion of the Bank / Architect, the works gets delayed due to causes which the Bank may consider being beyond the control of the contractor, the Bank at the completion of the time allowed for the contract shall make fair and reasonable extension of time for completion in respect there of. For extension of time for completion, the contractor has to apply in writing with detail reasons.

PAYMENT SCHEDULE

1. Total value of work is Rs.                        including transportation, loading, unloading, Octoi charges etc. and nothing extra will be paid on any account. In the event of variation in the Quantity / Area, the payment shall be made on the basis of the actual Quantity / Area at the quoted Rate.

2. Bill in Triplicate duly Certified by Architect shall be submitted to Bank after satisfactory completion of the work. Payments to the contractor shall be made within 15 days of submission of each “on account” bill. Bill submitted by the contractor must contain item wise quantity of work done in a manner that verification of work done can be done. The quantities for which the bills are submitted shall be subject to physical verification before payment.                                  

3. In the event of variation in the Quantity / Area, the payment shall be made on the basis of the actual Quantity / Area at the quoted Rate.

4. No interest will be given for late payments.

5. All payments to the Contractor shall be made subject to deduction of taxes at source at the rate applicable.

6. Final payment, except Security Deposit (which is to be released only after the defect liability period including observing the performance of water proofing during the rainy season) shall be made within 30 days from the submission of the final bill after verification of the completion of the work. No further claim except the security Deposit after the submission of the FINAL BILL shall be accepted.  

7. For final payment, the Contractor will submit details of all items, payments received for works and materials, any claim and net balance due which Architect/ Bank will check, make any adjustments if any, will receive ‘No Claim’ from the Contractor and pay and settle the same if any.

8. The Contractor will submit original certificate for payment of Works Contract Tax in respect of the Bank / Bank or else the same will be deducted from his bills.

9. The decision of the Architect and repair committee for payment or for any extra work to be made or any deduction to be made from the whole cost of the work or any other matter whatsoever relating to the contract shall be final and binding to all parties.

10. The Contractor shall be liable to pay Rs. 500/- per day as penalty in the event of default for any reason whatsoever in the removal of debris and / or materials and / or tools and / or plants and / or equipment within 7 days from the written instructions given to contractor to do so till such removal takes place. The Bank may without prejudice to any other mode of recovery deduct the amount of such damages from any moneys in his hands due or which may become due to the Contractor. The payment or deduction of such damages shall not relieve the Contractor of his obligations and liabilities of this contract.

SUBLETTING

The selected contractor shall not sub-contract the work to any other individual, Agency or firm.

DEFECTS IN WORK

1. Any defects / deficiency pointed out by the BANK’s authorized person(s) shall be removed / rectified to his / their satisfaction, otherwise payment for such items(s) shall not be passed till the defect/ discrepancy is removed / rectified by the contractor.

2. The Architect shall have the power to withhold any certificate of work and/ or part thereof not being carried out to his satisfaction and he can make the necessary corrections in previous certificate in any subsequent certificates.

3. In case the Contractors are disobeying Architect/ Bank, they may get bad work replaced in the manner the Architect think fit at the cost and consequences of the Contractor.

4. The Architect/ Bank shall have the right to alter, omit and abandon any part of work without invalidating the contract. If any work is over and above that included into the Contract and is required to be executed at site, the Architect/ Bank has power either to delegate this work to Contractor as an extra item or to any outside Contractor, as the case may be.

SECURITY OF WORKS / MATERIALS / STORES ETC OF THE CONTRACTOR AND BANK’S PROPERTY

1. The Contractor shall be responsible to make safety arrangements at his own cost for his materials / stores, storages, etc. All such stores shall be cleared away and the ground left in good and proper order on completion of this contract unless otherwise expressly mentioned therein.

2. The Bank will provide the contractor open space for storing the cement. The area has to be maintained by the Contractor during the period of work. He can construct a temporary shed and he alone will be responsible for his materials.

3. All stores and materials brought to the site shall become and remain the property of the Bank and shall not remove from the site without prior written approval of the Bank. When the work is finally completed or the contract is determined for reason other than default of the Contractor, he shall forthwith remove the same from site.

4. All tools, plant and equipment brought to site by the Contractor shall not be removed from the site without prior written approval of the Bank. When the work is finally completed or the Contract is determined for reason other than default of the Contractor, the Contractor with prior written permission of the Bank shall forthwith remove the same from site all tools, plant and equipment.

5. For any damage / injury to the BANK’s property or to any member of the BANK or to the members property on account of any unsafe practices adopted or by any un-prudential action by the Contractor or by his men, the contractor shall be responsible. BANK reserves the right for recovering proper remedy / compensation for the same from the contractor.

6. Contractor should indemnify and keep indemnified the Bank against any legalities arising out of labour rules, local authorities rules etc. during the execution of work and any losses and claims for injuries or damage to any person or any property and should take third  party insurance in the joint name of Bank and contractor.

7. The Contractor shall ensure protection to the Banks, flat Banks, occupiers of the Bank, other properties near site and to the public in general. The approach is kept free at any time.

8. The contractor must take all measures and precautions to prevent death / injury to his own labors or any other person and shall take THIRD PARTY (Public Liability) Insurance Policy in the joint name of BANK and contractor at his own expenses. This will be comprehensive and all risks covered to safeguard all men, materials and property during and on account of the execution of work under this contract and will submit certified copy to employee.

a. All Risk Policy with accidental cover to neighboring property due to work of contractor’s workmen.

b. Workmen’s Compensation Policy.

c. Automobile Third Party Insurance with unskilled third party liability of his vehicles or his suppliers or debris removal vehicles, etc. damaging any cars, etc. while bringing, removing materials, etc.

9. The contractor shall, if required by Architect / bank, arrange to test materials and  / or portion of the work at his own cost in order to prove their soundness and efficiency. If after any such test, the material or portion of work is found, in the opinion of the Architect and Bank to be defective or is found, in the opinion of the Architect and Bank to be defective or unsound, the contractor shall pull down and re-erect the same at his own cost. Samples of materials and workmanship shall be submitted by the contractor for the approval of the Architect / bank before procurement and execution.

10. Contractor shall submit written performance guarantee from the manufactures of all bought out items.

11. The Contractor shall submit original copies of invoices, order forms for any materials purchased for project work, to the Bank / Architect if called for.

CONTRACTOR’S SUPERVISION

1. The Contractor shall give and provide all necessary superintendence during the execution of work and as long after as Architect / Bank may consider necessary for proper fulfilling of Contractor’s obligations under the contract. The Contractor shall himself supervise the execution of contract and shall appoint a full time competent agent (site engineer / supervisor) approved by the Architect / Bank to act on his behalf and to be present all throughout at site. The Contractor shall further employ engineers and assistants to the above to supervise the work in sufficient numbers to the satisfaction of Architect / Bank. These engineers must be completely authorized by the Contractor to represent him and to receive and execute order and instructions by the Architect / Bank as if Contractor himself is present. The Contractor shall visit the site daily and shall have minimum once a week, or more as the case many be, joint meeting with the Architect & Bank on a day fixed jointly by the Architect and the Bank.

2. The Contractor shall provide and employ on site in connection with the execution and maintenance of the works:

a) Only such assistance’s as are skilled and experienced in their respective fields and qualified and such agents, foreman and leading hands as are competent to give proper supervision to the work.

b) Such skilled, semi-skilled and unskilled labour as is necessary for the proper and timely execution and maintenance of the work.

c) The contractor shall employ a whole time qualified and competent supervisor for the work, whose name shall be notified and who shall interface with the BANK’s representative(s) for the ongoing contract work.

3. The Architect / Bank shall be at liberty to object any Contractor man / men, employed by him, for misconduct or is incompetent or negligent in the proper performance of his duties or whose employment is otherwise considered by the Architect / Bank to be undesirable to work within the premises of BANK. Any person so removed from the works shall be replaced immediately by a competent substitute.

INSURANCE
The contractor shall obtain adequate insurance cover at his own cost for work against any loss or damages as well as workman compensation and third party risk, until the date of virtual completion of the work, The insurance cover shall be in joint names of the Bank and the contractor, is to be deposited with the Bank within 7 (twenty one) days from the date of issue of work order.

OCCUPATION OF PARTIALLY COMPLETED PORTION BY THE BANK
The Bank shall be entitled to and will be at liberty to occupy even the partially completed portion of the work by themselves or through their agents and servants if they so desire.  Necessary extension of time for completing the work shall have no claim for any compensation whatsoever due to the delay, if any involved in completing the work on account of partial occupation.

MOCK UP
The Contractor shall prepare a mock-up of items, if required, strictly in accordance with the specification, free of cost, for approval of Architect and Bank. The work on these items shall proceed further only after the approval of the mock-up.

UNSCHEDULED ITEMS OF WORK

1. Work should be carried out strictly as per the standard specifications given in Tender document and the directions of the Engineer Workmanship / Work of substandard nature will not be accepted and paid for.

2. Any work carried out as per specifications and found defective in opinion of architect / consulting engineer shall be demolished are replaced by new work by contractor to the satisfaction of architect / consulting engineer.

3. If change in any item or additional work is to be carried out while executing the job by the contractor will be executed with prior consent from the Bank and as per instruction from Architect which may not have been specified in tender but necessary for completion of job. 

4. In case of any dispute the decision of Bank will be final and binding on the contractor.

5. The Contractor shall comply with all acts and regulations for the successful completion of the contract works and shall give due notice and pay all fees / taxes etc. as per statutory requirements.

6. No additional work is to be carried out by the contractor unless instructed by the Bank through  Architect.

7. All materials to be delivered at site.  If the material used for the work is not in conformity with the specifications, the same shall be replaced at your cost.  All the material required for the above work shall be arranged by the contractor at his own cost.

8. Selection of material to be done in consultation with the Bank’s representative / Engineer. The Contractor shall, if required by Architect/Bank, arrange to test materials and / or portion of the work at his own cost in order to prove their soundness and efficiency. If after any such test, the material or portion of work  found, in the opinion of the Architect and Bank to be defective or is found, in the opinion of the Architect and Bank to be defective or is found, in the opinion of the Architect and Bank to be defective or unsound, the Contractor shall pull down and re-erect the same at his own cost. Samples of materials and workmanship shall be submitted by the contractor for the Approval of the Architect / Bank before procurement and execution.

9. Rules for varied/deviated or extra items to be worked out on the rates quoted in the Tender for the similar items. Wherever it is not possible to base the rates for varied/ deviated or extra items on Tender quoted rates then the rate analysis is to be submitted by the contractor will include the actual cost of material, Taxes, Transportation if any, Miscellaneous expenses, Labour, Wastage of materials, 15% towards contractors overheads and profit.

10. Bank will provide free Electricity and Water for the execution of work. However the Contractor shall make his own arrangement to draw the power and water from source as decided by Bank.

11. While executing the work the contractors have to ensure that no inconvenience whatsoever is caused to the offices / people functioning in the premises.

12. On completion of the work the contractor shall clear away and remove from the site all constructional plant, surplus materials, rubbish and temporary works of every kind and leave whole of the site and the works clean and in a workman like condition to the satisfaction of client. No extra payment will be made for this purpose.  After completion of work all accumulated debris, dirt etc shall be removed and disposed away from the Bank premises by the contractor at his expense. The Contractor shall take due care while disposing of such waste materials and ensure that any rules / regulations laid down by Municipal Corporation or any other statutory body are not violated. The Contractor shall be responsible and answerable to any complaint arising out of improper disposal of waste material. 

13. Doors, Windows, Staircases and passages shall be cleaned / washed by the contractor as part of the contract work without any additional payment. The contractor shall clean the site everyday before the closure of work.

14. Adequate number of fire extinguishers, first aid boxes, must be provided on the site by the contractor.

15. Any item work which is not specified in the schedule and which is not capable of assessment by sight (visual) inspection and which becomes known only after the contract work has commenced, such as broken/ leaky pipes, cracks in walls, seepage. Percolating through the walls, beams / pillars etc shall be, on joint inspection, by the BANK and Contractor, assessed for quantum and the rate decided on mutual consultation.

VARIATIONS

1. The Architect/ Bank shall make any variations of the form, quality or quantity of the works or of any part thereof that may in their opinion be necessary and for that purpose or for any other reason it be necessary, the Contractor shall do any of the following :

a] Increase / decrease/ omit any work

b] Change, character, quality, level, lines, position, dimensions etc.

c] Execute additional work of any kind as may be necessary for completion of the work.

2. And no such variation shall in any way vitiate or invalidate the contract but the extension of proportionate time limit, if any, for all such variations shall be taken in to account.

3. The Contractor shall make no such variations without an order in writing by Architect / Bank.

CANCELLATION OF THE CONTRACT OR PART OR FULL ON CONTRACTOR’S DEFAULT:

If the Contractor shall at any time:

a) Become bankrupt or insolvent.

b) Make an arrangement without assignment in favour of his creditors or agree to carry out the contract under the committee of Inspection of his creditors.

c) Being an individual / partner / company or corporation go in to liquidation.

d) Have action levied on his goods or property on the works.

e) Assign the contract or any part thereof otherwise than as provided in the general condition of the Contract.

f) Abandon the Contract.

g) Persistently disagree the instructions of the Architect / Bank and or contravene any provisions of the contract including general accepted principles of working.

h) Stopping the work under flimsy excuse with threatening attitude or showing discourtesy to members so the majority members wish this.

In that case, the Bank may determine and terminate the contract after giving due notice and time to the Contractor. The Bank shall be entitled after giving due notice in writing for removal of the Contractor from whole or any portion of work, without avoiding the Contract or releasing the Contractor from any of his obligation or liabilities under the Contract and adopt any or several of the following measures:

I. Rescind the Contract, in which case the security deposit of the Contractor shall stand forfeited to the Bank without prejudice to Bank’s right to recover any amount from Contractor, 

II. Carry out the work or any part thereof by employing other agency and required labour and materials and debiting on Contractor’s account.

III. Measure up the work executed by the Contractor and to get the remaining work completed by another contractor at the risks and expenses of the Contractor. In the event of any several of the courses referred above being adopted.

IV. Upon non-completion of the work, upon use of sub standard quality, upon non co-operation, upon a deadlock on a particular issue between the Bank/ Bank and the Contractor / Architect.

a. The contractor shall have no claim for compensation for any loss sustained by him by any reason for material purchased by him, tools, machinery, labor to retain the same in further execution of the work for wear, tear and destruction caused by his negligence.

b. The Bank shall be entitled to take possession of any materials, tools, machinery, equipment which was on site, as if those are the property of Bank to carry out the balance work, In this case Contractor is not entitled for any compensation for use and employment of the same. 

ARBITRATION CLAUSE

All disputes or differences of any kind whatsoever which shall at any time arise between the parties hereto touching of concerning the work or the execution or maintenance thereof of this contract or the right touching of concerning the works or the execution or maintenance thereof of this contract or the construction, remaining operation or effect thereof or to the rights or liabilities of the parties or arising out of or in relation thereto whether during or after determination, foreclosure or Branch of the Contract (other than those in respect of which the decision of any person is by the contract expressed to be final and binding) shall after written notice by either party to the contract to the other of them and to the Appointing Authority who shall be appointed for this purpose by the Bank, be referred for adjudication to a sole arbitrator to be appointed as hereinafter provided.

For the purpose of appointing the sole Arbitrator referred to above, the Appointing Authority will send within thirty days of receipt by him of the written notice aforesaid to the Contractor, a panel of three names of persons who shall be presently unconnected with the organization for which the work is executed.

The contractor shall on receipt by him of the names as aforesaid, select any of the persons named to be appointed as a sole Arbitrator and communicate his name to the Appointing Authority within thirty days of receipt by him of the names. The Appointing Authority shall thereupon without any delay appoint the said person as a sole Arbitrator, if the contractor fails to communicate such selection as provided above within the period specified, the Appointing Authority shall make the selection and appoint the selected person as the sole Arbitrator.

If the Appointing Authority fails to send to the Contractor the panel of three names as aforesaid within the period specified, the Contractor shall send to the Appointing Authority  a panel of three names of persons who shall  all be unconnected with either party. The Appointing Authority shall on receipt by him of the names as aforesaid selected any one of the persons named and appoint him as the sole Arbitrator. If the appointing authority fails to select the person and appoint him as the sole Arbitrator within thirty days of receipt by him of the panel and inform the contractor accordingly, the contractor shall be entitled to appoint one of the persons from the panel as the sole Arbitrator and communicate his name to the Appointing Authority.

If the Arbitrator so appointed is unable or unwilling to act or resigns his appointment or vacates his office due any reason whatsoever another sole Arbitrator shall be appointed as aforesaid.

The work under the contract shall, however, continue during the arbitration proceeding and no payment due or payable to the contractor shall be withheld on account of such proceedings.

The Arbitrator shall be deemed to have entered on the reference on the date he issues notice to both the parties fixing the date of the first hearing.

The Arbitrator may from time to time, with the consent of the parties, enlarge the time for making and published the award.

The Arbitrator shall give a separate award in respect of each dispute or difference referred to him. The Arbitrator shall decide each dispute in accordance with the terms of the contract and give a reasoned award. The venue of arbitration shall be such place as may be fixed by the arbitrator in his sole discretion.

The fees, if any, of the arbitrator shall, if required to be paid before the award is made and published, be paid half and half by each of the parties. The cost of the reference and of the award including the Fees, if any of the Arbitrator who may direct to and by whom and in what manner such costs or any part thereof shall be paid and may fix or settle the amount of costs to be so paid.

The award of the Arbitrator shall be final and binding on both the parties.

Subject to aforesaid, the Provisions of the Arbitration Act, 1996 or any statutory modification or re-enactment thereof and the rules made there-under, and for the time being in force, shall apply to the arbitration proceeding under this clause.

I / We hereby declare that I/We have read and understood the above conditions for the guidance of Tenderers.

Seal :                                                                                                             Signature of the Contractor

Place :                                                                                                           Address :      

SPECIAL CONDITIONS OF CONTRACTS

1. All materials, tools, plants and equipment to be used for construction, shall be brought and stored on BANK premises by the Contractor in a manner directed in specifications for construction materials at his own cost and risk including his own security arrangement without causing hindrance to occupants.

2. All due precautions shall be taken by the Contractor to prevent damage including that of window panes, as a result of Contractor's action will have to be made good by the Contractor at his own expense.

3. a) All debris resulting from breaking work shall be carefully lowered on specially constructed platforms preferably in specially provided chutes and suitable screens and hoppers shall be provided to ensure that as far as possible no debris flies or rebounds from the building and / or scaffolding. Under no circumstances shall debris be thrown down on the ground or footpath.

b) The Contractor shall regularly remove all waste and debris from the site. Dumping of debris temporarily on the premises shall be strictly in location allotted for the purpose and nowhere else. Every day after working hour’s sweepers must clean the site.

4. The Contractor will provide at his own expense necessary sheds, passages, special covering, platforms to be constructed in front of main entrance, BANK office, staff toilet, and also netting, kantans, etc. in area of common passage at the work site.

5. Proper cordoning off shall be maintained at all times to ensure that no children or unauthorized persons enter the work area.

6. The Contractor shall bear in mind that he have to carry out part of work inside the premises of the occupants and he will take extreme care not to damage inside Branch.

7. The contractor shall provide at his own cost necessary sanitary and drinking water facilities for his workers more about in area of site only and they commit no nuisance.

8. When a contractor is selected, if Architect/ Bank find any anomaly in rates of some specific items, the Contractor shall furnish explanation and rate analysis.

9. Rates quoted by the Contractor shall include all terminal taxes, octroi duties, central or state excise duties, import duties, sales tax and any other taxes leviable under the state or central government or public rules. No claim whatsoever shall be entertained in respect of escalation in prices of materials, labour etc. except change in taxes announced by Municipal or Government bodies subsequently. Rates quoted also include work Contract Tax. M.W. Tax, extra water charges, all liaison work with Municipal Authorities for Building Department, Water Department, Pest Control etc. including specific bills of water charges and sewage charges raised by BMC towards the repair works under taken including all out of pocket expenses. The Contractor at his costs and expenses shall obtain all permission from BMC,  etc.

10. The contract shall not be deemed to be duly completed until maintenance certificate have been issued by the Architect recording that the works have been completed and maintained to his satisfaction and will be issued after defect liability period is over and after ascertaining the views of the repair committee.

11. The Contractor is responsible for the execution of all works, which is more particularly set out as per terms and conditions of the Agreement. The Contractor is well aware about the dangers and hazards for the completion of the said work. It is the Contractor who would be responsible in the event of breakage of glass of windows, etc. of the BANK and Contractor will take all precaution of BANK’s property so as not to damage them.

12. The Contractor shall, at his own expense supply all the stores and materials required for the contract. All the materials to be supplied by the Contractor shall be of the best of kinds, and only of ISI standard. The Contractor shall furnish necessary proof to the satisfaction of the Architect / Bank that the material complies with specifications as described in the Technical specifications. The Contractor shall, at his own expense and without delay, supply samples of materials proposed to be used in the execution of the work for the approval of the Architect / Bank, who may reject all materials not corresponding either in quality or in character with the approved samples. The Contractor is made aware that there will be no basic rate for all construction materials.

13. The Contractor shall not enter on or take possession of the site unless permitted to do so by the Bank. The portion of the site to be occupied by the Contractor will be clearly defined and indicated by the Bank and the Contractor will on no account be allowed to extend his operation beyond these areas. Then on completion, completely clean the areas of works against his final completion of work done in that area.

14. The Contractor shall suspend the execution of the work of any part/s thereof, wherever called upon in writing by the Bank / Architect to do so and shall not resume work thereon until so directed in writing by the authority. The Contractor shall also suspend the execution of work or any part thereof under notice of court, Government or Municipal Corporation unless the Architect / Bank instructs otherwise in writing. The Contractor will be allowed an extension of time for completion equal to period of suspension and no claim otherwise will be considered for payment. Time may also be extended to allow for alterations of work or deviation from the contract if it is felt reasonable by Architect / Bank.

15. If Bank has permitted the contractor to house his workers on site in specified areas, during progress of work he will erect temporary structures of the approved standards and scales for his workers and maintain at his own expenses. The Contractor should demolish / remove temporary structures before the main work comes to an end and clear the site. This facility is not incorporated in contract and will be exclusively at the discretion of the Bank and the Bank can stop this facility in the middle of work and Contractor cannot claim anything whatsoever for taking away this facility any time. If this facility is granted, he shall be responsible for giving all necessary notices of infection and contagious disease of his workers and instantly remove such cases from site. The Contractor shall obtain all necessary permission from municipality, government, etc. at his own costs.

16. It is hereby clarified that within the guarantee period of the entire work the Bank / Bank observes any hitches or lacunas or damage caused to the flat and / or common area and / or the BANK’s property, the Architect / Contractor shall be communicated regarding the same. The Architect / Bank would visit the premises and give their comments in respect of the same. The rectification of the damaged area is the sole prerogative and responsibility of the Contractor who is to rectify the said damage at his costs, etc. within the decided time frame as mutually decided between the parties. In the event of failure of the Contractor to rectify such error the Bank / Bank shall have the full liberty to deduct the amount of loss at cost from the balance amount due end payable to the Contractor.

17. The Contractor shall clean and level up the premises and open spaces in and around building to the satisfaction of the Bank at regular intervals and after completion of work. If he fails to their satisfaction, the same shall be carried out by the Bank at Contractor’s risk, cost and consequences and work will be treated as incomplete.

18. It is hereby clarified that the Employees / Workers who would be assigned the work and who would be temporarily lodged in the premises of the Bank shall have no access whatsoever in the building after the completion of the work for the particular days. The workers shall not enter the building for the purpose of taking water or for any other Private jobs that would be given by the flat Banks during the subsistence of the work assigned.

TECHNICAL SPECIFICATIONS

CARPENTARY AND FINISHING WORK

1. GENERAL :

1.1 These specifications are for work to be done, item to be supplied and materials to be used in the works as shown and defined on the drawings and described herein, to the satisfaction of the banks/architects.

1.2 The workmanship is to be the best possible and of a high standard. The contractor shall take all steps immediately to make up deficiency if any by the banks / architects. Use must be made of special tradesman in all aspects of the work and allowance must be made in the rates for the same.

1.3 The materials to be provided by the contractor shall be in accordance with the samples already got approved from the banks/architects by the contractor and in conformity with specifications and approved list called upon to do so by the banks / architects.

1.4 Samples of all materials are to be submitted to the banks / architects for their approval before the contractor orders of deliver the material to the site. Samples together with their packing are to be provided free of charge by the contractor and should any materials be rejected they will be removed from the site at the contractor’s expense. All samples will be required to submit specimen finishes of colors, fabrics etc. for the approval of the banks / architects before proceeding with the work.

1.5 The contractor shall be responsible for providing and maintaining temporary overages required for the protection of finished work. He is also to clean out all wood shavings, cut ends and other waste from all parts of the works before coverings or infillings are constructed.

1.6 The contractor shall maintain uniform quality and consistency in workmanship throughout the execution of the work.

2.0 Joinery in woodwork

2.1 The contract surfaces between internal frame and the cover material shall be glued with approved adhesive in addition to fixing with necessary screws etc.

2.2 After preparing proper surface of the cover material by sand-papering etc. the laminates or veneers shall be fixed on it with the help of approved adhesive

2.3 Framework for full height partition shall be rigidly fixed to the floor, walls and ceiling soffit. The partition height shall be measured up to bottom of false ceiling and framing members / ply going above shall not be measured, except hwre specifically mentioned.

2.4 Any portions that are warped or found with other defects are to be placed. The whole of the work is to be framed and finished in a workman like manner in accordance with the detailed drawings and the direction of banks/architects and 

2.5 whenever required, fitted with all necessary metal ties, straps, screws, adhesives, etc. joinery work generally to be finished with fine sand / glass paper.

2.6 All joints shall be standard mortise and tenon, dowel, dovetail and cross halved. Screws, nails etc. will be of standard iron or wire of oxidized nettle fold, tenons should fit the mortises exactly. Where screws show on a finished surface, those will be sunk and the hole plugged with a wood plug of the same wood and grain of the finished surfaces will be neatly punched and hole filled with woodfiller to match the colour. The contact surface of dowel, tenons wedges etc. shall be glued with an approved adhesive.

2.7 Nailed or glued butt joined will not be permitted.

2.8 Where screw heads are on a finished surface, those will be sunk and hole plugged with a wood plug of the same wood and grain to match the color.

3.0 TIMBER

3.1 All wood for internal framework shall be strictly as specified in the tender document under approved list of material. The wood shall be of natural growth and free from worm holes, loose or dead knots or other defects, sawn square and shall not suffer warping, splitting or other defects. 

All other exposed wood shall be properly seasoned of natural growth and shall be free from worm holes, loose or dead knots or other defects, sawn square and shall not suffer warping, splitting or other defects.

3.2 The moisture content shall not exceed 12%

3.3 All Internal framework shall be treated with approved wood preservatives.

3.4 All wood brought to site shall be clean, it shall not have any preservative or other coating / covering.

3.5 All rejected, decayed, bad quality wood shall be immediately removed from site, as may be directed.

3.6 All the dimensions mentioned for T.W. members are finished size.

3.7 All woods should be properly seasoned of natural growth and free from worm holes, loose or dead knots or other defects and shall not suffer warping, splitting or other defects. All internal framework shall be treated with approved wood preservative.

4.0 PLYWOOD

All plywood shall be strictly as per approved list of material and approved by bank/architect. The plywood shall have ISI mark and relevant registration no. on the product.

Plywood should be used after applying white anti termite liquid. Nails or screws fixed in the plywood should be equally spaced. The plywood sides wherever they are visible should be covered withy the beading patti. Too many joints in furniture pieces will not be considered. Rough finished sides while fitting the fixtures like locks, hinges etc. will not be considered. The contractor will have to make punctures of cutouts as required by electrical or any other contractor, for which no separate payment will be made by the Bank or by the respective contractor. All contractors will work in team of good spirit and in good faith. Certain details shall be modified as per the site adjustments.

5.0 Hardware and Metals:

5.1 All the screws / bolts with nuts to be used shall have oxidized finish (unless required otherwise). Of approved shape, size and quality.

5.2 Fittings shall be of brass or brass oxidized unless specified otherwise.

5.3 Samples of all hardware are required to be got approved in advance.

5.4 The agency should cover up and protect the brass surface by suitable material as necessary and subsequently clean it away at the time of handling over.

5.5 All hardware shall be fitted with good workmanship without the surrounding edges being damaged. 

5.6 The hardware throughout shall be of approved manufacturer. The screw should match the finish of the article to be fixed and to be round or flat headed or counter sunk as required.

6.0 Laminate :

6.1 All laminates on table tops, shall be as specified in tender of approved shade and make.

6.2 The contractor shall get the sample showing the surface texture, pattern and color approved by Banks/Architects.

6.3 All edges, beadings, etc. shall also be finished in laminate.

6.4 No scratches or patches on laminates shall be considered.

7.0 Fabrication in Metal

7.1 All brazing and welds are to be executed in a clean and smooth manner, rubbed down and finished in flat and tidiest way, particularly where exposed.

8.0 Glazier

8.1 All glass is to be of approved manufacture, and as per approved quality and sample to be of the qualities specified and free from bubbles, air holes, waviness and other defects.

8.2 In cutting glass, proper allowance shall be made for expansion.

8.3 Glass for mirror shall be approved manufacture and quality.

8.4 On completion, all glasses surfaces shall be cleaned inside and all cracked, scratched glass/mirror shall be replaced.

8.5 Sun control film shall be non-reflective type pf approved make and shade. The fixing shall be without any defects such as air bubbles/creases/adhesive marks etc.

8.6 All glasses should be of approved manufacturer and free from bubbles, smoke, air-holes and other such defects. While cutting glass, proper allowance be made for expansion. All cracked, scratched and broken pane should be replaced.

9.0 Paint and polishes 

9.1 All material required for the work shall be of approved manufacture, delivered to the site in the manufacturer’s containers with the seals etc. unbroken and after use empty containers shall be stored till finally cleared by the banks.

9.2 All iron or steel/metal surfaces shall be thoroughly scraped and rubbed down with wire brushes and shall be entirely free from rust, mill scale etc. Before applying the primary cost.

9.3 Melamine polish/French polish/polyurethene finishes shall be properly finished without any flaw marks, spots, roughness etc.

10.0   Metal frame suspended gyp board ceiling: 

10.1 Unless otherwise specified the suspended false ceiling shall have following specifications i.e. providing and fixing G.I. perimeter channels of size 0.55 mm size thick having one flange of 20 mm and another flange of 30 mm and a web of 27 mm along with perimeter of ceiling, screw fixed to brick wall/partition with the help of nylon sleeves and screws, at 610 mm centers. Then suspending G.I. intermediate channels of size 45 mm, 0.9 mm, thick with two flanges of 15 mm each from the soffit at 1220 mm centers with ceiling angle of width 25mmx10mmx0.55mm thick fixed to soffit with G.I. cleat and steel fasteners. Ceiling section of 0.55 mm thickness having knurled web of 51.5 mm and two flanges of 26mm each with lips of 10.5mm are then fixed to the intermediate channel at 457mm centers. 12.5mm tapered edge Gyp board (conforming to IS-2095-1982) is then screw fixed to ceiling section with 25mm drywall screws at 230mm centers. Screw fixing is done mechanically either with screw-driver and drilling machine with suitable attachment. Finally the boards are to be joined and finished so as to have a flush lock which includes filling and finishing the tapered and square edges of the boards with joining compound, paper tape and two coats of primer suitable for Gyp board (as per recommended practices of India Gypsum or equivalent)
10.2 For light fittings, grids diffusers and cutouts etc. have to be made with the frame of perimeter channels of size 20mmx27mmx30mmx0.55mm thick, supported and shall not be considered for extra changes.
ELECTRICAL WORK

Power Panels:

The Power panels shall be fabricated from MS sheet steel 16 gauge and shall be of compartmental design. The main supporting framework shall be of angle iron or of heavier gauge sheet metal. The panel shall be self-supporting design, dust and vermin proof, dead front and fully inter locked with isolating switches. The panel-mounted switches shall have Interlock defeat for testing and inspection.

The panel shall be designed so as to facilitate inspection, cleaning and repairs. The clearance between phase to phase and phase to earth or metal parts shall be as per relevant IS standards. The metering instruments like volt meter, ammeter etc. shall be flush mounted and shall be of 1.0 class accuracy and of standard design size shall be 96 mm x 96. All  indication lamps shall be of neon type.

The panel shall have separate cable ally and a bus bar chamber. The bus bars shall be rigid hard drawn tinned electrolytic copper & sleeved with heat shrinkable sleeves. The current density shall not exceed 1.25 amp per sq. mm. and the neutral bus shall be rated for capacity of phase bus unless otherwise stated in schedule of quantities/drawings. However, the minimum size of bars shall be 25mm x 3mm.

The panel shall be powder coated comprising of degreasing and de-scaling in sulphuric acid etc. with synthetic enamel paint for smooth finish. The color of paint shall be battle-ship Grey or as directed. The Panel shall be tested at site before commissioning. The Panel drawings shall be got first approved from Consultants before taking up for fabrication.

All wiring inside the panel shall be done with switchboard copper conductors/cables soild copper links. The insulators for supporting the Bus-Bars shall be epoxy based cast resin. All hinged doors shall be earthed with flexible braided copper earth. An earth bus of copper shall be fixed along the length of the panel at the lower section. Adequate ventilation for the panel shall be provided. Logic diagram of operation of switches shall be painted on the panel. The name plates for each feeders shall be of engraved design and pasted to the respective switch gear. The letters shall not be less than 10mm  size for individual feeders and not less than 18mm for the main feeders. All switchgear to be mounted in the panel shall be as per schedule of quantities.  

Switch Fuse Units :

Switch Fuse Units shall be of sheet metal or iron clad with HRC fuses as described in schedule of quantities. The unit shall be of robust construction of standard specified make. design to withstand adverse working conditions. It shall have quick break type mechanism with ON and OFF position indicators of the operating handle. The switch shall be interlocked so that the unit cannot be opened in ON condition. The interior shall be so arranged that clearance from live parts are adequate and shrouded. Manufacture’s instructions shall be followed for installation of switch fuse units. The switch shall be solidly earthed. The switch shall be mounted on walls on angle iron support grouted to wall. The supports shall be treated for rust treatment & painted with 2 coats of synthetic  enamel paint. The height of the switch board shall be such that it is accessible for operation & maintenance.

Cables : 

Cables shall confirm to IS 1554-1976. Cable shall be heavy duty, armoured, PVC insulated & PVC sheathed 1.1 MV grade aluminum or copper. Cable shall be fixed with G.I. spacers & saddles at an interval of 45 cms and on every side of bends. The bending radii of cables shall be as per manufacturers instructions and in no case it shall be less than 12 times the overall diameter of the cable. Cable shall be so installed that they are not subject to mechanical damage. If there is a bend in the cable enclosed in a conduit, care has to be taken to prevent undue compression of insulation. This applies also to the top of vertical runs of longer than 5 meters where there could be compression caused by the weight of unsupported vertical cables. Cables may rest without fixing in horizontal runs or ducts or trunkings. The cables run in cable trays shall be permitted unless the cables exceed the standard drum length. Joints if so necessary shall be located in accessible position. Termination of the cables shall be done with heavy duty copper/Aluminum lugs and brass cable glands.

Cables laid under ground shall be to a minimum depth of 750 mm. It shall be ensured that cables laid underground are free of water lines, sewage lines etc. The trenches shall be at least 30 cm wide & filled with 10 cms thick of layer of dry sand on which the cable shall be laid. Further, 10 cms thick sand layershall be put on the cable over which a brick layer shall be kept. The trench shall than be back filled with soft earth, rammed and consolidated to original level. Cable route indicators shall be laid at intervals of 20 metres and at all change in directions. For cables laid on walls aluminum tags shall be fixed showing the size of the cable and the feeder number of the cable. These tags shall be at each ends and at least one or two places at intermediate positions. The mode of measurement of the cables shall be as follows :

i. For top entry of the cable, the measurement shall be taken up to the bottom of the switch-gear.

ii. For bottom entry of the cable, the measurement shall be taken up to the top of that switch board. No wastage shall be allowed for measurements.

Distribution Boards :

1. These shall be of sheet metal and of standard design with copper bus bars. The board shall be fixed at accessible heights. The boards shall be solidly fixed to walls/partitions, concealed of open as directed. All connections inside the distribution board shall be neatly arranged and tied with PVC strings. The MCB’s shall be of 9 KA for fault level. The distribution board shall be suitably earthed. Legend shall be written on D.B. & Circuits.

2. The Distribution Board circuitry shall be as per the schematic/given in Drawing.

3. The Sheet steel used for fabrication shall be of CRCA of 14/16 SWG. The Board shall be suitable for wall mounting. It shall be totally enclosed, Dust Proof & vermin proof. The fabrication shall be as per relevant is Specifications  for degree of protection by enclosure for low voltage switch-gear IP 52. The Equipment such as MCB, ELCB, Insulators, Bus-Bars shall be as per relevant is specification with latest amendments.

4. The Sheet steel shall be smoothly finished, leveled and free from flaws. All doors, removable covers shall be Gasketed all round the perimeter.

5. The Service Voltage is 440 volts & Busbar will be Electrolytic copper. The copper busbar shall be tinned through out the length.

6. The door interlock shall be provided so that it shall not be possible to open the door with breaker in close position.

7. Enough space shall be provided for termination. The minimum two earth terminals shall be provided for each D. B. The Board shall be factory wired with proper ferruling.

8. Adequate shrouds shall be provided for avoiding accidental contact with Live Terminals, Busbar etc.

9. The Conduit knockout shall be provided for Conduit Entry.

10. The guaranteed technical particulars shall be provided for the MCB & ELCB etc.

11. The engraved black anodised labels shall be provided on all feeders.

12. All Steel works shall undergo a process of degreasing, pickling in acid bath, phosphating.

13. This shall be followed by two coats of primer and two coats of final finish paint, both applied with spray. The colour shall be light battleship gray.

14. The distribution board shall have hinged door.

15. The busbar supports shall be non hygroscopic, anti tracking material.

Point Wiring 

(a) Metal Conduits:

1. All conduit pipes shall confirm to IS 9537 PART-II 1981. Metal conduits shall be ERW black enameled 20mm/25mm as the case may be depending upon the number of wires permitted. The conduits shall be fixed to walls/ceiling with M.S. saddles and spacers at an interval of 1 meter and on either side of bends.

2. All conduit accessories shall be 15 gauge & bends shall be of inspection type. All bends, couplers, threaded portions etc. shall be painted with anti-corrosive paint. Bends in the pipes shall be done with bending hickeys.

3. All pipes shall be cleaned for sharp burrs. Switch boxes shall be of G.I. 16 G/14G. The switch boxes shall be concealed as per site requirement & as per Architect’s/Consultant’s Instructions. Point shall be controlled with 5A switch or directly from DB as specified in schedule of quantities. Where plate type switches are not specified the switch-board shall have 3mm thick hylum sheet on which switches shall be mounted.

4. While laying the conduits in the slab before casting the slab, all drops shall be laid accurately to fall in position of the switchboard. Junction boxes shall be sand filled. All joints shall be airtight. Conduits shall be fastened to the re-enforcement properly so that the conduits do not get dislocated while casting the slab. All conduits shall have 18 swg  fish wire.  

5. The conduit shall be of 16 guage unto 32mm dia and 14 guage above 32mm dia. reputed and approved make conforming is specification.Conduit shall be Heavy guage rigid PVC with All accessories/fittings including ordinary & inspection tees; bushings, reducers, junction boxes, terminal boxes, saddles and steel supporting materials shall be of the same as of the conduit. The contractor shall have dies for threading of conduit.

6. The conduit shall run along walls, ceiling, flooring in accordance with layout drawings.

7. The conduit shall be field bend as far as possible with reasonable long radius. The conduit bends shall be free from cracks, other damage to the pipe or its coating and shall not have pipe section unduly flatten..

8. The conduit joint shall provide the structural rigidity and low electrical resistance. 

9. All open conduit ends shall have bushings and all threads shall be cleaned and well painted with coating or red lead & oil. All burrs shall be smoothened and cleaned.

10. The conduit shall be supported with saddles at regular interval of 1000mm. The saddles shall be fixed with Rawal plugs and M. S. screws of 3mm size.

11. The No. of wires through a given diameter of conduit shall be as per is specification.

12. When two length of conduit are joined together through a coupling, running threads equal to the full length of the coupling shall be provided on any one length. Conduit length exceeding 8 meter length shall be provided with junction boxes.

13. Conduit & accessories shall be securely fixed before any operation like concrete pouring plastering etc. The conduit shall be fixed by clips which shall not cause deformation of conduits. The conduit fixing shall be at regular intervals not exceeding 1.5 meter. At the bends the fixing shall be secured by fixing clips at 150mm. All the supporting holes are to be drilled by electric drill machine.

(b) Pvc Conduits:

The PVC Conduits shall confirm to latest IS standards and shall be of medium gauge. The conduits shall be joined with PVC adhesive at joints. The Conduits shall be fixed to walls/ceilings with GI, Spaces and Saddles at an interval of 60 cms & on either side of bends. The number of wires drawn in the conduits shall be as per table 1. The point wiring shall be controlled as in (a) above. The wiring shall be done with 2nos. of 1.5 sq.mm (Phase & Neutral). & 2.5 sq. mm. (earth) PVC insulated, copper conductors, multi stranded and color coded with green as earth and black neutral. The circuit wiring shall be with 3 nos. of 2.5 sq. mm. PVC insulated, copper conductors, multi stranded from distribution board to switch board and the rate shall be included in the point wiring unless otherwise stated in schedule of quantities. All other details shall be as for metal conduits.

(c) Casing Capping/Trunk And Trunkling :

PVC casing shall be fixed, wooden partitions by means of screws spaced not more than 60 cms apart. Holes for fixing the PVC capping shall be done by drilling machine only and these holes shall be plugged with PVC plugs or grips to which the screws shall be fastened.  No less than I inch PVC casing shall be used. All bends, tees, joints etc. shall be done in workman like manner with standard accessories. The number of wires in PVC casing capping shall be limited to a fill factor of not more than 60%. The point shall be controlled by 5 amp switch. The switch boards shall either be flush mounted with partitions or surface mounted or concealed mounted as per site requirements and as directed. The wiring shall be carried out as described in (a) and (b) above.

This wiring shall not be done for concealed wiring & wiring over the false ceiling work.

Circuit Wiring

1. The Circuit wiring shall comprise of laying PVC conduit from lighting distribution board to the first switch board & pulling of wires within the conduits with 2.5 Sq.mm copper wire, PVC insulated, 100v grade wire.

2. The scope includes all materials & labour with Installation. It also includes making proper connection in the Distribution board & switch board.

3. In case of group control directly from Distribution Board, the primary point shall be from D.B. to the first point and secondary point and from first point to the next point looped. The point shall terminate into the 3 plate-ceiling rose.

Switch Board

The lighting switch board boxes shall be MS/ zinc passivated with 16 guage made suitably for controlling group of light/fixture or light control as indicated in the drawing. The switch board boxes shall be suitably in the office area as concealed type. All the switch boxes shall be provide with removable cover with proper provision of Plate/Piano type switches.

Wiring Methods 

1. The wire pulling in conduits shall be in accordance with standard practices.  All the wires in a particular section by conduit shall be bunched together and pulled at a time.

2. The wires used shall be colour coded with Red wires for R phase, Yellow wire for Y phase, Blue wire for B phase Black wire for neutral and Green wire for each continuity conductor.

3. All the wires shall be purchased directly form the manufacturers and approved by the consultant.

4. All the wire shall be insulated with adequate thickness of extruded PVC.

5. All wires shall be of 1100v grade conforming to is 694 with latest amendment.

6. All the wire ends shall be ferruled with colour codes & numbers. 

7. All the circuits shall be identified at both ends of the circuit.

8. A maximum of 3 lights to be switched on one switch of  5A.

9. The wiring shall be carried out with multi stranded PVC insulated copper wires of 1.5 sq. mm. 2Nos (Phase & Neutral) & 2.5 sq.mm. (Earth). In all cases the earth shall be of green color and neutral shall be black color. All wires used shall be of 660 V grade. The point wiring shall be inclusive of circuit wiring from Distribution Board to the switch-board unless otherwise stated in schedule of quantities. The circuit wiring shall be with 3 nos. of 2.5 sq.mm PVC insulated multi stranded copper conductors color coded as detailed above. The rate shall also be inclusive of any chasing as directed by the Architects/Consultant/Client’s Engineer to conceal the drops and finishing the same.

5a/15 Amps. Switch Socket Outlet Wiring

1. The Point wiring for 15 A Switch socket outlet includes running of 3 x 4.0 sq.mm PVC insulated stranded copper wire through conduit from the distribution panel board to the individual S/S/O 

2. Two nos of 15 A S/S/O are to be looped in and controlled by MCB of 20 Amps in the distribution board at each floor. The circuit length shall not exceed a length of 70 meters.

3. All the wires for the S/S/O shall be pulled through separate conduit system (not to be mixed with light 5 Amps S/S/O etc.)

5 Amps Switch Socket Outlet

1. The point wiring for 5 Amps switch socket outlet includes running of 3 x 2.5 sq.mm copper conductor, PVC insulated, 1100v grade wires in PVC conduit from the light distribution board to the Individual socket.

2. A maximum of 6/8 Nos. socket are to be looped in & controlled by MCB in the lighting distribution board. The circuit length shall not exceed 75 meters.

15/5 A Switch Socket Outlet

1. It shall be of approved make conforming to latest is standards. The three-pin socket shall be provided with safety shutter to prevent accidental contact with live parts.

2. The box for socket outlet shall be suitable for concealed/surface mounting and should be supplied by the Manufacturer with the switch & socket unit. 

20 Amps Point Wiring

1. The 20 A SP MCB with Reyrolle socket is to be provided including running of 3 x 4.0 sq.mm PVC insulated stranded copper wire through PVC conduit from distribution board to the individual switch.

2. One switch is to be provided in one circuit and controlled by one MCB of 20 Amp in the distribution board at each floor.

3. All the wires for the switches shall be pulled through separate conduit system ( not to be mixed light, 5 A S/S/O  etc.)

Telephone Points

1. Telephone Points shall include supply & installation of 25mm diameter PVC conduit & Accessories along with 2 pair/4 Core wire from Tag Block to Individual Point along with the Conduit. The Telephone wire shall be of oelton make or of approved sample.

2. The Conduit shall be laid concealed in slab/wall/beam column etc., from the Telephone Box to the Individual Telephone socket outlet Point as market in the Drawing.

3. In case of provision for further point for Telephone G.I. Pull wires shall be laid inside the entire length of conduit.

4. The Telephone Tag Block of M.S. shall also be provided by the Contractor including latest Type of Terminal strip cover extra as per MTNL approved list.

Earh Pits / Station

The earthing station shall be done as per  IS 3043  (1981) and  as  per drawing no. E1.  The earth pit shall  be atleast  2.5 mtrs

deep  with  GI  plate electrode shall  be hot dipped of  600mm x 600mm x 6mm thick. The size for copper  electrode shall be 600 x 600 x 3mm thk.  An alternate layer of salt  and  charcoal  shall be filled up to  200 mm above the top  of  the  electrode.The  electrode shall be connected with   25mm x 6 mm thick GI Flat which shall be terminated with nuts and bolts into brick masonry chamber on  top.  The brick  masonry chamber shall be of size 300mm x 300mm x 300mm  deep  which  will carrythe  finneling  arrangement  for watering.  A  GI  Flat of  25mm x 3 mm from brick  masonry  chamber  to  the switch gear inside the switch room shall be laid under ground and / or fixed to walls and the rate for this shall be paid as a separate item.

Installation Of Electric Fittings

All electrical fittings shall be fixed with down rods or on round blocks as stated in schedule of quantities. The down rods shall be 20 mm dia and 1.6 mm wall thickness of ERW black enameled MS. The down rods shall be fixed with ball and socket joints check nuts etc. Special fixtures like spot lights etc. shall be fixed to the false ceilings as per manufacturer’s recommendations. The fittings shall be connected with 3 core 0.5 sq. mm. flexible copper cord / cable from ceiling rose and suitable earthed. 

Testing Of Electrical Insulation

The following tests shall be carried out after completion of the electrical insulation work.

1) Insulation Resistance Test.

2) Polarity Test of Switches.

3) Earth Continuity Test.

1) Insulation Resistance Test : The insulation resistance shall be measured by applying between earth and whole system of conductors or any section thereof with all fuses in place and all switches closed (except in earthed concentric wiring) all lamps in position and both  poles electrically connected  together.,  or direct current pressure of not less than twice the working pressure, provided that it need not exceed   500 volts for   medium voltage circuits, be applied.  Where the supply is derived from  3  wire  DC  or  Poly phase  A.C. System, the neutral pole of which is connected to the earth either direct or  through added resistance,  the  working  pressure shall be deemed to be that which is maintained  between the phase  conductor and the neutral.  The insulation resistance measured in mega ohms between all conductors connected to one pole of phase conductor of the supply and all the other conductor and switches in off position it’s value shall be not less than as specified below:

The insulation resistance measured in mega ohms shall not be less than  50  mega ohms divided by the number of outlets  or when  PVC insulated cables are used for  wiring ,  12.5  mega ohms divided  by the outlet subject to a minimum value of  1 mega ohm.

A preliminary and similar test may be made before lamps etc. are installed and in this event the insulation resistance to earth shall not be less than 100 mega ohms divided by the number of outlets or when PVC insulated cables are used 25 mega ohms divided by the number of outlets subject to a minimum of 1 mega ohm.

2) Polarity Test  of  Switches :  In a  2 wire system a test shall be made to verify that all switches in every circuit  are fitted in the same conductor  through  out and such conductors  shall be labelled or marked  for connection to the phase conductor  or to the non earthed conductor of supply.

In a 3 wire or 4 wire insulation a test shall be made to verify that every non linked single pole switch is fitted in a conductor which is labelled or marked to one of the phase conductor of supply.

3) Earth Continuity Test :  The  Earth  Continuity  Conductor  including metal conduits and  metallic  envelopes  of cables  in  all  cases shall be tested  for electric continuity   and electrical resistance of the same along with the earthing  lead  but  excluding any  added  resistance  or  earth  leakage  circuit  breaker  measured  from  connection with earth  electrode to any  point  in  the earth  continuity  conductor  in the  completed  insulated  shall  not  exceed  1  ohm.
LIST OF  APPROVED  MANUFACTURES / SUPPLIERS  OF  MATERIALS

MATERIALS



APPROVED MANUFACTURERS / SUPPLIERS

1. Plywood
- Marine



: Century, Green, Anchor

- Commercial


: Century, Green, Anchor

2. Soft & Accoustic Boards


: Jolly Boards (Insulex), Sitapur Boards (Sitatex) Phenol

3. Veneer (Natural) 4mm Thk.


: Anchor, Kitply, India Plywood Mfg. Co.

4. Hard Board




: Jolly Boards (Insulex), Sitapur Boards(Sitatex), Anchor 

5. Door Closer




: Everite, Tahilsons      

6. P.V.C. Tiles




: Karara    

7. Synthetic Enamel Paint


: ICI, Asian

8. Plastic Emulsion Paint


: ICI, Asian

9. Dry Distemper & Oil Bound Distemper Paint
: British Paints, Goodless Nerolac, Garware

10. Red Oxide Primer Paint


: Asian, Bombay Paint, Mercury Paints Goodless Nerolac

11. Wood Preservatives



: British Paits, Goodless  Nerolac      

12. Flush Doors




: Sitaboards, Anchor   

13. Metal Sliding Channel


: El-Binari           

14. Drawer & Cabinet Lock


: Godrej 

15. Laminate




: Formica, Greenlam, Decolam, Merino

16. Screws




: G.K.W., Nettle Fold.
17. Hardware



 
: Shalimar, Cief, Vision.

18. Adhesive




: Fevicol-Sh, Mafatlal’s Movicol-Hv Ciba-Geigy’s Araldite                               
19. Water Proofing Compound


: Roffe / Impermo / Accoproof/ Algiproof / Sunanda

20. Glazing                  



: Triveni/Modifloat

21. Polyurathene Foam



: U-Foam 

22. Rubber Foam



: Mm Rubber Foam 

23. Pest Control




: Pest Control & Anti-Termite Treatment For Interior Work 

  To Be Done By Local Renowned Contractor.

24. Venetian Blinds



: Vista, Mac, Luxaflux & Arolux

25. Aluminium Sections



: Jindal, Indal

26. Structural Steels



: Tata Steel

27. Cement




: Ordinary Portland Cement Of Larsen & Turbo, Ambuja, A.C.C. 


  Century Cement

28. Reinforcement/ Structural Steel

:  Sail / Tisco / Torsteel                              

29. White Cement



:  J. K. Cement Or Birla  White 

30. Sand Fine Aggregates Coarse Aggregates,

31. Bricks, Stone Slab And Murrum Filling, Lime
:  Locally Available Material Duly Tested. 

32. Tiles




:  Kajaria, Johnson, Bell, Nitco

33. Hardeners




:   Ironite / Ferok / Hardonate

34. Redoxide




:  Shalimar / Eomite / Blundel / Asian / Jenson & Nicholson

35. Cement Paint



:  Snowcem / Colourcem  / Sandex

36. Cast Iron Fittings



:  Nicco

37. GI Pipies




:  Gujrat, Ambika, Zenith

38. P.V.C.  Pipes




:  Prince

39. SFU/ Isolator switch



:  EE/L&T/Siemens

40. L.T. Panels




:  EE/L&T/ Siemens / As approved

41. Meters




:  AE/MECO/ Rishab/ Silkon/ UE

42. DB (HRC Fuse )



:  EE/Standard/ CPL/ Havel

43. DB (MCB)




:  EE/MDS/ Siemens 

44. Wires




:  Finolex / Polycab

45. Conduits (MS/GI)



:  Supreme BEC/ Precision / Circle Ark

46. Switches /Sockets



:  Anchor/ Preeision/ CPL/ MK/Northwest/ Avanti/ LK pace

47. Lugs




:  Dowell/Jainson

48. Telephone cables



:  Finloex/ Delton/ MTNL approved

49. Decorative lights (spot lights/ picture lights)
:  Phillip / Wipro

50. Fire detectors



:  Apollo Honry  well

51. Security system



:  Shellain / Radioncis sentrol 

52. ELCB/RCCB



:  EE/MDS/ Datar

53. Telephone Tag-block



:  Krone

54. NCCBS




:  L&T/EE/Crompton

55. Air Circuit Breaker



:  L&T Siemens /EE

56. Changeover Switches


:  Siemens / Blcon/ Kayee

57. Contractors




:  Siemens /L&T

58. Muisc speakers



:  Phillips/ Ahuja

59. Amplifers




:  Phillips /Ahuja

60. Elec. Fittings & fixtures


:  Phillips /Crompton/ Wipro

61. PL/ Spot Lights fittings


:  Phillips /K-lite/ Wipro

62. Copper Cable (Conductor)


:  Polycab / CCI ISI Mark

63. Flourscent Lights, PL Lights and Lamps etc.
:  Phillips/Crompton/ Bajaj

64. MCB/ ELCB



:  MDS/ DATAR

65. Main switcher (sheet metal boxing)

:  L&T

66. Ceiling Fan




:  Crompton/ Usha, Bajaj, Orient

67. Wall fan




:  Usha /Almonard

68. Exhaust fan




:  Unique

69. Gland Flange Type



:  BRACO

70. Casing Caping Patti



:  PRESTO PLAST

· All materials to be delivered at site. If the material used for the work is not in conformity with the specifications, the same shall be replaced by contractor. All the material required for the above work shall be arranged by the contractor at his own cost.

· Selection of material to be done in consultation with the BANK representative / Engineer.

· All materials shall be of the first quality.

· Wherever Contractor proposes to use ‘equivalent’ makes (i.e. other than specified) the same shall be done only after prior approval from BANK. BANK may consult Architect before giving approval. Any additional expenditure, time due to this will be on Contractor’s account and no claims will be entertained.

· Read “or equivalent approved” at the end of the list of approved manufacture / sub-contractor / brand for every materials.

 PREAMBLE  TO  BOQ

Abbreviations:

R.M.T.




:
Running Meter

Sq. MT.




:
Square Meter

Sq. Ft.




:
Square Foot

Cu. Mt.




:
Cubic Meter

T.W.




:
Teak Wood

Q.R.O




:
Quote Rate Only

C / C




:
Centre to Centre

M.T.




:
Metric Ton

C.P.





:
Chrome Plated

NO.





:
Numbers.

MM.




:
Millimeter

1. All dimensions are in M.K.S. unless otherwise stated.

2. The quoted rate shall be all inclusive and cover the cost of material including  wastage,  Freight,  all  types  of  taxes,  duties,  royalties,  erection,  construction,  testing  of  materials,  if  required  samples  brought  for  approval,  tools  and  tackles,  plant  and  equipment’s,  supervision,  overheads,  profit  and  any  other  expenditure  incurred  for  completion  of  work  as  per  drawings,  specifications  and  to  the  full  satisfaction  of  BANK / Architect.

3. The rates quoted shall be valid for working at all heights, depths, and  on  all  floor  levels, No  extra  payment  shall  be  made  for  scaffolding,  staging,  ladders  etc.  for  transportation   of  men  and  materials  at  higher  or  lower  levels.

4. The item rate specifications are indicative. The Contractor will have to carry out the work in accordance with the drawings, technical specifications and / or other conditions laid down in tender document and to the full satisfaction of BANK / Architect.

5. Quantities mentioned against respective items are approximate and can vary to any extent. Payment shall be made on actually executed quantities.

6. No claims shall be entertained in case of increase or decrease in quantities, BANK / Architect reserve the right to increase / decrease quantities of any item and also to add / Delete any item in totality. BANK / Architect reserve right of operating any item for any work.

7. Rates of all items shall remain constant irrespective of floor level and no extra shall be Paid for handling and stacking of materials, removing debris etc. from the site.

8. Unless otherwise noted, the method of measurement will be as per I.S. 1200.

9. Wherever contractor proposes to use ‘equivalent’ makes (i.e. other than specified) he shall obtain BANK’s prior approval.  BANK may ask Architect before giving approval to the same.  Any additional cost and time lost due to this will be on Contractor’s account and no claims will be entertained.

10. The rate for partition, paneling shall include necessary additional framework supports that may be required to suit site conditions or stability of the item. Decision of Architect in regards to the need for such additional supports shall be final.

11. All wooden frame work / member size mentioned as out of, shall be full size with maximum planning tolerance of 3 mm both ways.

12. Rates for doors include all brass oxidized heavy duty hardware, locks, floor springs, door Springs, door closer, special door handles etc. as specified in relative items.

13. Size and type of door closer / floor spring shall be suitable for type of door. The Contractor shall give guarantee for performance of door closer / floor spring from manufacturer.

14. Rates for partitions, paneling shall include making of necessary cut outs, chasing to be Made for conduits, switch boards etc.

15. Rates for painting and polishing shall include cleaning glass panels, fans, floor etc.

16. After completion of work the site shall be handed over absolutely clean, after ensuring that all laminates, floors, walls, etc. are spotless clean.

17. Contractor shall clean the site and mark the lining out on the floor with adhesive tape for approval.  The same shall not be paid separately.

18. In case of loose furniture, the specification for side unit or rear side credenza unit in any Item shall be same as the specification of the table in that item.

19. All key holes should be fixed with metallic key hole ring.

20. Key for all locks should be different and no key should match with two different locks.

21. Contractor has to follow rules of the building about timing, cleanliness and use of lift for loading and unloading material. 

	Estimate for renovation of Guest House at Nugget CHS for Indian Bank

	No.
	Description
	Quantity
	Rate
	Amount

	A
	CIVIL & FURNITURE WORK
	 
	 
	 
	 

	 
	REMOVING WALL/PARTITION/PANELING/BRICK WORK/DOOR
	 
	 
	 
	 

	1
	Remove existing Partitions, Brickwork, M. S. Grills, rolling shutter, collapsible door, windows, doors & stacking the materials neatly as directed and making good to surrounding beams, columns, wall, pardis etc. complete as directed.
	100
	Sq.ft.
	
	

	 
	POLYMER MODIFIED CEMENT MORTAR
	 
	 
	
	

	2
	Removing carefully existing damaged, loose & disintegrated concrete of RCC columns, beams, slabs, parapets, chajja soffits etc. at all heights, levels & surface of any thickness/depth. Remove loose rust from reinforcement bars by mechanical means like wire brushing, chipping, hammering etc. provide & apply two coats of anticorrosive coating of perma (Zinc base) to the rusted exposed steel reinforcement bars on all sides. If the reinforcement steel is found to have corroded more than 20% of the actual size additional reinforcement along the old one to be attached by welding/tying with 18-gauge binding wire as per direction. (Cost of steel reinforcement to be paid under separate item) After 24 hours of applying anticorrosive coat, apply two rust passivating coats mixing the same with cement in the ratio of 1:1(by weight) to the derusted as well as new steel surface by brush at an interval of six hours. Moisten the surface and apply bonding coat in the ratio of 1:1 by weight to the entire broken concrete surfaces.
	100
	Sq.ft
	
	

	 
	Providing & hand pack polymer modified mortar within 10 to 15 minutes of applying bonding coat. i.e. (wet on wet) as per following specifications using: 1 part by weight of Polymer. 5 parts by weight of cement. 15 parts by weight of well graded quartz sand. At the time apply layer not more than 20 mm thick. The mortar should be prepared using mechanical mixers/stirrers should be well compacted & finished using appropriate methods. The rate quoted should be for avg. Thickness of 40 mm polymer modified mortar to be applied for necessary curing, compaction with mechanical plate vibrator & as per technical specification no: iii etc. complete.
	 
	 
	
	

	 
	INTERNAL PLASTER
	 
	 
	
	

	3
	Providing Cement plaster 20 mm thick (1 of cement and 3 of fine sand) in 2 coats to concrete or brick surface including breaking the existing internal plaster at hollow /cracked locations or as directed by Engineer at all heights on beams, columns, pardies, RC walls, brick walls, ceiling etc. cleaning all the surface of spoils, raking brick joints. Disposal of debris out of site. A groove to be cut at beam & wall, column & wall junction before applying first coat, Groove coated with polyalk WP for bonding and waterproof purpose or providing and fixing chicken-mesh with admixture conplast 421 IC or equivalent without neeru finish in all positions including scaffolding and curing complete.
	150
	Sq.ft
	
	

	 
	VITRIFIED TILE FLOORING
	 
	 
	
	

	4
	Providing and laying Premium Quality homogenous full body Vitrified floor tiles of approved colour & make (KAJARIA/ NITCO Double/ RAK or equivalent) of size 600mm x 600 mm as per design & pattern colour with bed of 25mm average thick cement mortar 1:3  (1 cement : 3 sand) in line and level including pop covering with the tiles cleaning the finished surfaces, flush pointing of joints of tiles with as per company  grout matching the shade of tiles etc. The rate also to include the removing of existing ceramic tile/ mosaic/ cement flooring/ skirting etc. with bed mortar to expose the R.C.C. slab, chipping the R.C.C. surface, curing, mending good the damages, removal/ carting away of debris from the premises and deposing to dump yard, cleaning the site. Allowing Electrical contractor to lay conduits & junction boxes. Cost to include finishing of edges near junction-boxes, etc.  Fixing with tile adhesive or neat cement paste including sealing the joints with approved quality white cement mixed with approved colour to match the tiles colour or approved grouting materials. ALL complete as per drawing / direction of Bank’s Engineer. Basic rate Rs 65/- per sft, including landing.  including removing existing flooring, carting away debris, scaffolding, curing, cleaning etc. complete as directed.
	625
	Sq.ft.
	
	

	 
	VITRIFIED TILE SKIRTING
	 
	 
	
	

	5
	Providing & fixing VITRIFIED tiles to Skirting 4" high including base coat plaster, bedding mortar in C.M. 1:3 with joints grouted and pointed with white and coloured cement including curing and cleaning, removing carefully existing skirting, stacking the tiles carefully as directed and carting away debris etc. complete.
	225
	R.ft.
	
	

	 
	MARBLE PATTA
	 
	 
	
	

	6
	Providing and fixing Green Marble cill to door/window with cement mortar including cement float, cement pointing in mortar 1:3, curing, filling the joints with Polymer Putty, removing existing frames, stocking at given place, carting away debris and cleaning etc. complete. (Basic Rate Rs. 65/- per Sq.ft.)
	 
	 
	
	

	 
	a. 3" wide
	36
	R.ft.
	
	

	 
	b. 6" wide
	300
	R.ft.
	
	

	 
	c. 12" wide
	30
	R.ft.
	
	

	 
	KITCHEN PLATFORM
	 
	 
	
	

	7
	Providing the making the 2'3" wide platform with Vertical & horizontal Marble on top finished with GRANITE with All Mouldings/ Bevelling at necessary locations like Sink, Water Front facia Patti and Pantry Skirting. Fixing from front with dhar patti/ water patti/ Pani patti. Also 3" Skirting of Granite on top of the Granite platform on 3 sides with Bevelled edges on TOP only. (Granite max 250 Rs/sqft). Bottom 2" ht Otla to be made for Base with Tiles. (Work also includes providing & fixing SS Sinks, sanitary fittings, Sink Cock & angle cock for Aqua guard "T" Inlet, removing existing platform.)
	10
	R.ft.
	
	

	 
	M.S. GRILLS
	 
	 
	
	

	8
	Providing, fabricating and fixing M.S. Grills of required pattern with M.S. flats, square or round bars with round headed bolts and nuts or by screws including painting of approved shade, to all steel members including fixing etc. complete. (Weight of grill 15 kg per sqm.) removing existing M. S. Grill & carting away debris.
	300
	Sq.ft.
	
	

	 
	Waterproofing of Toilet
	 
	 
	
	

	9
	Removing the existing ceramic floor tile including sanitary ware, water lines, tap etc. and water proofing layer in toilet area up to existing slab level including carting away of debris, surface preparation for water proofing including Polymer Non Shrinkable Ground Compound and approved polymer modified acrylic cementitious water proofing compound with cement  (1:1) 2 coat to be applied horizontal & vertical at the junction adjoining to wall up to2 feet, with care that all crevices, cracks and unevenness is properly treated and laying of 1 layer of fibreglass mesh, over 1 coat of modified water proofing and including layer 20 mm  thick rendering mixed with 2 to 3% Integral Water Compound (I and, curing for 48 hours and water testing should be carried out. Prior to laying of cement sand mortar, cement slurry shall be applied at top surface. Brickbats shall be laid in cement mortar (1:4) in all positions with an average thickness of 100 to 200mm is to be provided.
	 
	 
	
	

	 
	Brickbats should immediately be hand set in to fresh mortar, leaving a gap of half to one inch between each piece, taking care to provide the necessary slope. This brickbat layer should be cured for at 4 days. The joints in between the brickbats shall be first filled with cement slurry and immediately covered with a layer of cement mortar (1:3) so as to fill up gaps between the brickbats and also from a 25 mm thick layer over the brickbat surface with I.P.S Rough Finished including 'P' trap/'S' trap etc. complete to the entire satisfaction.
	65
	Sq.ft.
	
	


	 
	Ceramic Tile Flooring
	 
	 
	
	

	10
	Providing & laying antiskid type ceramic tiles in flooring of Toilet in proper line, level and slope, of approx. size 600mmx600mm / 300 mm x 300 mm (minimum) to suit to site condition or as approved with (1:3) cement sand mortar mixed with water proofing compound of approved make as per manufacturer’s specifications of minimum 20 mm thickness and above to bring up to existing level of the floor. Filling the joints with white cement slurry mixed with pigment to match with the shade of tiles and finally washing and clean water to bring the desired finish/ cleaning/ removing carefully existing flooring, chipping the existing floor properly where the tiles fixed with adhesive towards proper gripping the tiles. The rate also to include the cost of curing, mending good the damages, removal of debris from the premises, cleaning the site, including providing any short fall materials -ALL complete as per direction of Bank’s Engineer. (Basic Rate Rs. 60/- per Sq.ft.)
	65
	Sq.ft.
	
	

	 
	Glazed tile Dado
	 
	 
	
	

	11
	Providing and fixing coloured glazed tile of make KAJARIA/ JOHNSON/ ASIAN as per design & pattern in dadooing in size of tile 600 x 300 mm or more first quality approved make with  single coat base coat plaster and on a bed of 15mm mortar 1:3 (1 cement : 3 sand) in line and level, cleaning the finished surface including raking out the joints, flush pointing of joints of grout all complete, removing carefully existing dado/ Plaster, carting away debris, at all heights as per specifications, and instructions colour and shade matching to the floor tiles as per choice of Architect. The rate also to include the removing of existing Dado etc. with bed mortar to expose the brick wall/mother slab (approx. 3" depth), chipping the R.C.C. surface, curing, mending good the damages, removal of debris from the premises, cleaning the site and carting away debris from site, including providing any short fall materials -ALL complete as per drawing / direction of Bank’s Engineer, including curing. including landing. Basic rate taken as Rs.80/sft, including landing.
	650
	Sq.ft.
	
	

	 
	Aluminium Windows
	 
	 
	
	

	12
	Providing and Fixing anodized Aluminium work for window/ventilators with appropriate Sections and wherever there is a opening and it should mended with the existing section/ profile of approved make conforming to IS : 1285, fixed with rawl plugs and screws or with fixing clips, or with expansion hold fasteners including  removing existing window and stacking as directed, carting away debris and necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/ neoprene felt etc. Aluminium sections shall be smooth rust free, straight, snap beading for glazing/panelling, C.P. brass/Stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling cost included).
	160
	Sq.ft.
	
	

	 
	vitreous European type WC
	 
	 
	
	

	13
	Providing and fixing vitreous European type - Wall Mounted water closet (Parryware: Cascade NXT or Equivalent) (off-white color) with brackets, seat cover, flushing cistern of approved make including providing and connecting 110mm PVC pipes (6kg/sqcm) of approved make ISI mark to external plumbing with necessary fitting such as bends, tees, etc., CP Angular Stop cock with metallic Hose - Parryware make (Cat. ref. No. G1907A1) and all other required accessories, including jointing with cement mortar 1:1, making holes in wall, filling the same from both sides, testing and removing existing W.C; pipes of any material and any diameters, taking out the existing fittings from floor, dismantling joints, stacking & sorting the pipes, carting away debris, scaffoldings etc. complete as directed by Bank’s Engineer.
	2
	Nos.
	
	


	 
	Wash basin
	 
	 
	
	

	14
	Providing and fixing semi-pedestal type wash basin (Parry ware: Cascade NXT or Equivalent) (off-white colour) with C.I. brackets painted white, 15 mm C.P. brass pillar taps - Parry ware Make (Trio - Catalogue ref. No. G1903A1), 32 mm C.P. brass waste coupling of standard pattern - Parry ware Make (Catalogue ref. No. T9910A1/ T9911A1), C.P. Brass Angle Valve with Metallic Hose - Parry ware Make ( Catalogue ref. No. G1907A1) including connecting C.I. pipes of required diameter & approved make with ISI mark to external plumbing with necessary fitting such as nahani trap, bends, tees, etc. including jointing with cement mortar 1:1, making holes in wall, filling the same from both sides, testing and removing existing pipes of any material and any diameters, taking out the existing fittings from walls, dismantling joints, stacking & sorting the pipes, scaffoldings etc. complete as directed by Banks Engineer. Parry ware Indus Wall Hung Basin C0471/C0472 (500 x 400 x 210mm) SWAN NECK TAP WITH LEFT HAND OPERATING FOR WASH BASIN: CON-CHR-123BKN, COP-CHR-021PM
	2
	Nos.
	
	

	 
	CPVC Pipes
	 
	 
	
	

	15
	Supplying, Installing, testing & commissioning approved make Astral CPVC Pipes & fittings (CTS SDR 11 operating pressure 7 bar @82 Deg C and 28 bar @ 23Deg C) for toilet with Hot & Cold Mixure, C.P. brass bib cock, Jet Spray, C.P. stop cock, brass full way valve, non-return valve, screw socket, joints and necessary CPVC fittings such as sockets, back nuts, elbows, bends, tees, reducers, enlargers, plugs etc.  The quoted rate shall include pressure testing, necessary excavation and back filling in trenches or including necessary zari, drilling holes in wall / slabs etc.  for Cold Water Supply Lines and remaking good the demolished position to restore the same in original condition neatly including necessary scaffolding and removing existing pipes and conveying and stacking the same on site or as directed.
	75
	R.ft.
	
	

	 
	PLUMBING WORK
	 
	 
	
	

	16
	Providing & fixing in position under floor/ against wall in chases Rigid PVC Pipes of required diameter & of approved make conforming to IS:4985 for toilets, using lubricant as per manufacturer's specification, including cutting the pipes square to the required lengths, necessary excavation, chasing & restoring to the original condition, testing for water tightness etc., complete as directed by Bank’s Engineer. The rate including S/I of necessary Upvc fittings such T,Y, bend, elbow with clamping, jointing, making holes in wall, making connection to individual toilets and filling the same from both sides, patchwork plastering, testing and removing existing pipes of any material and any diameters, removing clamps and taking out the existing fittings from walls, dismantling joints, stacking & sorting the pipes, scaffoldings etc. complete. Etc
	2
	Job
	
	

	 
	SOLID FULL HEIGHT PARTITION 
	 
	 
	
	

	17
	Providing and fixing in position solid Full height partition (2 ½” thick) in frame work including door in 2’ X 2’ grid (horizontally and vertically) comprising of 2” X 1 1/2” X 16-gauge Aluminium Framing section with 6mm thick plywood on both sides finished with 1mm thick multi colour laminates of approved make and colour. Item to include 2” X 2” X 16-gauge Aluminium Framing member for door frame with wooden member inside pipe. All exposed surfaces to be finished in polish of matching laminate colour as directed including all necessary Stainless steel finish fittings/ hardware, door closers, Godrej locks and wood preservative paint etc. as per list of approved material and as approved by the Project Consultant / Bank complete in all respects. Quoted rates shall include all necessary materials, accessories and labour and also allow provisions for electrical/ telephone/ computer wiring conduits and switch boxes, etc. complete with necessary jacking/thickening of panels to accommodate conduits/switch boxes. (Materials for wiring conduits and boxes shall be separately done by the electrical) (Note: In case of false ceiling, the vertical supporting members to be fixed with pucca ceiling but the area of partition payable will be below the false ceiling only)
	100
	Sq.ft.
	
	

	 
	DOOR
	 
	 
	
	

	18
	Providing & fixing of 35 mm thick standard flush Door shutter including glass panel with 1mm thk. laminate on both sides, with melamine polished teakwood margin on exposed edges including hardware door fitting of handle & lock complete in all respects including anti-termite treatment. Handles: SS Handle, Lock :- Godrej cylindrical lock , Hinges :- 3 Nos SS Hinges –Heavy gauge each shutter and Stoppers. The shutters shall be totally water proofed, resistant to mild acid/ chemicals. Size: 2’0” X 6’6”
	4
	Nos.
	
	

	 
	MIRROR
	 
	 
	
	

	21
	Supply & installation of 6mm thk. Clear glass Mirror of approved make on toilet wall including 12mm thk. Plywood backing with necessary framework and moulding. The exposed framework to be polished etc. complete
	2
	Nos.
	
	

	 
	TOWEL ROD
	 
	 
	
	

	22
	Supply & installation of stainless steal towel rod in toilet 18mm dia, 750mm long with C.P. Brackets and screw etc. complete
	3
	Nos.
	
	

	 
	OVERHEAD STORAGE
	 
	 
	
	

	23
	Providing and fixing in position overhead storage of different size and depth as shown in drg. using plywood of required thickness. The storage units shall be provided with handles (Stainless Steel finish), brass hinges and locking arrangement as per approval of the Project Consultant / Bank. All exposed plywood surfaces to be finished with 1mm thick laminate of approved make and shade all exposed edges of plywood to have 1” X ¼” T.W. lipping. All exposed T.W. sections to be polished in matching colour laminate and internal surfaces to have white enamel paint as directed. Item to include all necessary hardware and fittings in Stainless Steel finish, Godrej multipurpose locks including magnetic ball catcher etc. complete in all respects.
	30
	Sq.ft.
	
	

	 
	SAFTY DOOR
	 
	 
	
	

	27
	Providing and fixing safety Door with 40 mm thick flush door shutters, non- decorative type, core of block board construction to existing frame with 1.5 mm thk laminate of approved shade & make on both the faces of shutter and also fixing leaping with second class teak wood battens 25 mm thick on all edges of shutters including S. S. grill of approved design, all fixtures and fittings such as brass butt hinges, handles, sliding bolts, tower bolts and mortise latch & removing existing door etc. complete as directed.
	1
	Nos.
	
	

	 
	REPAIRS TO MAIN ENTRANCE DOOR
	 
	 
	
	

	28
	Repairs To Main Entrance Door including fixing 4 mm thk ply on both side, new fittings & fixtures, 1mm thk laminate on both sides, synthetic enamel paint on edges including cutting wooden door frame if required with finishing and painting etc. complete.
	1
	No.
	
	

	 
	REPAIRS TO BED ROOM DOOR
	 
	 
	
	

	29
	Repairs To Bed/ Balcony Door including fixing 4 mm thk ply on both side, new fittings & fixtures, 1mm thk laminate on both sides, synthetic enamel paint on edges including cutting wooden door frame if required with finishing and painting etc. complete.
	4
	Nos.
	
	

	 
	DOUBLE BED
	 
	 
	
	

	30
	Providing and fixing in position double bed as shown in drg. 
	3
	Nos.
	
	

	 
	PLASTIC PAINT
	 
	 
	
	

	31
	Providing and applying Acrylic Emulsion paint of Asian Paints / ICI Dulux/Berger and sporty Yellow– X104 shade of Royal Luxury Emulsion of Asian Paints in minimum 2 coats including scrapping, opening of existing cracks, filling up of “V” cracks with epoxy expandable putty to required depth, making good weak plastered / unplastered surfaces with cement plaster wherever required. Item to include Plaster of Paris, primer, palti and making good existing surface to receive new paint including cleaning on completion of painting work etc. complete in all respects. All jambs, trims, edges, grooves to be included in Sq.ft rate. No separate measurement on R.ft.
	2500
	Sq.ft.
	
	

	 
	SYNTHETIC ENAMEL PAINT
	 
	 
	
	

	32
	Providing & supplying all materials and application of one coat of primer paint two coats synthetic enamel paint of approved colour and manufacture including preparation of surface, scaffolding etc., complete including all materials as per specifications and directions of Architects. All jambs, trims, edges, grooves to be included in Sq.ft rate. No separate measurement on R.ft.
	500
	Sq.ft.
	
	

	 
	TOTAL
	 
	 
	Rs.
	

	B
	ELECTRIC WORK
	 
	 
	 
	 

	I
	WIRING

	1
	Supply & Installation of concealed point wiring using 600V grade 2.5 sqmm copper conductor PVC insulated wires (with proper R,Y,B colour code ) pulled through heavy gauge PVC conduits laid concealed over false ceiling or in wall chases including circuit wires from the relevant DB and also including 1.5 Sq.mm Green Colour Copper earth wire and provision of grid plate type ( ROMA) switches and sockets as approved by Bank / Architect. Each circuit feeding not more than 8 points / 800 W as per the following configuration.
	 
	 
	 
	 

	a
	Primary light points including the cost of 5A switch
	   60 
	Pts.
	
	

	d
	Secondary 5A Plug point on switch board
	   40 
	Pts.
	
	

	e
	15A Plug Point directly taken from DB
	    7 
	Pts.
	
	

	f
	Exhaust fan point consisting of 5A socket near fan and switch on light switch board
	    3 
	Pts.
	
	

	 
	Sub Total
	 
	 
	
	

	II
	FITTINGS & FIXTURES

	1
	S & I of lighting fixtures as per the details given below including necessary hardware such as clamps, nuts, bolts, nails, screws and suspension chains as required for fixing the fixtures in position as directed by architect / Consultant.
	 
	 
	 
	 

	b
	2'0" long LED fitting
	20
	Nos.
	
	

	e
	250mm dia wall mounted metal body and blade exhaust fan with louvers on the outside (Newtek/Crompton/Approved Equivalent)
	3
	Nos.
	
	

	 
	Sub Total
	 
	 
	
	

	 
	Total of Electric Work
	 
	 
	
	

	 
	SUMMARY
	 
	 
	
	

	A
	CIVIL & FURNITURE WORK
	 
	 
	
	

	B
	ELECTRIC WORK
	 
	 
	
	

	 
	TOTAL
	 
	 
	
	


[image: image1.emf]

3

