PREMISES DEPARTMENT

ZONAL OFFICE LUCKNOW

NOTICE INVITING TENDER

Sub: COMPETITIVE QUOTATION FOR  FURNSIHING & ELECTRICAL WORK

Of  MAWAI KHURD  Under ZO Lucknow

Competitive Sealed Quotations are invited in the prescribed format from the Contractors who are already empaneled with Nationalized Bank having Electrical Works License and executed Interior Furnishing & Electrical Works of Nationalized Banks in last three years.

Format of Quotation Document is enclosed for submission of Furnishing & Electrical works of Mawai Khurd Lucknow  Branch & ATM, Distt. Lucknow. Full details and tender documents are available on Bank’s website: www.indianbank.bank. in can be obtained from Zonal Office, Lucknow Duly filled in tenders should be submitted as per following schedule:

| 1 | Issue of Tender Document | From 18/05/2026 |
| --- | --- | --- |
| 2 | Submission of Tender | On or before 02/06/2026 up to 03:30 PM |
| 3 | Opening of Tender | On 02/06/2026 at 05:30 PM |
| 4 | Date of Commencement | 7 Days from the date of issue of letter awarding the job. |
| 5 | Time of Completion | 30 days |
| 6 | Defect Liability Period | 12 Months |
| 7 | Earnest Money | Rs.23500/- in the form of DD/IOI in favour of Indian Bank payable at Lucknow refundable. & Rs. 500/ DD tender fee non-refundable |
| 8 | Liquidated Damages for delay | Rs.2000/- per day subject to Max. of 10% of total accepted contract amount. (If the work is not completed to the satisfaction of the Employer within the stipulated period, the contractor shall be bound to pay to the Employer a sum equivalent to Rs.2000/- per day subject to ceiling of 10% of the accepted contract amount by way of liquidated damages and not as penalty during which the work remains un-commenced or unfinished after expiry of the completion date.) |
| 9 | Payment Terms | Neither any advance nor any Interim payment will be made. Payment will be made on satisfactory completion of the job on the basis of actual measurements. Income tax will be deducted as per the rules. Retention money 10% will be deducted from the bill and to be released after 12 months from the date of virtual completion provided no defects is observed during this period. |
| 10 | Documents to be attached with the Bill | Managers Completion Certificate, Manufacture Certification, Bills & 4-5 Photographs showing completion status of work. |
| 11. | Retention Money | 10% (Including Earnest Money) |

The Bank will not be bound to accept the lowest tender and reserves the right to accept or reject any or all the tender without assigning any reason whatsoever. Late/delayed tender shall not be accepted after due date and time of submission of tender.

For any assistance please contact our panel architect M/s Gunjan & associates 141, Sainik Nagar,Raebareli Road, Lucknow-226002

Phone: 0522-2441118, 9839018489, 9838818489 email id. studio@gunjanandassociates.com

(Deputy General Manager)

C L I E N T

INDIAN BANK

ZONAL OFFICE, LUCKNOW –

PREMISES DEPARTMENT

2nd floor New Building Hazratganj

Lucknow-226012

WORK / PROJECT

FURNISHING WORKS AT

INDIAN BANK, MAWAI KHURD LUCKNOW

COMPETITIVE QUOTATION

FOR FURNISHING WORKS AT ABOVE PROJECT

Tender Issued to:

M/S        _________________________________________________

Address _________________________________________________

__________________________________________________

Contact No: __________________

Tender Issued on:_____________

Last Date of Submission:	______________

Signature of the Contractor		                                                      Seal

Zonal Office Lucknow

NOTICE INVITING COMPETITIVE QUOTATION

Work: COMPETTITIVE QUOTATION FOR FURNISHING, ELECTRICALS  & AC   WORK

Of  MAWAI KHURD  (DISTT. LUCKNOW) Branch, UNDER ZO Lucknow

General terms & Conditions: -

- Sealed quotation should be addressed to The DGM, Indian Bank, Zonal Office, Lucknow and super scribed name of Work Furnishing, Electrical & AC work of Mawai Khurd Branch, (Distt. Lucknow) and should reach before 03:30 p.m. on 02.06.2026 at Zonal Office Lucknow.

Mailing Address:

The Deputy General Manager,

2nd floor New Building

Hazaratganj Lucknow

- No quotation will be accepted after 3:30 pm on 02.06.2026 and Technical quotations will be opened on 02.06.2026 at 5:30 pm unless otherwise informed.

- The quotations will remain valid for a period of 3 months from the date of opening.

- Bank reserves the right to accept or reject any or all the quotations accept part of any tender, entrust the entire work to any contractor or divide the work to more than one contractor (item wise) without assigning any reason to do so or giving any explanation. The rates quoted by the contractors will help well for bifurcation and no compensation will be paid on this account.

- At the time of submission every quotation must be accompanied by Demand Draft for an amount of Rs.28500/- & Rs. 500 dd tender fee in favor of INDIAN BANK payable at Lucknow towards EMD. Any quotation which is not accompanied by EMD along with technical bid will be summarily rejected.

- Contract should quote rates in figures as well as in words.

- All erasures and alterations made must be attested with the initials of tenderers. No overwriting is permitted.

- The unsuccessful bidders will collect their EMD amount DD from the Zonal Office within 45 days from the date of opening the tender.

- Joint tenders shall not be considered. Conditional tenders quoted by the contractor are liable to be rejected.

- No escalation in the rates will be allowed under any circumstances.

- On receipt of the intimation from the bank of the acceptance of his quotation, the contractor should submit his acceptance within 3 days. If the successful contractor/ tenderer fail to undertake the work within 7 days after work allotment, the EMD will be forfeited and acceptance of his tender may be withdrawn.

- The rate quoted in the tenders shall be inclusive of all materials as required and shall be inclusive of all charges of scaffoldings, lifting, tools and plants, freights/ transportation, labor conditions and fluctuations in rates of excise duty, octroi, GST, VAT, Excise Duty, service tax and any other taxes or expenditure of carrying out the works.

- The Agency is advised to inspect and examine the site on working days between 10am to 5 pm and satisfy himself as to the condition prevailing at sites and its surrounding extent of work, scope and conditions under which the work is to be executed. The contractor shall also satisfy himself about the accessibility to the premises.

- The agency shall submit the offer which satisfies each and every condition laid down in this notice, failing which the tender will be liable to be rejected. Conditional bids shall not be considered and will be out rightly rejected in the very first instance.

- Work will be completed within the period of 30 days from the date of issue of tender or work order whichever is earlier. If the work be not completed to the satisfaction of employer within the stipulated period, the contractor will be bound to pay to the Employer a sum equivalent to Rs.2000/- per day subject to ceiling of Max 10% of the accepted contract amount by way of liquidated damages and not as penalty during which the work remains un-commenced or unfinished after expiry of the completion date. The contract may be rescinding by giving one week notice incase work is not executed as per specification and as per time schedule given in tender document.

- The liquidated damages as mentioned in the Notice inviting tender may not be enforced if the contractor applies for extension of time mentioning the genuine reasons for extension. If an extension of time of completion of the work is sought on the grounds of having unavoidable hindrances in its execution or any other ground, the contractor shall apply in writing to the Assistant General Manager, Zonal Office, Moradabad with full details of the circumstances which is causing such an extension. Extension of time in days will be granted by the bank if it is proved that the contractor is not at fault for extending the work beyond stipulated date of completion. All the decisions in this regard taken by the Bank shall be binding to the contractor.

- The successful contractor is bound to carry item of work necessary for completion of job even though the same are not included in the schedule of quantity. Rates of extra item will be derived from quotation. In case the rates do not exist in quotation and extra item is not similar to the quoted item, then the rates will be worked out on actual cost of material and labour, any other expenditure for completing that work plus 15% towards contractor’s profit and overheads.

- The work shall be carried out in such a way that, there is least disturbance to the staff of Bank. Contractors are required to organize the work in such a way that workings of staff and officers/executives of Office are not affected. Contractor is required to take adequate care during progress of work to protect belongings. In case any damage, contractors at their own cost shall make the same good.

- The contractor must co-operate with other contractors appointed by the bank so that entire work shall proceed smoothly and to the complete satisfaction of the Bank.

- Contractor will arrange necessary tools and plants for completing own work at their cost. In case of any accident the total responsibility will be on the contractor. Contractors are required to submit time schedule of work. After completion of work, cleaning of floors, walls etc are to be done on daily basis to the satisfaction of Branch Head / engineer-in-charge. After completion of jobs, the site shall be cleared of all rubbish melba /debris etc in all respect and handover the site in proper manner on completion of the work.

- No advance will be paid. Payment will be released on satisfactory completion of job and submission of bills. Retention Money @10% will be deducted from the bill and to be released after twelve months from the date of virtual completion provided no defects is observed during the period.

- In case of non-completion or delay in completion of work or removal of defects in time, the bank shall be free to appoint another agency to get the job done at contractor’s risk and cost.

- The contractor will attend to all the defects noticed during defect liability period. If the contractor fails to attend the defects these defects will be got rectified by the bank and the expenditure incurred on this account will be recovered from security deposit / retention money.

- The work shall be got approved by the Architect / engineer and the contractor shall rectify any bad workmanship pointed out at any stage and remove from the site all the rejected materials immediately at his own cost.

- The contractor shall acquaint himself with the site conditions making his own arrangements for storing of materials at site, lift, cartage etc. at his own risk and safety.

- The contractor shall make adequate arrangement for watch and ward of material and shall ensure the safety, breakage and any theft of material fixed or unfixed by him or the other sub-contractors. The bank shall not be liable for any sort of loss incurred.

- The contractor shall be responsible for application of labour laws, compensation for injury and accident to person, whether employed by him or his sub-contractor.

- The contractor shall ensure that the workmen employed by him for the execution of work are suitably covered against Workmen Compensation Act and that all liabilities arising out of Workmen’s compensation Act, ESIS and other legislative enactment applicable to such works and workmen shall be to the contactor’s account and responsibility.

- Civil, Interior Furnishing and Electrical Works will be carried out as per Bank’s standard drawing / specifications and to the entire satisfaction of the bank.

- The contractor shall inform the bank, well in time, to check measurements of any work, which is likely to be hidden before covering.

- Income tax at the prevailing rates will be deducted at source from contractor’s bill and will be deposited with I.T.O. as per rules.

- Any extra work or item can only be started by contractor after obtaining written approval from the Zonal Office. Item executed without prior approval from the Zonal Office will not be considered for payment.

- The quantities mentioned in the schedule of quantities are approximate. Payment will be made on the actual work done by the contractor. However, the contractor should not deviate the quantity without Banks permission.

- The Bank has the right to alter the nature of work and to add or omit any items of work or to have the option of the same carried out departmentally or otherwise and such alterations or variations shall be carried out without prejudices to the contract.

- The Bank has the right to terminate the contract if the contractor abandons the work or fails to commence the work in time, or fails to abide by the terms & conditions of the contract.

I have read and understood all the instructions/conditions given above and I have taken into account the above instructions/conditions while quoting the rates.

______________________________

(SIGNATURE OF THE CONTRACTOR)

Date:

Place:							SEAL

### ARTICLES OF AGREEMENT

THIS AGREEMENT is made on this ……… day of …………month of	between Indian Bank

and having its Corporate Office at No. 254-260, Avvai Shanmugam Salai, Royapettah, Chennai – 600 014 (hereinafter referred to as the “Employer”) which expression shall include its successor, legal heirs and assignees of the one part.

AND M/s. ………………………………………. having its office at …………………………………

……………………………………………………………………………………………………………

(hereinafter referred to as the “Contractor”) which expression shall include its successor, legal heirs and assignees of the second part.

WHEREAS the Employer has caused drawings and tender documents for ‘Furnishing Mawai Khurd Branch & ATM , Lucknow,’

AND whereas the Employer has called for tender vide ref. no. …………….…………….…… dated……………………….….

AND whereas the contractor has submitted the tender ref. no. …………………………………. Dated ………………………… to the Employer on ………………………….

AND whereas the Employer has issued the work order ref …………………………………. Dated	to the contractor to do the work.

AND whereas the Contractor has agreed to execute the work as per drawings, specifications, conditions of contract and Work Order.

AND whereas the Employer has accepted the Contractor’s tender as aforesaid and whereas the tender submitted by the contractor has been accepted for such sum as may be ascertained to be payable in terms of the Bill of Quantities and which sum is estimated to be Rs. ……………….. (Rupees …………………………………….……………….) hereinafter referred to as the said “Contract Agreement”.

### NOW THIS AGREEMENT WITNESSETH AS FOLLOWS: -

- In consideration of the said Contract Sum to be paid at the times and in the manner set forth in the said Conditions the Contractor shall carry out and complete Civil,  Interior & Electrical works & AC work  in terms and conditions herein contained and according to the general conditions of the contract, notice inviting tender, special conditions of contract, general scope of work, technical specifications, schedule of rates and instructions to be given by and the supervision of and to the entire satisfaction of the Employer.

### Contract Price, Taxes and Payment Terms:

Total contract price is Rs. ….……………. which is inclusive of cost of materials, equipment, installation charges and tools and tackles required for execution of the job. Above price is inclusive of all taxes & duties including excise duty, sales tax, works contract tax, income tax, octroi etc. in respect of this contract. No claim in this respect will be entertained. Sales tax on works contract & Income tax on payments will be deducted and deposited by Employer in accordance with the sales tax law of the state and the provisions of tax deductions at source under income tax act 1961.

However, interim payment will be made as per the site measurements on Item Rate basis.

### Completion Period:

Time is the essence of the Contract. The work is to be completed in all respects within 25 days reckoned from 4th day from the date of issue of the Work Order or handing over of site whichever is later. If the Contractor fails to complete the job within the agreed time period, the Contractor will have to bear liquidated damages as per the relevant clause mentioned in the Tender Documents.

### Earnest Money Deposit

The Contractor has deposited an amount of Rs.23500/- (Rupees Twenty-Three Thousand Five Hundred only) as earnest money by way of DD in favour of “Indian Bank” payable at Lucknow.

.

### Inspection of Site:

The Contractor has inspected the site before submitting his tender and has satisfied himself as to the nature of the work to be executed on the site. Any difficulties which the Contractor may come across in the course of the work shall in no way relieve the contractor to claim or receive extra payment unless the Employer is of the opinion that such difficulties could not have been foreseen and the Employer consents in writing.

### Supply of Material and Labour:

The Contractor shall arrange all labour, materials, equipment, tools, tackles and everything necessary for the completion of the work. The Contractor will assume all responsibility for the safety, protection and accounting of all material and equipment and the work during construction. All materials used by the Contractor shall be of the best quality conforming to the required specification mentioned in the tender document and will be subject to the approval of the Employer. All such materials not approved by the Employer shall be removed at once by the Contractor at his own expense. The Contractor shall also at his own expense arrange for carrying out any test of materials which the Employer may from time to time require or if so desired by the employer.

### Defective Work / Materials:

If any part of the work done by the Contractor is found defective in workmanship or if bad or inferior materials have been used the Contractor shall at his own risk and cost demolish all such defective work and rebuild the same and / or replace the bad or inferior materials used within a time frame mentioned to the satisfaction of the Employer. The decision of the Employer in this regard shall be final and binding on the Contractor. In case of default of the contractor to remove the defective work and rebuild the same or replace bad or inferior materials as directed by the Employer, the Employer shall be entitled to employ anyone else to carry out the same at risk and

cost of the Contractor and recover all expenses incurred in this regard from the contractor.

### Inspection of Work:

During progress of the work the Employer shall be entitled at all times to have access to and inspect the work.

### Supervision:

The Contractor shall provide one or more competent and technical qualified engineers duly and fully authorized to act on his behalf in all matters relating to the works to be carried out under or any other matter concerning this agreement and who shall at all times be present at the works while any work is in progress as per directions, explanations & instructions of Employer.

### Compliance with Statutory Regulations & Work Rules:

The Contractor shall be responsible for complying with the applicable laws / bye laws

/ Regulations in force from time to time and shall have to bear all statuary liabilities to the workers / personnel engaged for the job. Nothing will be paid extra in this regard. If any amount is paid by the Employer with this regard the same amount shall be deducted from the Contractor’s dues. The Contractor shall have to arrange insurance cover for the workers / personnel engaged by him for the job and materials & works supplied/carried out at site/work place. Also to be adhered as per Tender Clause No.:34,35,36 & 37 of Termination of Contract:

In the event of Contractor failing to keep / adhere to agreed schedule of work, or in the event of the Contractor failing to comply with the provisions of this contract by default and / or negligence and / or suspension of work or in the event of Contractor failing to complete the work within the stipulated period, the Employer may terminate this Agreement forthwith and employ, at the Contractor’s risk and cost, another contractor or sufficient number of workmen to complete the work.

### Force Majeure:

This clause will be operative only if the work is delayed by

  - Acts of God

  - Earthquake or floods or similar natural calamities.

  - Serious loss or damage by fire or lightning.

In case any Force Majeure condition herein mentioned occurs and continues for a period exceeding 15 days the parties hereto undertake to sit together and devise ways for expeditious and proper performance of the obligations of the parties under this order.

### Arbitration:

“ In the event of any dispute or difference relating to interpretation and application of provisions of the contract and all disputes/ claims whatsoever which shall either during the continuance of the contract or afterwards either between the parties to the contract or the respective representatives touching the construction/ application of any provision/ clause mentioned in the contract or any account or liability between the parties to the contract or as to any act or deed or omission of any party to the contract, in any way relating to these presents, shall be first at the discretion of the Bank attempted to be resolved in good faith by mutual discussion within 30 days of the dispute or question being raised failing which the same shall be settled by

arbitration in accordance with provisions of Indian arbitration and Conciliation act 1996.

The Parties concerned shall designate an arbitrator on mutual consent/ consensus. The venue of the arbitration shall be exclusively at Chennai and any award passed by arbitrator shall be final, conclusive and binding upon the parties and shall be deemed to have been made between parties themselves. The parties to the dispute shall share equally the cost of arbitration as intimated by the arbitrator”.

Submitting to arbitration may be considered as an additional remedy and it does not preclude the right of the bank to seek other redressal/ Other Recourse.

- The bank and the contractor agree that this agreement is entered in to on Principal to Principal basis. Nothing contained in this agreement shall be construed to create any association, Joint venture or Partnership or Relationship of Principal and Agent or Master and Servant or Employer and Employee between the Bank and the contractor. The parties to the agreement shall be deemed to be independent entity and employees of wither of the parties shall not deemed to the employees of the other. Neither party shall have authority to bind other except to the extant authorized herein.

In witness whereof the said contracting parties have set their hands and seals on the day and year first hereinabove witness.

Witness Address	        Employer

Witness Address	        Contractor

List of Materials of Approved Brand And/ Or Manufacture

## Electrical works:

| Sl.no | Description | Make of materials |
| --- | --- | --- |
| 1 | PVC Copper Wires- PVC insulated HR-FR-LSH-LF (Heat Resistant Flame Retardant Low Smoke Halogen - Lead Free. (To be ROHS Compliant) | Finolex /Poly cab/Havells or approved Equivalent |
| 2 | MCCB | L&T (d sine), ABB, Schneider |
| 3 | MCB/ DB | Legrand, ABB, Schneider |
| 4 | LT UG Cable | Polycab /Finolex/Havells |
| 5 | Gland/ Lugs | Dowells/comet approved Equivalent |
| 6 | Indication lamp | TEKNIC/ L&T |
| 7 | Switch and sockets/ MS boxes | Anchor ROMA/ Legrand/ MK India/Havells (Crab tree). |
| 8 | PVC pipes and accessories | VASAVI/ Avon plast/MODI (medium ) |
| 9 | Speaker | Bosch/ Ahuja |
| 10 | Socket /Switch/RJ 11 socket - | Legrand, Anchor ROMA/ MK India/Havells (Crab tree). |
| 11 | G.I. Pipes and Fittings (ISI approved) | Tata,Jindal,Swastik Surya |

Note –

- Materials mentioned in the specification shall be used for the work. If specified material is not available prior approval of the Employer shall be taken to use other brands.

- Preference of makes, supply of items should be consulted with client/consultant before effecting of supply.

NAME AND ADDRESS OF THE CONTRACTOR:

SIGN & SEAL OF THE CONTRACTOR:

Date: Place:

### Civil & Carpentry:

| 1 | Cement | - Ultra Tech - Coromandel - ACC - Dalmia or approved equivalent. |
| --- | --- | --- |
| 2 | Steel | - Sail - Tisco or approved equivalent. |
| 3 | Vitrified Tile | - RAK - Kajaria - Nitco - Euro |
| 4 | Ceramic Tile | - Kajaria - Somany - Nitco - Johnson |
| 5 | Tile fixing Adhesive | - Sika - Pidilite - Bal Endura - Fosroc - BASF or approved equivalent. |
| 6 | Marine Plywood (IS 303) | - Century - Greenply - Archid - Mayur or approved equivalent |
| 7 | BWR grade phenol bonded plywood (IS 303) | - Century - Greenply - Sharon Ply - Mayur or approved equivalent. |
| 8 | Particle Board | - Greenply - Archid - Merino Duro or approved equivalent |
| 9 | Block Board | - Century - Greenply - Swastik or approved equivalent |
| 10 | Flush doors | - Century - Kutty - Green ply or approved equivalent |
| 11 | Fibre Board (MDF, LDF) | - Century - Novapan - Swastik or approved equivalent |
| 12 | P.O.P. | - Gyproc India - India Gypsum - Saint Globin or approved equivalent |
| 13 | Putty | - Birla Wall Care - JK Wall Putty 3.Asian |
| 14 | Laminates | - Greenlam - AICA - Euro lam - Merino or approved equivalent. |
| 15 | Handles | - Godrej - Hafele - Dorset or approved equivalent. |

| 16 | Glass | - Saint Gobain - Float Glass India (Asahi) - Modigaurd or approved equivalent. |
| --- | --- | --- |
| 17 | Screws | - GKW - Ebco - Oxidized or approved equivalent. |
| 18 | Hardware (Hinges & others) | - EBCO - Godrej - Haffele - Dorset or approved equivalent. |
| 19 | Adhesive for fixing laminate | - Fevicol SH - Araldite of Ciba Geigy - Bal Endura - Pidilite or approved equivalent. |
| 20 | Locks | - Godrej - Ebco - Harrison - Dorset or approved equivalent. |
| 21 | Wood preservative | - Bison by British paints or approved equivalent. |
| 22 | Cement Primer | - Berger - Asian - ICI Dulux - Nerolac paints or approved equivalent |
| 23 | Acrylic Emulsion paints | - Berger - Asian - ICI Dulux - Nerolac or approved equivalent |
| 24 | Enamel paints | - Berger - Asian - ICI Dulux - Nerolac or approved equivalent |
| 25 | Wood primer | - Berger - Asian - ICI Dulux or approved equivalent |
| 26 | Aluminum sections | - Hindalco - Jindal - Nelco or approved equivalent |
| 27 | Curtain Rods | - Vista 2.Trac 3. MAC or approved equivalent |
| 28 | Drawer – telescopic | - EBCO - Efficient or approved equivalent. |

Plumbing:

| 1 | Cast Iron Pipes and fittings (ISI approved) | - NECO - Raj iron Foundry - Kapilansh - Kajeco |
| --- | --- | --- |
| 2 | CPVC pipes and Fittings | - Ashirwad - Flowguard – Astral - Ajay or approved equivalent |
| 3 | SWR PVC/ UPVC Pipes and Fittings | - Finolex - Supreme - Prince - Polypack - Jindal or approved equivalent |
| 4 | CP Brass Fittings | - Jaguar - Parry ware - Ess-Ess - Metro or approved equivalent. |
| 5 | Floor Drain Fixture, Rain Water Outlets & Channel Gratings | - Supreme - ACO - GMGR - Neer or approved equivalent. |
| 6 | C.P. Grating for Floor Trap | - GMGR - Chilly - Viking or approved equivalent. |
| 7 | GI / M.S Pipes (IS : 1239 and IS : 3589) | - Jindal - Swastik - Surya - Tata or approved equivalent |
| 8 | Pipe clamp & supports | - Chilly - Supreme - Euro clamp or approved equivalent. |
| 9 | HDPE Pipe | - Duraline - Kimplas - Reliance or approved equivalent. |
| 10 | Butterfly Valve | - Audco - Danfoss - Honeywell - Sant or approved equivalent. |
| 11 | Check Valve – Wafer Type | - Advance - Danfoss - Sant - Kirlosker or approved equivalent. |
| 12 | Anchor bolts | - Fischer - Hitli or approved equivalent. |

Note –

- Materials mentioned in the specification shall be used for the work. If specified material is not available prior approval of the Employer shall be taken to use other brands.

- Preference of makes, supply of items should be consulted with client/consultant before effecting of supply.

NAME AND ADDRESS OF THE CONTRACTOR: SIGN & SEAL OF THE CONTRACTOR:

Date:

Place:

|  | Mohit & Associates. Architects, Interiors .Estimators L-2/554-, Vineet Khand, Gomti Nagar, Lucknow. Phone.742821765,9582218092 E-Mail: mohitg.gupta2783@gmail.com |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| B.O.Q OF INTERIOR FURNISHING WORK FOR INDIAN BANK BRANCH AT Mawai |  |  |  |  |  |
| A | SCHEDULE - 'A' (FURNISHING WORK) |  |  |  |  |
| S.NO. | DESCRIPTION | UNIT | QTY. | RATE | AMT |
| 1. | Full Height partly glazed/full glazed/Solid Partitions (Including Doors) : | Sq.ft. | 975.00 |  |  |
|  | Glazed Partition & Doors (upto false ceiling height only considered and above necessary ceiling supports to be provided) with Anodized Aluminium frame work, heavy sections (2mm thickness) of 1.75"x1.75" section, spacing of 2'0"x2'0" on bothsides and covered with BWP 9mm thick finished with 1mm thick laminate of approved colour borders on both sides and approved colour laminate for base colour on both sides. Above 1'0"/2'6"/3'0" height partition, fixed with 10 mm toughened glass with sticker works door and teak wood beading with duco paint. Clear glass shall be finished with frosted film sticking over the glass of approved pattern and design. Rate to include providing cutouts and provisions to run electrical conduits, switches, etc. Cost include wastages, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc. Complete as per drawings and instructions of the Architect. |  |  |  |  |
|  | The job shall also include for provision of laying conduits, switch boxes etc. The erection of partition shall include for expansion bolts cleats, clamps bolts, nuts, screws, rivets and other accessories, all complete up to the satisfaction of the Architect. The partition and doors shall have hinges floor springs / sliding arrangement/ hydraulic door closer, mortise locks with handle set (Godrej, Dorma make all), etc.The rate shall include cost of all materials, labour, T&P, wastages, etc. required for proper completion of work, all complete to the satisfaction of the Architect. |  |  |  |  |
|  | Full height Solid partition (height 8'-6"or ceiling height) with Anodized Aluminium frame work, heavy sections (2mm thickness) of 1.75"x1.75" sections,spacing of 2'0"x2'0" on bothsides and covered with BWP 9mm thick finish with approved make/color 1mm thick laminate of approved colour. for base on both sides with all necessary fixing accessories, arrangements and etc. Partition shall have necessary opening of approved size as per standards for fixing machine's and additional frame to be fixed for strengthening the partition. Rate to include providing cutouts and provisions to run electrical conduits, switches, etc. Cost include wastages, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc.Complete as per drawings and instructions of the Architect. | Sq.Ft. |  |  |  |
|  | For unglazed partitions, no glazing to be given in partition/doors & other specifications as above or as per direction. |  |  |  |  |
| II | Low Height Partition up to 4'-6". Block till 3'-0" and glazed of 1'-6" size 10 mm thick toughened H Glass | Sq.ft. | 156 |  |  |
|  | Same specification as in 1 but P/F half height partition of height 4'-6" with wooden laminate till 3'-0" and 1'-6" height 12 mm thick glass including all hardware necessary with the same specs.as above. All free top/ end surfaces shall have melamine polished teak / steam beech wood moulds of approved shape. Quoted rates shall include all necessary materials, accessories and labour and also allow provisions for electrical / telephone/computer wiring, conduits and switch boxes, etc. |  |  |  |  |
| III | (Full Ht.7’-0” but for Cash Cabin ) | Sqft. | 73.00 |  |  |
|  | (Cash Cabins) |  |  |  |  |
|  | Cash cabin side partition with 12mm thick glass including fixing.Complete in all respect . |  |  |  |  |
|  | Solid till 4’-0’’ then 12 mm thick etched glass height till 7’-0” then again solid . |  |  |  |  |
|  | Providing and fixing of Cash Enclosures at height of 7'-4" with Anodized aluminium frame work, heavy sections (1.5mm thickness) of 1.75"x1.75" section, spacing of 2'0"x2'0" on bothsides and covered with BWP 9mm thick finished with 1mm thick laminate of approved colour borders on both sides and approved colour laminate for base colour on both sides. Above 3'0" height partition, fixed with 12mm etched glass and teak wood beading with duco paint. Clear glass shall be finished with frosted film sticking over the glass of approved pattern and design. Cost also include 3 Nos of Solid core flush Doors with sizes of 2'6"x7'0", fixed in the partition. Door shall have teak wood beading and lipping with duco paint. Door finished with 1mm thick laminate of of colour as per Banks colour coding. Door shall have 12mm glass fixed with teak wood beading and duco paint. Rate to include hardware's like brass hinges, godrej three nos of night latch, door closure, door stopper and handles. Cost also include cash transaction opening shall be provided with door arrangements made with BWR plywood frame work finished by laminate, duco paint and locking system. Cost include wastages,transports, loading, unloading charges, labours, materials, tools, lead, lift and etc. Complete as per drawings and instructions of the Architect. |  |  |  |  |
| IV | Wicket Gate Solid | No. | 1 |  |  |
|  | Supplying and fixing Wicket door of size ( 3'-0"x4'-6" Height x 1no ) to be made with 19mm thick BWP plywood shutter and frame work with all necessary fixing accessories, arrangements and etc. Door both sides shall be finished with 1mm thick laminate of of colour as per Banks colour coding. Plywood edges to be finished with edge band of approved colour. Teak wood frame shall be used in hinges side with duco paint of approved colour. Cost include nesscessary hardwares like screws, tower bolt and etc.Cost include wastages, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc.Complete as per drawings and instructions of the Architect. |  |  |  |  |
|  | (Incl Door Closer/Stopper/mortice lock) |  |  |  |  |
| v | MAIN DOOR (Toughened Glass ) WITH Fixed Glazing Toughened Glass (BRANCH ) | Sq.ft. | 80.00 |  |  |
|  | Door Size-3'-6" X 7’-0” -1 Nos |  |  |  |  |
|  | Providing and fixing of door with side panel with 10 mm toughened glass with etching complete with Ozone Patch fittings including Top Patch (OPF-02)Bottom Patch(OPF-3)Angle Lock(OPL-1)Top Pivot (OFS-ACC-GDP)Floor Spring (FS8400)and handle(OGH)32x457. |  |  |  |  |
|  | Handle-Brush finish stainless steel, Brass Ball Catches12.0 thick plain glass with edge polish at top of the table(Other Exposed Edge of Ply with half round beading with approved colour polish) |  |  |  |  |
| VI | 12 MM THICK ETCHED GLASS FOR CASH CABIN'S/SINGLE WINDOW AND FRONT COUNTER | Sq.ft. | 37 |  |  |
| B. | Counters & Cash cabins |  |  |  |  |
| 1. | FRONT COUNTER & SINGLE WINDOW COUNTER | RFT. | 9.00 |  |  |
|  | Supplying and fixing Table top to be made with 25mm thick BWP Plywood 180 degree (full round) post formed edges on two sides of appoved post forming laminate shade and colour. Drawer unit and openable storage shutter to be finished with 90 degree (Half round) post formed edges on two vertical sides. 19mm thick BWP plywood frame work in all sides, one openable storage with 19mm BWP plywood shelf provision, CPU stand and footrest. Key board tray and drawer telescopic slides make of godrej/ ebco only others not accepted. All exposed surfaces, Table top, and front apron finished with 1mm thick laminate of Banks colour coding. Internal surfaces finished with two coats of enamel paints. Plywood edges to be finished with edge band of approved colour. Necessary hardware such as locks, hinges, telescopic drawer slides, handles and wire manager are approved make.Cost include branch assistant table shall have foldable table top. Cost exclude 8mm bronze glass for table top with edge machine polish and wire manager holes. Cost include wastages, foldable top accessories, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc. Complete as perdrawings and instructions of the Architect. |  |  |  |  |
|  | Hinges, Ball Catches, Stainless Steel Locks, approved design Stainless Steel Handles, Stainless Steel Powder Coated Grommet (wire manager), Wood Foot Rest (Movable) Earl-Bihari make Twin Telescopic Channel, CPU Hanger/Trolly INNOFIT/Ebco make etc. complete as per detail drawing and Instructions of the Bank's Engineer/Architect | Sq.Ft. | 165.00 |  |  |
| II | Cash Counter | Rft. | 5.00 |  |  |
|  | A. Cash counters as per the drawing |  |  |  |  |
|  | cash counter shall have two tops i.e. one at 2'-6" for writing top & other 4'-0" for customer top. upto 7'-0" height (Full front portion and writing top made of 19.0mm ply(as per list of materials) and 3”, 12.0mm plain glass slit on customer top) on and above writing top 12 mm plain Glass till 7’-0” should have necessary wooden support and opening edge with proper polish finish for cash and voice transaction. |  |  |  |  |
|  | Sub Total B Counters & Cash cabins |  |  |  |  |
| C | Storage |  |  |  |  |
| 1. | Storage (Low Height ) with locks | Sq.ft. | 16 |  |  |
|  | Size-2'-6" highX 1'-6"deep,8'-6" highX 1'-6"deep |  |  |  |  |
|  | Ply Wood-19.0mm thick board for side top and door & back 6.0mm IS 303 with shutters, shelf 19.0mm ply | Sq.Ft. | 75.00 |  |  |
|  | Shelf-19.0mm thick ply |  |  |  |  |
|  | Handle-Brush finish stainless steel |  |  |  |  |
| 3.3 | Lock-Vijayan/Godrej |  |  |  |  |
| ii | Meter Boxing (To be Measured only Front Face) . | Sq.ft. | 38.00 |  |  |
|  | Manufacturing, supplying and fixing box type metre storage with overall depth of 1’6” and height as per the size of the mitre. comprising of the following. |  |  |  |  |
|  | 12 mm plywood on 12 mm thick gypsum board (fire proof ) |  |  |  |  |
|  | All visible surfaces to be fixed with 1.0mm thick lamination sheet with matching grains & grooves as per instructions |  |  |  |  |
|  | All internal & rear surfaces to be painted with two coats of enamel paint over a coat of primer / putty as directed to get a smooth finish. |  |  |  |  |
|  | Sub Total (C)Storage |  |  |  |  |
| D. | TABELTS | Rft. | 9.00 |  |  |
|  | Manager Table with Side Table | No. | 1 |  |  |
|  | Same as above complete work including 12 mm thick glass on top. |  |  |  |  |
|  | Size-5'-6" X 2'-6" X 2'-6" (5'6" length, 2'6" width & 2'6" height) - Supplying and fixing Table top to be made with 25mm thick BWP Plywood 180 degree (full round) post formed edges on two sides of approved post forming laminate shade and colour. Drawer unit and openable storage shutter to be finished with 90 degree (Half round) post formed edges on two vertical sides. 19mm thick BWP plywood frame work in all sides with one keyboard tray, one side one drawer, one openable storage with 19mm BWP plywood shelf provision, CPU stand and footrest. Key board tray and drawer telescopic slides make of godrej/ebco only others not accepted. All exposed surfaces, Table top, and front apron finished with 1mm thick laminate of white colour and skirting and borders finished with combination of 1mm thick laminate of of colour as per Banks colour coding. Plywood edges to be finished with edge band of approved colour. Necessary hardware such as locks, hinges, telescopic drawer slides, handles and wire manager are approved make.Cost include 8mm bronze glass for table top with edge machine polish and wire manager holes. Cost include wastages, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc.Complete as per drawings and instructions of the Architect. |  |  |  |  |
| II | Advances Tables | 2.00 | No. |  |  |
|  | (Including Glass on Top of Table & with Side Unit) |  |  |  |  |
|  | Size- 4'-6" X 2'-6" X 2'-6" |  |  |  |  |
|  | Other specifications as per Table 1 |  |  |  |  |
| III | Aadhar Table without Side Unit | 1.00 | No. |  |  |
|  | Size- 4'-6" X 2'-6" X 2'-6" |  |  |  |  |
|  | Other specifications as per Table 1 | Nos | 1.00 |  |  |
| IV | Writing Table & Brochure Holder , Cheque Drop Box ,Suggestion Box with Notice Board .( The work shall be executed as per design and Elevation. )Branch | NO. | 1 |  |  |
|  | Providing and fixing in position a writing counter with open storage made of 12mm and 19mm thick ply/ commercial board finished with 1.0mm laminate and teak wood moulding/ lipping with a 6mm glass top with polished edges as per drawing and design. The glass to be of size to fit internally and the 19mm border and 6mm lipping to be flushed with the glass. The storage unit shall consist of vertical space dividers of 12 mm board with 1.0 mm laminate till the glass top for the provision of holding withdrawl/ deposit slips stationery etc. The counters to be held in position around the columns by dash fastners at a height of 3.5/ 4 ft. Notice board with cellotex base & cloth bound in corporate coloured binded with teak wood lipping of 35 by 12 mm.size 1500X1200.All wooden surfaces to be finished in clear melamine polish and all unexposed sides to be finished in enamel paint of approved colour to be approved by the designer all complete as per detailed drawing, specification and direction of the Engineer in Charge. |  |  |  |  |
|  | SUB Total D TABLES |  |  |  |  |
| E. | PANELLING -WOODEN/ACP/SHUTTER BOX |  |  |  |  |
| 1. | Wall & Column Panelling | Sq.ft | 270.00 |  |  |
|  | Wall & Column Panelling -upto false ceiling height only considered and above necessary ceiling supports shall be provided) with Anodized Aluminium frame work, heavy sections (1.5mm thickness) of 1.75"x1.75", size spacing of 2'0"x2'0" on bothsides and covered with 6mm thick BWR plywood finished with 1mm thick laminate of of colour as per Banks colour coding. Rate to include providing cutouts and provisions to run electrical conduits, switches, etc. Cost include necessary hardwares like clamps, screws and etc. Cost include provisions for electrical db closing 19mm BWR plywood door arrangements, wastages, transports, oading, unloading charges, labours, materials, tools, lead, lift and etc.Complete as per drawings and instructions of the Architect. |  |  |  |  |
| II. | Shutter boxing with trap door and External cladding | Sq.ft. | 98.00 |  |  |
|  | Providing & fixing in position 19 mm. commercial board finished with 1 mm. thick laminates (as per list of Materials and approved colour/shades) on external sides and internal sides to be finished with 2 coats of enamel paint. All works to be done as per the instruction of the Architect. | Sq.Ft. | 40.00 |  |  |
|  | SUB Total E (PANELLING -WOODED/ACP/SHUTTER BOX) |  |  |  |  |
| F | FALSE CEILING (Gypsum & GRID) |  |  |  |  |
|  | False Ceiling Armstrong (Branch) | Sq.ft | 576.00 |  |  |
|  | False ceiling - 2 Grid false ceiling- Providing and fixing Saint gobain tile Grid ceiling of ( GYPROC SAINT-GOBAIN Mineral fiber ceilings of ‘CELOTEX PIN’ board with "Narrow Reveal edge Corner bevel" 14mm grid (Bolt Slot) section ) and ( ARMSTRONG "CLASSIC LITE RH99" tile with "BEVELLED TEGULAR Suprafine 15 mm/Silhouette grid section ) in aluminium powder coated sections supported from ceiling (4'0"x4'0"grid for support rods) with necessary GI framework of every 2'0"x2'0" grid junction, proper levelling and finished of the joints & top surface as per manufactures specifications and all accessories, arrangements and etc. All edges shall be perfectly straight. Tile shall be carefully laid with neat arrangements like hand gloves and etc. Cost include replacement of damaged or stained tile. Cost include all necessary hardwares like nails, screws, wastages, transports, loading, unloading charges, labours, lead, lift, materials, tools and etc.Complete as per drawings and instructions of the Architect. MAKE- SAINT GOBAIN and ARMSTRONG. |  |  |  |  |
| II | False Ceiling Gypsum (Branch) | Sq.ft. | 670.00 |  |  |
|  | Supplying and Erecting Saint Gobain Gyproc Gypboard false ceiling at different heights with saint gobain framework of G.I. Section (of medium thickness) of spacing 4'0"x2'0" above with 12mm gypboard shall be fixed with all necessary fixing accessories, arrangements and etc. Rate shall include cut-outs for lights, ac and etc. The ceiling shall be putty finished and sanded to form clean and homogeneous surface. Cost include hidden lighting arrangements and etc. Rate to include painting two coats of acrylic emulsion of approved colour after necessary preparation, one coat of primer, full putty and etc. Cost include all necessary hardwares like nails, screws, wastages, transports,loading, unloading charges, labours, lead, lift, materials, tools and etc. Complete as per drawings and instructions of the Architect. |  |  |  |  |
|  | sub Total F FALSE CEILING (Gypsum & GRID) |  |  |  |  |
| G. | Miscellaneous Items |  |  |  |  |
| I. | Vertical Blinds | Sq.ft. | 44.00 |  |  |
|  | Providing & fixing MARVEL/Vista make as approved by Bank's Engineer/ Architect with runner, thread and other accessories. |  |  |  |  |
| ii | Acrylic Emulsion with POP Base. (Only A.C. Area) | Sq.ft. | 1000 |  |  |
|  | Providing & Applying painting of inner walls of Asian "Ace" / ICI make applied over the existing wall surface with 2coats of emulsion paint, surface preparation, 1coat of primer and putty complete. Properly scrapping and sand papering the existing wall painting surface and putty with neat line and level. Unit–SFT. Cost include wastages, transports, loading, unloading charges, labours, materials, tools, lead, lift and etc. Complete as per instructions of the Architect. |  |  |  |  |
|  | The rate shall include cost of all materials such as plaster of paris, whiting /primer, glue (Fevicol), indigo/stainer, brushes, sand paper, patti, dhoti, broom stick, clean water with storage and othercontainers, labour, scaffolding / ladder charges, cleaning of floors and other sundries etc., all complete to the satisfaction of the Architect. |  |  |  |  |
|  | Sub Total G Miscellaneous items |  |  |  |  |
|  | GRAND TOTAL FOR FURNISHING (A) |  |  |  |  |
|  | * GST EXTRA AS APPLICABLE |  |  |  |  |

| Sno. | Particulars | Unit | Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | The work shall also include for cutting chase for conduits and moulded boxes, if required, in the wall/ floor (Without damaging the building/wall) along with clamping the conduit at every 750mm interval & finally finishing the surface & matching the same with the existing surface. Item 1,3, 4 & 5 |  |  |  |  |
|  | The rate should include the cost of all materials, modular switch complete with MS box & cover plate, labour, T&P, taxes & levies, scaffolding, shifting of furniture, carting away the debris and cleaning the floor etc |  |  |  |  |
| 1. | L&F Point Wiring, Circuit wiring & Power Point wiring |  |  |  |  |
|  | L & F Points |  |  |  |  |
| 1. | Primary Point Wiring for light points controlled thru modular switches complete with boxes & cover plate - The point wiring shall be carried with 3*1.5sq.mm FRLSH stranded Cu. Wires in 20mm PVC conduit pipe concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The rates shall include cost of circuit wiring with 3*1.5sq.mm FRLSH Cu stranded wires in 20mm OD PVC Pipe from nearest TPN Db to controlloing SDb. The job shall be complete & to the entire satisfaction of the Bank. Each Switch board should be provided with suitable capacity fuses/ fuse indicator | Point | 43.00 |  |  |
| 2. | Secondary Light Point |  |  |  |  |
|  | Same as above but looped from PP with 3*1.5sq.mm FRLSH stranded Cu. Wires in 20mm PVC conduit pipe concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job shall be complete & to the entire satisfaction of the Bank. | Point | 17.00 |  |  |
| 3. | 6 A switch socket points on Sdb: S/F of 6A switch points with an additional indicator and 6Amp. modular Type switch & socket. It shall have 3*1.5sq.mm FRLSH stranded Cu. Wire as per requirement. The job shall be complete & to the entire satisfaction of the Bank. | Point | 10.00 |  |  |
| 4. | Point Wiring for wall fan points controlled thru modular switches complete with boxes & cover plate - The point wiring shall be carried with 3*1.5sq.mm FRLSH stranded Cu. Wires in 20mm PVC conduit pipe concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job shall also included S/F of 6A switch socket near wall fan for regulating the same. The job shall include cost of circuit wiring with 3*1.5sq.mm FRLSH Cu stranded wires in 20mm OD PVC Pipe from nearest TPN Db to controlloing SDb. The job shall be complete & to the entire satisfaction of the Bank. Each Switch board should be provided with suitable capacity fuses/ fuse indicator | Each | 9.00 |  |  |
| 5. | Point Wiring for Ceiling fan points controlled thru modular switches complete with boxes & cover plate - The point wiring shall be carried with 3*1.5sq.mm FRLSH stranded Cu. Wires in 20mm PVC conduit pipe concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job shall also include S/F of modular elctronic regulator in SDb for regulating the same. The job shall include cost of circuit wiring with 3*1.5sq.mm FRLSH Cu stranded wires in 20mm OD PVC Pipe from nearest TPN Db to controlloing SDb. The job shall be complete & to the entire satisfaction of the Bank. Each Switch board should be provided with suitable capacity fuses/ fuse indicator | Each | 2.00 |  |  |
| 6. | Point Wiring for exhaust fan points controlled thru modular switches complete with boxes & cover plate - The point wiring shall be carried with 3*1.5sq.mm FRLSH stranded Cu. Wires in 20mm PVC conduit pipe concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job shall also included S/F of 6A switch socket near wall fan for regulating the same. The job shall include cost of circuit wiring with 3*1.5sq.mm FRLSH Cu stranded wires in 20mm OD PVC Pipe from nearest TPN Db to controlloing SDb. The job shall be complete & to the entire satisfaction of the Bank. Each Switch board should be provided with suitable capacity fuses/ fuse indicator | Each | 2.00 |  |  |
|  | Power Point Wiring |  |  |  |  |
| 1.0 | Primary Power Point: Raw power points on workstations / table / Printer etc using 3*4 Sq.mm FRLSH Cu. stranded wire laid in 20mm OD PVC pipe medium conduit pipe laid & concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. Each power point shall also consists of 1 nos of 16A , 2/3/5 pin sockets & 1 No., 16A Switch , wired together forming one point. The earth wire of green color only. | Point | 8.00 |  |  |
| 2.0 | Secondary Power Point: Raw power points on workstations / table / Printer etc using 3*2.5 Sq.mm FRLSH Cu. stranded wire laid in 20mm OD PVC pipe medium conduit pipe laid & concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. Each power point shall also consists of 1 nos of 16A , 2/3/5 pin sockets & 1 No., 16A Switch , wired together forming one point. The earth wire of green color only. Secondary P to b einterlooped with Primary PP. Maximum length 6m. | Point | 2.00 |  |  |
|  | Total 2 - 1 BM & 1 for 2 RHS officers on counters |  |  |  |  |
|  | Air Conditioning Work |  |  |  |  |
| 1. | AC Point: Providing AC points with circuit wiring with 3*4sq.mm FRLSH Cu stranded wires to be laid in 20mm PVC medium concealed in wall/ floor/ panelling/ partitions as per requirement. The work shall include S/F of MCB protected power unit for AC c/w 32A 2P MCB including proper connections. The job shall be complete & to the entire satisfaction of the Bank. | Point | 5.00 |  |  |
| 2. | Wiring with 3*4.0sq.mm FRLSH stranded Cu. wires laid in 20mm OD PVC/ flexible pipe heavy duty laid on floor & concealed in wall/ floor as per requirement to various voltage stabilizers. The job includes making connections at both ends with proper size of lugs to the entire satisfaction of the Bank. | M | 18.00 |  |  |
|  | UPS |  |  |  |  |
|  | Presumed 2* 3KVA UPS (1P Input & 1P output) - 1W+ 1Sb |  |  |  |  |
| 1a. | SITC of 4 x 6.0 Sq.mm Copper Conductor FRLS PVC insulated single core + 1 x 4.0 Sqmm Copper Conductor FRLS PVC insulated single core Earth Wire (Main Panel to UPS 4way SPN Db) in PVC Pipe fixing on walls or chassing the walls and making it good with cement mortar of 1:5 ratio and painting compete with end termination/lugs and in all respect as required. | M | 25.00 |  |  |
| 2a. | S/ F of 4way SPN Db metallic c/w 32A 4P MCB including all connections complete in all respects to the entire satisfaction of the Architect/ bank. All Db's to be properly earthed. (In UPS room) | each | 1.0 |  |  |
| 2b. | Input supply to UPS - S/ F of 2way SPN Db metallic c/w 32A 2P MCB including all connections complete in all respects to the entire satisfaction of the Architect/ bank. All DB's to be properly earthed. For 2 UPS | each | 3.00 |  |  |
|  | (2 input supply to UPS + 1 common output Db) |  |  |  |  |
| 3. | Supply & laying of incoming wiring with 3*4 sq.mm FRLSH stranded Cu. Wires laid in 20/25 mm flexible PVC pipe medium duty from 2way SPN Db to UPS incoming & outgoing to UPS output Db in UPS Room complete in all respects - 1 P + 1N + 1E | m | 10.00 |  |  |
| 4. | Output Db from UPS - S/ F of 8way SPN Db metallic 40A 2P MCB as incomer & 2*32A 2P MCB outgoings including all connections complete in all respects to the entire satisfaction of the Architect/ bank. All DB's to be properly earthed. (One for branch & one for Router Db) | each | 1.00 |  |  |
| 5. | UPS Output Db near router for CCTV, FDAS & router circuits - S/F of 8way SPN Db c/w 40A 2P RCCB 30mA as incomer and 2*16A 2P MCB's for FDAS & CCTV + 2*10A 1P MCB for router feeders including proper connections thru lugs. The job shall be complete & to the entire satisfaction of the Bank. All DB's to be properly earthed. | each | 1.00 |  |  |
|  | Two separate ckts for router thru 2*10A 1P MCB's |  |  |  |  |
| 5a. | UPS Output Db - Branch |  |  |  |  |
|  | S/F of 8way SPN Db for branch computer points with 32A 2P MCB as incomer and 2*10A SP MCB (1 BM & 1 for 2officers on RHS counter) + 3*6A SP for 1 cash cabin & 2 officers complete in all respect and as required & to the satisfaction of the bank. All DB's to be properly earthed. | set | 1.00 |  |  |
|  | SPN Db should be earthed properly thru lugs. |  |  |  |  |
| 6. | Supply & laying of incoming wiring with 3*4 sq.mm FRLSH stranded Cu. Wires laid in 20/25 mm flexible PVC pipe medium duty from 8way SPN Db in UPS room to UPS branch Db's & FDAS Db near router complete in all respects - 1 P + 1N + 1E | M | 40.00 |  |  |
|  | Qty includes for output Db, Router Db & branch UPS Incoming & o/g supply |  |  |  |  |
| 7a | Supply & Installation of point wiring for UPS power plug points on workstations / table for computers using 3*1.5 Sq.mm copper conductor multi stranded FRLSH wire pulled through floor raceways/conduit and taken upto table top using PVC rigid or flexible conduits run within wooden/metal partitions. Each point consisting of 3*6A , 3 pin sockets & 1*16A Switch wired together forming one point. The earth wire of green color only. | each | 8.00 |  |  |
| 7b. | As above but for secondary Points | each | 2.00 |  |  |
|  | Total 2 - 1 BM & 1 for 2 RHS officers on counters |  |  |  |  |
| 4. | DISTRIBUTION MAINS |  |  |  |  |
| 1. | S/F of 100A 3P MCCB in Steel sheet enclosure for power utility supply from meter complete in all respects including proper connections with lugs etc. | each | 1.00 |  |  |
| 2. | Main Incoming Panel |  |  |  |  |
|  | SITC of main distribution board panel fabricated of 18swg (powder coated) comprising of Indicator lamps 3 nos. | each | 1.00 |  |  |
|  | Voltmeter & ammeter (one each) c/w rotay switches and CT's for Ammeter |  |  |  |  |
|  | Incomer - 100A 4P MCCB adjustable 27kA with adjustable thermal and fixed magnetic release |  |  |  |  |
|  | Busbar 2nos. - (each of RYB +N) copper 100A each One for UPS and ATM and 1 for out going feeders |  |  |  |  |
|  | 100A 4P Changeover outside Panel - Item 3 below |  |  |  |  |
|  | Outgoing |  |  |  |  |
|  | From Main Bus |  |  |  |  |
|  | 2*63A 4P MCB - for UPS (1 spare). 2*32A DP for Signage. |  |  |  |  |
|  | 1*100A 4P MCCB adjustable 27kA for Auxiliary Bus bar with adjustable thermal and fixed magnetic release |  |  |  |  |
|  | From Auxiliary Bus |  |  |  |  |
|  | 3*63A 4P MCB- 2* VTPN Db + 1spare. 3*32A 2P MCB - Strong Room, Record room & 1 spare. |  |  |  |  |
|  | Earth bus bar 25x5mm GI strip - 2nos. At the bottom. |  |  |  |  |
| 3. | Changeover: S/F of 100A 4P changeover in Steel sheet enclosure near Main panel for regulating DG set supply including proper connections. | each | 1.0 |  |  |
| 4. | S/ laying of XLPE insulated armoured Aluminium Conductor cables including cost of lugs, cable glands etc. The cable should be laid on surface with proper clamps @750mm or laid & concealed in wall/ floor/ PVC Conduit/ false ceiling complete in all respect. The work also includes cutting chases for conduits in the wall/ floor (Without damaging the building) along with clamping the cable. All connection shall be done thru proper size of lugs |  |  |  |  |
|  | 3.5c 25sq.mm for Pole & fuse Kit Kats | M | 25.00 |  |  |
| 5a. | SITC of 4 x 10.00 Copper Conductor FRLS PVC insulated single core + 1 x 4.0 Sqmm Copper Earth Conductor FRLS PVC insulated single core cable (Main Panel to AC /UPS/ Raw power DB) in PVC Pipe fixing on walls or chieseling the walls and making it good with cement mortar of 1:5 ratio and painting compete with end termination/lugs and in all respect as required. | M | 20.00 |  |  |
| 6. | SITC of VTPN Db complete in all respect as under - |  |  |  |  |
| 6a | For LHS area - From LHS Front to Rear including Utility area - Location Rear wall | each | 1.00 |  |  |
|  | 4way VTPN Db - Double door |  |  |  |  |
|  | Incomer - 63A 4P MCB |  |  |  |  |
|  | 2*32A 1P MCB - for 1.5TR AC - 1 RHS+ 1 Rear |  |  |  |  |
|  | 4*16A SP MCB for single RP -1 Adhaar, 1 for cash & 2 officer besides cash |  |  |  |  |
|  | 3*10A 1P MCB for L & F |  |  |  |  |
|  | 2*6A 1P MCB for L & F |  |  |  |  |
|  | 1*Blanking Plates |  |  |  |  |
|  | All connection shall be done thru proper size of crimpled lugs |  |  |  |  |
|  | All Db's to be properly earthed. |  |  |  |  |
| 6a | For RHS area - From RHS Front to RHS Rear upto router - Location RHS wall O/s Strong room | each | 1.00 |  |  |
|  | 6way VTPN Db - Double door |  |  |  |  |
|  | Incomer - 63A 4P MCB |  |  |  |  |
|  | 4*32A 1P MCB - for 1.5TR AC - 1 BM + 2 RHS+ 1 Rear |  |  |  |  |
|  | 2*20A SP MCB for 2 RP- (Primary PP+ looped secondary) PP - 1 for BM & 1 for 2 officers on RHS counter |  |  |  |  |
|  | 2*16A SP MCB for single RP - 2 router |  |  |  |  |
|  | 2*10A 1P MCB for L & F |  |  |  |  |
|  | 1*6A 1P MCB for L & F |  |  |  |  |
|  | 1*Blanking Plates |  |  |  |  |
|  | All connection shall be done thru proper size of crimpled lugs |  |  |  |  |
|  | All Db's to be properly earthed. |  |  |  |  |
| 7. | Record room controlling DP MCB - Circuit wiring with 3*1.5sq.mm FR LSH stranded Cu. wires laid in 20 mm PVC pipe OD medium duty laid & concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job also includes supply & fixing of m etallic plug top & socket industrial box c/w 20A 2P MCB including connections with lugs. The job shall be complete & to the entire satisfaction of the Bank. | job | 1.00 |  |  |
|  | To be taken from Panel - one record room |  |  |  |  |
| 8. | Strong room controlling DP MCB - Circuit wiring with 3*1.5sq.mm FR LSH stranded Cu. wires laid in 20 mm PVC pipe OD medium duty laid & concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job also includes supply & fixing of m etallic plug top & socket industrial box c/w 20A 2P MCB including connections with lugs. The job shall be complete & to the entire satisfaction of the Bank. | job | 1.00 |  |  |
|  | To be taken from Panel |  |  |  |  |
| 9. | Glow sign Board - Circuit wiring with 3* 2.5 sq.mm FRLSH stranded Cu. wires laid in 20 mm PVC pipe heavy duty laid & concealed in wall/ floor/ panelling/ partitions or above false ceiling as per requirement. The job shall be complete & to the entire satisfaction of the Bank. | m | 12.00 |  |  |
| 10. | Timer - Supply of 40 A SP 230 V analog time switch panel(TIMER), in manufacturer sheet steel panel, fully prewired with all components like time switch, MCB, contactor, selector switch, indicating lamp.(1 for sign board) | No. | 1 |  |  |
| 5. | DG SET SUPPLY |  |  |  |  |
| 1. | S/laying of 3.5c 25sq.mm XLPE insulated armoured Aluminium Conductor cable c/w 1*6sq.mm stranded copper wire for earthing from proposed DG set to Changeover switch including its connections at both ends with lugs to be laid in 25mm dia rigid PVC /flexible conduit | m | 15.00 |  |  |
| 6. | EARTHING |  |  |  |  |
| 1. | For Panel |  |  |  |  |
|  | S/burying of Dual pipe technology earthing electrode having GI 65mm O/D pipe with 25 micron coating, 3metres long. The job also includes S/F of GI strip clamp with two holes (with SS/GI bolts & nuts) on the electrode & taking one lead of 4sq.mm Cu stranded wire (Cost of 4sq.mm wire extra as under) upto 4way earth link near main panel complete in all respects with guaranteed E/N voltage of less than 2 volts and resistance less than 1 ohms. The 4sq.mm Cu stranded wire shall be terminated on 4way earthlink. The connections for Panel earthing/ earth bus in the panel shall be taken from this earthlink. The distance between two earthing pits to be 10ft or more. | job | 1.00 |  |  |
| 2. | For UPS |  |  |  |  |
|  | S/burying of Dual pipe technology earthing electrode having GI 65mm O/D pipe with 25 micron coating, 3metres long. The job also includes S/F of GI strip clamp with two holes (with SS/GI bolts & nuts) on the electrode & taking one lead of 4sq.mm Cu stranded wire (Cost of 4sq.mm wire extra as under) upto 4way earth link near UPS complete in all respects with guaranteed E/N voltage of less than 2 volts and resistance less than 1 ohms. The 4sq.mm Cu stranded wire shall be terminated on 4way earthlink. The connections for UPS earthing/ UPS Db's earthing shall be taken from this earthlink. The distance between two earthing pits to be 10ft or more. | job | 1.00 |  |  |
| 3. | S/F of 4sq.mm FRLSH Cu. Stranded wire on surface or in recess for loop earthing as required earthing to Db's or main panel as required. | m | 30.00 |  |  |
|  | S/F of 4 way earth link | each | 2.00 |  |  |
| 7. | SUPPLY & FIXING LIGHT & FAN ITEMS |  |  |  |  |
| 1. | S/F of Energy efficient recessed mounted LED luminaire - 32w LED recessed mounted 2'X2' luminaire suitable for grid ceiling with indirect lighting delivering soft and uniform light - Make as approved by Bank/ architect | Each | 18.00 |  |  |
| 2. | S/F of recessed LED downlighter - 15w LED recessed mounted high performance low-height LED downlighter c/w robust PDC housing complete in all respects- Make as approved by Bank/ architect | Each | 24.00 |  |  |
| 3. | S/F of Surface & wall mounted LED batten - Ultra-slim poly carbonate decorative 4' long LED batten with inbuilt heat sink, anti glare polycarbonate diffuser & energy efficient electronic driver 20W 1800 lumens - Make as approved by Bank/ architect | Each | 10.00 |  |  |
| 4. | S/F of 6000/6500 K,( ≥480lumens) Sleek slim Surface mounted 8w LED downlight complete in all respects - Make as approved by Bank/ architect | Each | 7.00 |  |  |
| 5. | S/F of wall mounted fan 400mm sweep - Sturdy & heavy duty metallic body & blades, metallic guard - Atomberg/ Havells/ Crompton/ Bajaj or any make as approved by Bank/ architect | Each | 9.00 |  |  |
| 6. | S/F of ceiling fan 1200mm sweep - Havells/ Crompton/ Bajaj/ Usha make or any equivalent make as approved by Bank/ architect | Each | 2.00 |  |  |
|  | cost of elctronic regulator to be quoted in CF point wiring as above. |  |  |  |  |
| 7. | S/F of metallic exhaust fans 250mm sweep Havells/ Crompton/ Bajaj or any equivalent make as approved by Bank/ architect | Each | 2.00 |  |  |
| 8. | S/ F of call bells as approved by Architect complete in all respects | Each | 1.00 |  |  |
| 8. | Telephone system |  |  |  |  |
| 1. | S/F modular telephone jack single with shutter outlet (RJ-11) with mounting box & front plate complete with chase cutting, mending good etc. as required includinhg Supply & laying of 2 pair unarmoured 0.61mm dia. PVC insulated twisted pairs bunched together telephone cables through rigid 20mm dia PVC conduit as directed by the Bank/ Architect from telephone junction box to telephone socket outlet including interconnection as required complete in all respects. | Each | 3.00 |  |  |
| 2. | 10 Pair Tag box | Each | 1.00 |  |  |
| 3. | MDS Box | Each | 1.00 |  |  |
|  | Total Cost of Electrical works |  |  |  |  |
|  | DATA CABLING |  |  |  |  |
| 1. | Supplying and laying D-link make CAT-6e Cable in PVC 20mm dia OD medium conduit complete with CAT-6 information outlet with plate & suface Box at work tables marked as DP | Point | 10.00 |  |  |
| 2. | PVC Conduit- CAP/ BEC/ Sieko/ AKG |  |  |  |  |
| 3. | Cable - Digi Link/ Clipser/ National/ Polycab/ Lapp/ Finolex |  |  |  |  |
| 4. | I/O- DigiLink/ Tyco (AMP)/ Schnider/ D- Link |  |  |  |  |
| 5. | S/ F of 7ft Grey colour Patch chord | Each | 10.00 |  |  |
| 6. | Patch Chord- DigiLink/ Tyco (AMP)/ Schnider/ D- Link |  |  |  |  |
| 7. | S/ F of 3ft Grey colour Patch chord | Each | 10.00 |  |  |
| 8. | Patch Chord- DigiLink/ Tyco (AMP)/ Schnider/ D- Link |  |  |  |  |
| 9. | Dismantling & refixing of existing Rack, Patch Panel & Switch from the exisitng branch to the new proposed branch. | Job | 1.00 |  |  |
|  | Total for Data/ LAN Cabling |  |  |  |  |
|  | TOTAL FOR ELECTRICAL & DATA CABLING |  |  |  |  |
|  | Note: All rates are excluding G.S.T. |  |  |  |  |
|  | Ar. Gunjan Kapur |  |  |  |  |
|  | for M/s Gunjan and Associates |  |  |  |  |

| ESTIMATE FOR AIR-CONDITIONING WORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FOR INDIAN BANK, AT RAJKAMAL ROAD BARABANKI, BRANCH |  |  |  |  |  |
| Note; 1. Each vendor to specify the Make of A.C. they propose to supply. 2. Common drain pipes of Cassette / Split A.C.'s be terminated in any toilet Nahni traps OR else be terminated from external wall up to ground. AC's with COPPER Condenser & Evaporator coils only to be suppled. 3. Pl. enclose Technical Brocher of quoted A.C.'s. 4. As built layout drawing of Refrigerant & Drain Piping has to be attached with Final Bill. |  |  |  |  |  |
| Daikin, Hitachi, . AC's with COPPER Condenser & Evaporator coils should only be supplied. Only one of these Makes to be quoted. Pl. enclose Tech. Brocher of the quoted Cassette/ Split A.C. |  |  |  |  |  |
| S.N. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |
| 1 | High Wall Split Inverter AC 1.0 Ton 5 star rating | No | 1.00 |  |  |
|  | SITC Of wall mounted split Inverter type AC 1.0 Ton 5 star.(AC MAKE of -VOLTAS DAIKIN,HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5 year warranty on compressor and ecofriendly green gas. |  |  |  |  |
|  | BM-1NO. ATM - NO. |  |  |  |  |
| 2 | High Wall Split Inverter AC 1.5 Ton 5 star rating | No | 4.00 |  |  |
|  | SITC Of wall mounted split Inverter type AC 1.5 Ton 5 star.(AC MAKE of -VOLTAS DAIKIN,HITACHI `ONLY APPROVAL AS PER ARCHITECT with 5 year warranty on compressor and ecofriendly green gas. |  |  |  |  |
| 3 | Rate for Extra Piping (Rate above 12 Feet pipe which will be free with unit)Ref.Piping(Only single distance will be measured between Indoor & Outdoor Units) |  |  |  |  |
| a | Copper Piping Refrigerant along with insulator Piping for Hi Wall 1.5 ton ,1 ton and 2 ton Ac 1/2 and 1/4 Soft Copper Refrigerant piping with complete fitting, elbows bends supporting arrangements Nissan, Merchant, MET tube, Totaline tube, pressure tested tube . | Rm | 60.00 |  |  |
| 4 | S.I.T.C. of 2X1.5sqmm core Copper conductor flexible cable between Indoor & Outdoor Unit through holes made as above | Rm | 65.00 |  |  |
| 5 | Drain Water Piping Constructed out of PVC Hard Pipes, fitting, accessories, bends, elbows, tees, hanger, support, anchors, ISI approved Finolex/Prince Make (32mm) | RMT | 45.00 |  |  |
| 6 | Frame Work Supply, Fabrication and installation Of MS base Frame for outdoor unit complete with epoxy painting vibration isolation pads, supports, hangers, railing brackets etc. with cage and lockning arrangment. (Thickness of bar - 10mm and min 30kg load capacity) | No | 5.00 |  |  |
| 7 | Providing & Installation of 4KVA voltage Stabilizers with range of 130 - 280V of standard make as per the approval of the Architect of (Inmag, Servel,Stambh) | No | 5.00 |  |  |
|  | Total |  |  |  |  |
| Ar. Gunjan Kapur |  |  |  |  |  |
| M/s Gunjan & Associates |  |  |  |  |  |